	[image: image3.png]



	Bangladesh Accreditation Board (BAB)
	91, Motijheel C/A, Dhaka-1000

Tel: +880-2-9513221

Fax: +880-2-9513222

Email: info@bab.org.bd
Web: www.bab.org.bd 


	[image: image4.jpg]p—
]
@™

74’GLADESH ACCREDITATION BOARD




	BANGLADESH ACCREDITATION BOARD (BAB)
	91, Motijheel C/A, Dhaka-1000

Tel: +880-2-9513221

Fax: +880-2-9513222

Email: info@bab.gov.bd
Web: www.bab.gov.bd 



 APPLICATION FORM FOR TESTING & CALIBRATION LABORATORY ACCREDITATION

Revision 06
June 2024
	AUTHOR
	REVIEWER
	APPROVER

	Mohammed Abbas Alam

Assistant Director
	Md. Mahbubur Rahman

Director (In-charge)
	 Md. Anwarul Alam
Director General


Application for Laboratory Accreditation to ISO/IEC 17025

“General Requirements for the Competence of Testing, Calibration and Sampling Laboratories”
Bangladesh Accreditation Board (BAB) is a statutory body established by law in 2006 with the mandate to accredit different conformity assessment bodies operating in the country, upgrade the national quality infrastructure to the international standards, and enhance the recognition and acceptance of local products and services in international, regional, and domestic markets. The board provides accreditation services to different Conformity Assessment Bodies to international, regional, and national standards APAC/ILAC endorsed application documents. 

Instructions:

1. This application form should be completed in full and returned with two copies of the applicant organization's Quality Manual, application fee, Procedures, PT/EQA/ILC reports and Plan, and other associated documents.

2. Bank Draft / Pay Order for the application fee should be made payable and other relevant documents submitted to:

Bangladesh Accreditation Board (BAB)

3. Additional information may be provided by the applicant organization on supplementary sheets, which should be cross-referenced with the question numbers to which they refer.

4. Accreditation fee excluding VAT and Tax. The applicant shall pay VAT and Challan is to be submitted with the final payment as per the invoice provided by BAB.

5. Additional information may be obtained from the BAB website.

6. Award of accreditation will be subject to the applicant organization agreeing to and complying with the Accreditation requirements, the BAB Terms and Conditions, and the other components of the legally enforceable BAB agreement for Accreditation. The meaning and scope of such Accreditation Criteria and Contract are defined in the BAB Terms and Conditions available on the BAB website at http://www.bab.gov.bd

7. Please refer to relevant BAB policies, mandatory documents, and guidance documents available from the BAB website.

For guidance on completing Application Form 

Please follow the Appendix attached

We apply for BAB accreditation of our Testing/ calibration Laboratory as per the details given below:

Please follow the Appendix attached

We apply for BAB accreditation of our testing/ calibration laboratory and provided the information in the below:
	( Initial Accreditation
( Renewal of Accreditation

( Extension of Scope

( Surveillance with Extension of Scope

	Pre-Assessment Requested*
	Yes
	(
	    No
	(
	


* Note that all laboratories that have never been accredited MUST undergo a pre-assessment 

	Section A
	General Information

	1.


	Name, address, telephone, fax and e-mail of the applicant CAB (see appendix attached)

	
	Name:

	
	Postal Address:



	
	Post code:

	
	Telephone:
	
	Fax:

	
	Mobile:
	

	
	E-mail:
	

	
	Note: these details will be used by BAB on BAB directories, certificates etc.


	2.


	Name of the facility/site, address, telephone, fax and e-mail of the applicant

	
	Name of the facility/site:

	
	Postal Address:



	
	Post code:

	
	Telephone:
	
	Fax:

	
	Mobile:
	

	
	E-mail:
	

	
	Facility/site web address (optional):

	
	Note: these details will be used by BAB on BAB directories, certificates etc.


	3.
	What is the legal status of the organization ?
	Yes
	No
	Quality Manual Clause Reference

	
	
	Mark as X
	

	a.
	Owned by an individual:
	
	
	

	b.
	Owned by a private company of partnership:
	
	
	

	c.
	Owned by a public limited company:
	
	
	

	d.
	Owned by an organization with activities/products/services, other than those subject to the application for accreditation:
	
	
	

	e. 
	Owned by an academic institution:
	
	
	

	f.
	Part of a learned or professional institution:
	
	
	

	g.
	Owned by a public body or nationalized industry:
	
	
	

	h.
	Another category? If so, please specify:
	
	
	

	i.
	Company Registration / License:
	
	
	

	4.
	If the answer to 3.d is YES, please answer the following questions otherwise mention in the blank section N/A.

	a.
	What are the other activities/products/services?



	b.
	Are the activities/products/services provided for the parent company or outside organization?



	c.
	Are they  certified or accredited?




	5.


	If the laboratory is part of a larger organization, what is the relationship to that organization?
If the laboratory is part of Government, please define the relationship within Government.

Please provide the name and other contact details of the parent organization, if any.

	
	


	6.


	Applied for Accreditation program/field (see appendix attached)

	
	


	7.


	Name and position of the organization's representative with authority to commit the applicant organization to the requirements for accreditation.

	
	Name (nominated person):

	
	Position:

	
	Address (business postal):



	
	Telephone:
	Fax:

	
	Mobile:
	E-mail:

	
	I hereby nominate the above person to be our authorized representative (see note 4). the applicant hereby agrees to be bound by the Bangladesh Aaccreditation  Act, 2006, specific policies of BAB and the Terms and Condition for Accreditation (SP01).



	
	Name of Nominating Person:

	
	Signature:
	Date:

	
	Acceptance of Nomination (to be completed by the nominated authorized representative)

	
	I, the above mentioned nominated person hereby accept nomination as the facility's authorized representative. I undertake to use my best endeavors to ensure compliance with the BAB Act, 2006, Regulations of BAB and the Terms and Condition for Accreditation (SP01). I am authorized, on the accreditation of the facility to enter my name, as the facility's authorized representative, in the register of members.

	
	Signature of authorized representative:
	Date:


	8.
	Name and position of the applicant organization's main contact with Bangladesh Accreditation Board (BAB). (This is the person to whom all correspondence from BAB will be addressed).

	
	Name:

	
	Position:

	
	Address (business postal):



	
	Telephone:
	Fax:

	
	Mobile:
	E-mail:


	9.
	Name and position of the applicant organization's deputy contact with Bangladesh Accreditation Board (BAB). (This is the person to whom all correspondence from BAB will be addressed if main contact are unavailable).

	
	Name:

	
	Position:

	
	Address (business postal):



	
	Telephone:
	Fax:

	
	Mobile:
	E-mail:


	10.
	Numbers of staff employed by the applicant organization in the fields where accreditation  is sought.

	a.
	Technical:
	

	b
	Clinical


	

	c
	Other (incl. Secretarial and support staff):
	


	11.
	Invoicing Contact Name, address, telephone, fax and e-mail 

	
	Name:

	
	Position:

	
	Address (business postal):



	
	Telephone:
	Fax:

	
	Mobile:
	E-mail:


	12.
	The names, technical qualifications and experience of the following staff:

	12.1
	Technical Manager 

	
	

	12.2
	Deputy Technical Manager 

	
	

	12.3
	Quality Manager 

	
	

	12.4
	Deputy Quality Manager 

	
	

	12.5
	All other staff authorized by the laboratory to sign Test Reports for scope of accreditation sought:

	S.N.
	Name
	Designation
	Academic, professional & Technical qualification
	Experience

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	


	Section B
	Equipment Information 

	B.1
	List below the major items of laboratory equipment currently in use for the range of tests/calibrations.

(It is not necessary to list all the items)

	S.N.
	Name of equipment
	Model/ type/ year of make
	Date of receipt and date placed in service
	Range and accuracy

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	


	Section C
	Scope of Accreditation

	C.1
	In the table below specify as precisely as possible the scope of accreditation being sought.

Continue on supplementary sheets as necessary.

	
	Scope of Accreditation (For Testing Laboratories)*

	S.N.
	Product/ materials of test
	Specific tests performed
	Specification against which tests are performed
	Limit of its operation like (range of testing) limits of detection

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	Scope of Accreditation (For Calibration Laboratories)*

	S.N.
	Field & parameter
	Equipment
	Model/type
	Receipt date
	Range
	overall uncertainty in measurement (CMC values)  

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	* Calibration laboratories to quote calibration and measurement capability (CMC). Testing laboratories to have available an estimate of the uncertainty of measurement and detection limits for the tests for which accreditation is sought.


	Section D


	Questionnaire

	
	It is expected that the applicant organization should be able to give affirmative answers to most of the questions and quote a relevant clause in its quality manual which confirms the point. Explanation will be required for negative answers.


	Yes
	No
	Quality Manual Reference or other relevant reference

	
	
	Mark as X
	

	D.1
	Are procedures for the operation of the laboratory set out in the Quality Manual?
	
	
	

	D.2
	Is an organization chart contained in the quality manual? If not, please attach.
	
	
	

	D.3
	Has the officer responsible for quality and authority to identify quality problems and initiate effective solutions?
	
	
	

	D.4
	Do procedures exist to control all documents that form part of the laboratory’s quality system?
	
	
	

	D.5
	Do fully documented procedures exist to ensure review of requests, tenders and contracts?
	
	
	

	D.6
	Are records maintained of all reviews of requests, tenders and contracts?
	
	
	

	D.7
	Does the laboratory ever use external services for testing/calibration or associated technical services in connection with any of the work for which accreditation is being sought?
	
	
	

	D.8
	Are all external services results clearly identified on test reports?
	
	
	

	D.9
	Do procedures exist for the purchase, reception and storage of reagents, supplies and laboratory consumable materials that affect the quality of tests and/or calibrations?
	
	
	

	D.10
	Are arrangements in place to ensure the effective resolution of complaints received from clients or other parties?
	
	
	

	D.11
	Are there procedures in place to ensure that the client is given full co-operation by the laboratory on all testing/calibration matters?
	
	
	

	D.12
	Do fully documented procedures exist to ensure adequate control of non-conforming testing and/or calibration work?
	
	
	

	D.13
	Does the laboratory operate a program of identifying risk and opportunities to identify needed improvements and potential sources of non-conformances?
	
	
	

	D.14
	Is a record maintained of all equipment including calibration results?
	
	
	

	D.15
	Are there arrangements for ensuring the accuracy, completeness and confidentiality of all relevant records?
	
	
	

	D.16
	Does the laboratory retain the original recorded observations and derived data?
	
	
	

	D.17
	Are there procedures in place to ensure the appropriate identification, collection, indexing, access, filing, storage, maintenance and disposal of quality and technical records?
	
	
	

	D.18
	Where computers or automated equipment is used for the acquisition, processing, recording, reporting, storage or retrieval of test or calibration data has the software been validated?
	
	
	

	D.19
	Is there a prescribed internal audit procedure for checking quality systems?
	
	
	

	D.20
	Is management review held at least once in a year?
	
	
	

	D.21
	Are records of management reviews maintained?
	
	
	

	D.22
	Have appropriate standards of qualifications and experience been prescribed for technical and managerial posts?
	
	
	

	D.23
	Are the necessary training arrangements available to maintain the required quality of testing/calibration?
	
	
	

	D.24
	Are adequate facilities and environments provided for calibration, handling, control, storage and maintenance of all testing and measuring equipment?
	
	
	

	D.25
	Is provision made to ensure that environments in which tests/calibrations are undertaken are suitable for the measurements undertaken? 
	
	
	

	D.26
	Is there control of access to laboratories?
	
	
	

	D.27
	Is provision made to prevent deterioration of damage to materials, samples and equipment both before and after tests/calibrations?
	
	
	

	D.28
	Are storage methods prescribed, including special environments if necessary?
	
	
	

	D.29
	Are there procedures for the inspection of samples in storage?
	
	
	

	D.30
	Are there documented procedures for calibrating all equipment and reference standards covering the method of calibration, uncertainty of measurement, maximum interval between calibration and (where appropriate) the sealing of equipment after calibration?
	
	
	

	D.31
	Are manuals, procedures and regulations for the tests/calibrations performed available to staff?
	
	
	

	D.32
	Are formal specifications available for each test/calibration?
	
	
	

	D.33
	Are non-standard testing techniques or calibrations used by the laboratory fully documented and appropriately validated?
	
	
	

	D.34
	Are the standard methods used by the laboratory the latest valid editions?
	
	
	

	D.35
	Does the laboratory have a policy and procedure to address uncertainty of measurement for test methods/calibrations?
	
	
	

	D.36
	Are observations and calculations recorded in permanent workbooks or controlled forms?
	
	
	

	D.37
	Are the reference standards used for calibration traceable to national or international standards?
	
	
	

	D.38
	Do internal quality control procedures exist for monitoring the validity of tests and calibrations undertaken?
	
	
	

	D.39
	What external proficiency testing (inter-laboratory comparisons) schemes does the laboratory participate in?

	
	Scheme Name
	Test/Calibration Covered

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	D.40
	Do test reports/calibration certificates contain all the information required in ISO/IEC 17025 section 7.8.2?
	
	
	

	D.41
	Is there any laboratory’s policy in relation to opinions and interpretations on test reports/calibration certificates?
	
	
	

	D.42
	Do you consider that the laboratory complies at present with ISO/IEC 17025 “General requirements for the competence of testing, calibration and sampling laboratories” and “Regulations for BAB accredited organizations”?
	
	
	

	D.43
	Is there any special urgency for achieving BAB accreditation? 

If so, please give the reason.


	
	
	

	D.44
	Do the laboratory has a risk identification and analysis process to mitigate or minimizing risk and opportunities for continual improvement?
	
[image: image1]
	
[image: image2]
	


	Section E
	Attachment Information 

	E.1
	Quality Manual

	
	Is the Quality Manual attached with Application  submitted?
	Yes
	
	    No
	
	

	
	If yes, how many copies are attached 
	

	
	If no, please give the reason
	

	E.2
	Application Fee (Please note that BANK DRAFT/PAY ORDER is the only method for payment)

	
	Is the Bank Draft/Pay Order attached? 
	Yes
	
	    No
	
	

	
	Bank Draft/Pay Order No:
	

	
	Dated:
	

	
	Name of Payer Bank:
	

	
	Bank Draft/Pay Order issued to:
	Bangladesh Accreditation Board (BAB)

	
	Amount (in digit):
	

	
	Amount (in words):
	

	E.3
	Legal Documents

	
	Registration No:
	

	
	Is the Document of Registration attached?
	Yes
	
	    No
	
	

	
	License No:
	

	
	Is the Document of License attached?
	Yes
	
	    No
	
	

	
	If the laboratory is part of government, mention the Act on which the laboratory has been established
	

	E.4
	Other Documents

	a
	
	

	b
	
	

	c
	
	


	Section F
	For official (BAB) use only

	F.1
	

	
	Laboratory Name:
	

	
	Assigned BAB Accreditation Officer:
	

	
	Assigned by:
	

	
	Signature:
	Date:

	F.2
	Lead Assessor Assigned by BAB

	
	Name
	

	F.3
	Assessors & Technical Assessors Assigned

	
	Name
	

	
	Name
	

	
	Name
	

	
	Pre-Assessment Required
	Yes
	
	    No
	
	

	
	If yes, Date of Pre-assessment
	

	
	If No, Date of Assessment
	

	F.4
	Application Review

	
	Please highlight any issues observed in the application form review:



	
	
	
	

	BAB Accreditation Officer
	Date
	Lead Assessor
	Date

	
	

	Authorized by
	Date


:

APPENDIX

Notes for applicants

(Please retain this section for your information)

1. Applicant

The Applicant is the owner of the facility. It may be a department of the Government or other instrumentality, organization, company or person operating a testing laboratory or related service facility. The name shown on the application form should be the full name in which the applicant is incorporated or otherwise recognized.

2. The scope of accreditation: 

In the laboratory accreditation area, for testing and calibration laboratories, BAB accreditation services are as follows:
	Fields of Testing


	3.1) 
	Biological Testing

	3.2) 
	Chemical Testing

	3.3) 
	Construction Materials Testing

	3.4) 
	Electrical Testing

	3.5) 
	Electro-technical Measurements Testing

	3.6) 
	Food and Microbiological Testing

	3.7) 
	Forensic Testing

	3.8) 
	Information and Communications Technology Testing

	3.9) 
	Environmental Testing

	3.10) 
	Mechanical Testing

	3.11) 
	Mechanical Measurements Testing

	3.12) 
	Non-destructive Testing

	3.13) 
	Plant Health Testing

	3.14) 
	Textile Testing

	3.15) 
	Veterinary Testing

	3.16) 
	Metrology

	3.17) 
	Optics & radiometry

	3.18) 
	Heat & Temperature measurement

	3.19) 
	Acoustic & vibration measurement

	Fields of calibration 

	3.20) 
	Mechanical Calibration

	3.21) 
	Electro-technical Calibration

	3.22) 
	Thermal Calibration

	3.23) 
	Biomedical Calibration


N.B.: 

· A separate application is required for each site for which you require accreditation.

3. Authorized Representative

The Authorized Representative is the person nominated by management to represent it in all matters relating to accreditation of its facility. This person must formally accept the nomination by signing the attached Acceptance of Nomination. A facility may nominate any of its employees as its Authorized Representative but BAB recommends the appointment of an officer of appropriate seniority who has an appreciation of and an interest in the facility’s activities and the standard of its performance.

A facility may nominate one person as the Authorized Representative for more than one site, or in more than one field of testing, or for more than one BAB accreditation program. Often this arrangement enhances liaison with BAB. The functions of the Authorized Representative are distinct from those of an individual recognized by BAB for activities related to reporting or technical coordination (e.g. BAB approved signatory). The Authorized Representative may also have such responsibilities, but these are not essential for their role as the Authorized Representative.

4. Facility Contact

It is possible to list a contact person for the facility other than the Authorized Representative. The contact person is listed in the BAB Directory and in our records as the person to contact with inquiries about the facility’s activities (i.e. from potential clients).
5. Application Fee

Details of the application fees can be found in BAB’s Fee Schedules (SP02), available from the BAB website (www.bab.gov.bd)
If an initial assessment has not been conducted within twelve months of the application date and the delay has been caused primarily by the applicant, an additional application fee will be charged. Application will lapse following lack of communication by the applicant CABs for two years from the date of submission. 

Information on BAB

Before lodging an application for accreditation, you should closely examine the following documents:

a. BAB Accreditation Procedure (AP01);

b. The international standard applicable to the accreditation;
c. The application document relevant to your area of operation;

d. BAB’s Terms and Condition for maintaining Accreditation (SP01).

BAB staff will be pleased to answer any questions you may have on BAB’s requirements for accreditation or the processing of your application for accreditation.

6. Supporting Information

In order to process your application for accreditation, we need to know the scope of accreditation you require, and we must have current information on the staffing, accommodation, equipment and administration of your facility. This information is normally provided when you complete and return the Assessment Information Document. 

7. Privacy

BAB respects and upholds the rights of individuals to privacy protection under existing act and national policies. This policy describes how BAB manages the personal information we hold.



































































































































































































































































































































































































































































































































































































































































































AF01 Application form for Testing, calibration and sampling 

 Laboratory Accreditation
                   Revision 06
Page 16 of 18

