Check List

List of Papers/ Information to be submitted for issuing of Electricity Generation License of Captive Power Plant(CPP):

- Pay-order/ Demand draft of Application fee

- Corporate Authorization (If applicable)

- Site map of the Plant/Factory (if possible)

- Catalogue of Generator (s)

- Copy of Fire License/Clearance certificate from the Department of Bangladesh Fire Service & Civil Defense

- Copy of Clearance certificate from the Department of Environment for Captive Power Plant

- Copy of Certificate of Incorporation (if applicable)

- Copy of updated Trade License

- Copies of updated Income Tax  Certificate  & VAT Registration Certificate

- Plant layout

- Single line diagram of power plant, substation, busbar & connection to the grid

- Earthing system of generator (s)

- Protection system of generator (s)

For Gas Based Power Plant:

- Gas supply approval letter; Gas supply contract; Gas supply approved layout plan; Copies of recent gas bill.