CHATTOGRAM POLYTECHNIC INSTITUTE

CHATTOGRAM

ELECTRONICS TECHNOLOGY

SEMESTER PLAN ( 6TH SEMESTER)

T     P     C

Subject- Instrumentation & Process Control (66863) 					2      3      3

| Week | Theory |  |  | Practical |  |
| --- | --- | --- | --- | --- | --- |
|  | Content (Specific Objective) | Activity |  | Content(Practrical Job No) | Activity |
|  |  | Class Test | Learning Meterials |  |  |
| 1 | 1. Understand the basic features of transducers. (1.1-1.7) |  | Ref. books, whaite board, marker, duster. | 1. Measure the displacement by linear variable resistance transducer. |  |
| 2 | 2 Understand the features of passive transducers.(2.1-2.5) |  |  | 2. Measure the temperature by resistance thermometer. |  |
| 3 | 2 Understand the features of passive transducers.(2.6-2.10) |  |  | 3. Determine the temperature coefficient of thermistor. |  |
| 4 | 3 Understand the features of self-generating type transducers.(3.1-3.8) | CT 1 |  | 4. Measure the thickness of a material by capacitive transducer. |  |
| 5 | 4 Understand the measuring technique by using transducers.(4.1-4.4) |  |  | 5. Measure the displacement by linear variable differential transformer (LVDT). |  |
| 6 | 4 Understand the measuring technique by using transducers.(4.5-4.8) | QT 1 |  | 6. Measure the temperature by thermocouple. |  |
| 7 | 5 Understand the concept of signal conditioning.(5.1-5.7) |  |  | 8. Measure the light intensity by photocell. |  |
| 8 | MID EXAM |  |  | MID EXAM |  |
| 9 | 6 Understand the features of recorders.(6.1-6.6) |  |  | 10. Study the operation of magnetic tape recorder. |  |
| 10 | 7 Understand the measuring techniques of special quantities.(7.1-7.6) | CT 2 |  | Review. 1 & 2 |  |
| 11 | 8 Understand the concept of data acquisition.(8.1-8.6) |  |  | Review. 2& 3 |  |
| 12 | 9 Understand the concept of control theory.(9.1-9.7) |  |  | Review. 4 & 5 |  |
| 13 | 10 Understand the concept of servo control.(10.1-1.05) | QT 2 |  | Review. 6 & 7 |  |
| 14 | Review. |  |  | Review. 8 |  |
| 15 | Review. |  |  | Review. |  |

Teachers Name- Kazi Mohiuddin