CHATTOGRAM POLYTECHNIC INSTITUTE,

CHATTOGRAM

ELECTRONICS TECHNOLOGY

SEMESTER PLAN ( 7th SEMESTER)

T     P     C

Subject- Biomedical Instrument (66873) 	 	 	 	 	 	           3      3      4

| We ek | Theory |  |  | Practical |  |
| --- | --- | --- | --- | --- | --- |
|  | Content (Specific Objective) | Activity |  | Content(Practrical Job No) | Activity |
|  |  | Class Test | Learning Meterials |  |  |
| 1 | Understand the concept of medical terminology.(1.1-1.5) |  | Ref. books, whaite board, marker, duster. | Study the operation of ECG machine. |  |
| 2 | Understand the concept of electrocardiography and electroencephalography.(2.1-2.6) |  |  | Study the operation of EEG machine. |  |
| 3 | Understand the concept of measurement of blood pressure & blood Flow.(3.1-3.6) |  |  | Study the basic principle of magnetic blood flow meter |  |
| 4 | Understand the concept of human respiratory and anesthesia system(4.1-4.7) | CT 1 |  | Study the operation of ultrasonic blood flow meter. |  |
| 5 | Understanding the concept of medical laboratory & laboratory equipments.(5.1-5.6) |  |  | Study the operation of diathermy machine with block diagram. |  |
| 6 | Understand the instruments used for surgery(6.1-6.6) | QT 1 |  | Study the function of a demandtype synchronous pacemaker with block diagram. |  |
| 7 | Understand the cardiac device. (7.1-7.8) |  |  | Study defibrillator and cardioverter. |  |
| 8 | Understand the prosthetic device and stimulator. (8.1-8.6) |  |  | Study the hemodialysis. |  |
| 9 | Understand the hemodialysis system. (9.1-9.6) |  |  | Study the operation of an X-ray machine with block diagram. |  |
| 10 | Understand the origin of biopotentials. (10.1-10.6) | CT 2 |  | Study the operation of computerized axial tomography (CAT) scanner. |  |
| 11 | Understand the concept of ultrasound imaging.(11.1-11.6) |  |  | Review. 2& 3 |  |
| 12 | Understand the features of medical imaging system.(12.112.8) |  |  | Review. 4 & 5 |  |
| 13 | Understand nuclear medical imaging system.(13.1-13.8) | QT 2 |  | Review. 6 & 7 |  |
| 14 | Understand radiation and basis for radiation Safety. (14.1-14.7) |  |  | Review. 8 |  |
| 15 | Understand the operation of biomedical measuring instruments.(15.1-15.6) |  |  | Review. 9 |  |
| 16 | Review. |  |  |  |  |

.

Teachers Name- Md. Nurul Islam

Instructor(Electronics)

Mymensingh Polytechnic Institute