CHATTOGRAM POLYTECHNIC INSTITUTE, CHATTOGRAM

ELECTRONICS TECHNOLOGY

SEMESTER PLAN ( 6TH SEMESTER)

T     P     C

Subject- Electronic Measurements (66861)	2     3      3

| Week | Theory |  |  | Practical |  |
| --- | --- | --- | --- | --- | --- |
|  | Content (Specific Objective) | Activity |  | Content(Practrical Job No) | Activity |
|  |  | Class Test | Learning Meterials |  |  |
| 1 | 1. Understand the basic concept of measurements.(1.1-1.9) |  | Ref. books, whaite board, marker, duster. | 1 Measurement of low resistance by Ammeter–Voltmeter method. |  |
| 2 | 2. Understand the measurement of low resistance.(2.1-2.5) |  |  | 2 Measurement of medium resistance by Wheatstone bridge. |  |
| 3 | 3. Understand the measurement of medium & high resistance. (3.1-3.8) |  |  | 3 Measurement of high resistance by a megger. |  |
| 4 | 4. Understand the features of Impedance Bridge.(4.1-4.6) | CT 1 |  | 4 Measurement of frequency by a frequency meter. |  |
| 5 | 5. Understand the features of special measurement(5.1-5.6) |  |  | 5 Measurement of power factor by a power factor meter. |  |
| 6 | 6. Understand the measurement of power.(6.1-6.5) | QT 1 |  | 6. Measure the resistance, inductance and capacitance using RLC Bridge. |  |
| 7 | 7. Understand the measurement of power factor. (7.1-7.5) |  |  | 7. Measure the Q of a coil with a Q-meter. |  |
| 8 | MID EXAM |  |  | MID EXAM |  |
| 9 | 8. Understand the measurement of phase & frequency.(8.1-8.6) |  |  | 8. Measure the separate resistive and reactive components by RX meter. |  |
| 10 | 9. Measurement of Voltage, current, phase & frequency. (9.1-9.4) | CT 2 |  | 9. Measure voltage, time period and frequency using a CRO. |  |
| 11 | 10. Measurement of radiation (10.1-10.5) |  |  | 10. Measure the rise, fall and delay time using a CRO. |  |
| 12 | 11. Transistors & IC tester (11.1-11.4) |  |  | 11. Test the transistor using semiconductor tester. |  |
| 13 | Review. | QT 2 |  | 12. Test the diode, SCR and FET using semiconductor tester. |  |
| 14 | Review. |  |  | Review. |  |
| 15 | Review. |  |  | Review. |  |

Teachers name: Jannatul Marjia