CHATTOGRAM POLYTECHNIC INSTITUTE, CHATTOGRAM

ELECTRONICS TECHNOLOGY

SEMESTER PLAN ( 2nd semester)

SUBJECT- Analog Electronics

SUBJECT CODE-26823                                                                                            T-3 P-3 C-4

| Week | General Topic | Day | Specific Topic | Practical | Test | Remarks |
| --- | --- | --- | --- | --- | --- | --- |
| 1st | 1. Understand extension of instrument range. | 1st | 1.1 List different types of instrument for which extension is required. 1.2 Explain the necessity for extension of instrument range 1.3 Describe the principles of extension of instrument range. | 1. Determine the shunt resistance of an ammeter for extension of its range. | Test-1 |  |
|  |  | 2nd | - Describe the ammeter shunt for DC circuit. 2.2 Express the deduction of the relation: |  |  |  |
|  |  | 3rd | 2.3 Explain ammeter shunt for AC circuit. |  |  |  |
| 2nd | 2. Understand the concept of voltmeter multiplier. | 1st | 3.1 Describe voltmeter multiplier. | 2. Determine the value of resistance of a voltmeter multiplier. |  |  |
|  |  | 2nd | 3.2 Describe the swamping resistance. |  |  |  |
|  |  | 3rd | 3.3 Explain voltmeter multiplier for AC instrument. |  |  |  |
| 3rd |  | 1st | 2.4 Solve problems relating to ammeter shunt. | 3. Perform the measurement of low resistance by Ammeter–Voltmeter method. |  |  |
|  |  | 2nd | 3.4 Solve problems relating to voltmeter multipliers. |  |  |  |
|  |  | 3rd | Continuation of above Problems |  |  |  |
| 4th | 4. Understand the measurement of resistance. | 1st | - Classify resistance. - Explain low, medium and high range of resistance. | 4. Perform the measurement of medium resistance by wheatstone bridge. |  |  |
|  | 5. Understand the principle of measurement of low resistance. | 2nd | 5.1 List the methods of measurement of low resistance. |  |  |  |
|  |  | 3rd | 5.2 Describe the ammeter – voltmeter method. |  |  |  |
| 5th |  | 1st | 5.3 Describe Kelvin’s double bridge method. | 5. Perform the measurement of high resistance by a megger. |  |  |
|  |  | 2nd | 5.4 Solve problems on Kelvin’s double bridge method. |  |  |  |
|  |  | 3rd | Continuation of above Problems |  |  |  |
| 6th | 6. Understand the measurement of medium resistance | 1st | - List the method of measurement of medium resistance. 6.2 Describe Wheatstone bridge method of measurement of medium resistance. | 8. Measure the inductance with an AC bridge. | Test-2 |  |
|  |  | 2nd | 6.3 Mention the advantages of Wheatstone bridge method. 6.4 Discuss the precaution in measuring medium resistance by Wheatstone bridge method. |  |  |  |
|  |  | 3rd | 6.5 Solve problems related to Wheatstone bridge method. |  |  |  |
| 7th | 7. Understand the features of Impedance Bridge. | 1st | 7.1 Describe the method of measurement of inductance by Maxwell’s bridge. | 9. Measure the resistance, inductance and capacitance using RLC bridge. |  |  |
|  |  | 2nd | 7.2 Explain the principle of Wein’s bridge. |  |  |  |
|  |  | 3rd | 7.3 Describe the Murray and Varley loop test methods for localization of cable faults. |  |  |  |
| 8th |  | 1st | - Describe the methods of testing for the localization of ground fault. | 10. Measure the Q of a coil with a Q-meter. |  |  |
|  |  | 2nd | 7.5 Solve Problem on R, L & C measurement using ac bridge. |  |  |  |
|  |  | 3rd | Continuation of above Problems |  |  |  |
| 9th | ## 8. Understand the features of special measuring instruments | 1st | 8.1 Describe the operation of audio power meter. 8.2 Explain the basic principle of distortion factor meter | 11. Test the transistor using semiconductor tester. |  |  |
|  |  | 2nd | - Describe the operation of Q meter. |  |  |  |
|  |  | 3rd | - Describe the operation of RX meter. 8.5 Explain the basic principle of automatic bridge. |  |  |  |
| 10th |  | 1st | 8.6 Describe the operation of transistor and IC testesr. | 12. Measure the distortion of a low frequency signal generator using a distortion factor meter. |  |  |
|  |  | 2nd | 8.7 Describe the operation of curve tracer. |  |  |  |
|  |  | 3rd | 8.8 Discuss the operation and uses of megger. |  |  |  |
| 11th | 9. Understand the principle of measurement of frequency. | 1st | - Name the methods of measuring frequency. 9.2 Explain the principle of mechanical resonance. | 13. Test the diode, SCR and FET using semiconductor tester. |  |  |
|  |  | 2nd | 9.3 Explain the principle of electrical resonance. |  |  |  |
|  |  | 3rd | 9.4 List different types of frequency meter. |  |  |  |
| 12th | 10. Understand the operation of digital frequency meter. | 1st | 10.1 Describe the principle of operation of digital frequency meter. | 14. Measure the separate resistive and reactive components by RX meter. |  |  |
|  |  | 2nd | 10.2 Sketch the block diagram of a digital frequency meter. |  |  |  |
|  |  | 3rd | 10.3 Describe each block of a digital frequency meter. |  |  |  |
| 13th |  | 1st | Describe the function of time base selector in digital frequency meter. | 6. Perform the measurement of frequency by a frequency meter. |  |  |
|  |  | 2nd | Draw the logic diagram of a digital frequency meter. |  |  |  |
|  |  | 3rd | Explain the operation of logic diagram of the digital frequency meter. |  |  |  |
| 14th | Understand the construction and principle of operation of power factor meter. | 1st | 11.1 List different types of power factor meter. 11.2 Describe the principle of operation of digital power factor meter. | 7. Perform the measurement of power factor by a power factor meter. |  |  |
|  |  | 2nd | 11.3 Draw the block diagram of a power factor meter |  |  |  |
|  |  | 3rd | 11.4 Describe each block of a digital power factor meter. |  |  |  |
| 15th | Review Class |  |  |  |  |  |
| 16th | Review Class |  |  |  |  |  |

Signature of class teacher

Name- Engr. Muhammad Shamsul Haque

Designation- Chief Instructor (Electronics)