অঙ্গীকারনামা

আমি নিম্ন স্বাক্ষরকারী প্রস্তাবিত ভবনের জন্য হাউজিং এন্ড বিল্ডিং রিসার্চ ইনস্টিটিউট এর Green, Affordable and Resilient Certification for Habitats (GreenARCH) সার্টিফিকেশনের আওতার মধ্যে নিম্নবর্ণিত পয়েন্টসমূহ প্রাপ্তির লক্ষ্যে প্রয়োজনীয় কার্যক্রম / পদক্ষেপ গ্রহণের অঙ্গীকার করছি। ভবনটি নির্মাণ সম্পন্ন হওয়ার ৩ (তিন) মাসের ভিতরে এই আলোকে পূর্ণাঙ্গ সার্টিফিকেশন প্রাপ্তির জন্য আবেদন করব।

| Project Details |  |  |
| --- | --- | --- |
| Applicant Name | : |  |
| Location / Address | : |  |
| Land Area | : |  |
| Total Built-up Area | : |  |
| Number of Floor | : |  |
| No. of buildings within site | : |  |
| Date of Construction Commencement | : |  |
| Date of Construction Completion | : |  |

| 1 | Site Sustainability | Points | 20 | Claimed Point |
| --- | --- | --- | --- | --- |
|  | Criteria | Attempted | Points |  |
| 1.1 | Proximity to Public Transport | ☐ Within 500m | 2 |  |
|  |  | ☐ Within 1000m | 1 |  |
| 1.2 | Top Soil Preservation | ☐ Preserve at least 25% existing land scape or green scape of the project land | 1 |  |
|  |  | ☐ Preserve to fertile top soil excavated from the construction site and use the soil for land scraping. | 1 |  |
| 1.3 | Brown field Development | ☐ Re Construction in Existing Vita | 3 |  |
|  |  | ☐ Construction in Vacant planed area | 2 |  |
|  |  | ☐ Construction in New Land Except agricultural Land | 1 |  |
| 1.4 | Access to Social Infrastructure ((School, Shopping Area, Marker, Bank ETC) | ☐ More than 3 Social infrastructure facilities in 1 KM Radius | 2 |  |
|  |  | ☐ At least 2 Social infrastructure facilities in 1 KM Radius | 1 |  |
| 1.5 | Green Cover and Preservation | ☐ Preserve 80% Trees/Plants at the Site | 3 |  |
|  |  | ☐ Preserve 50% Trees/Plants at the Site | 2 |  |
|  |  | ☐Preserve 30% Trees/Plants at the Site | 1 |  |
| 1.6 | 100% of the terrace is treated | ☐ High SRI Paints/High SRI tiles | 4 |  |
|  |  | ☐ Parasol / Roof Shading | 3 |  |
|  |  | ☐ Green Roof Minimum 60 % | 2 |  |
|  |  | ☐ Typical Roof insulation | 1 |  |
| 1.7 | Basic Facilities for construction workforce | ☐ Yes ☐ No | 2 |  |
| 1.8 | Climate resilience Design | ☐ Salinity / Cyclone ☐ Flooding / Water Logging | 2 |  |

| 2 | Water Use in Buildings | Points | 15 | Claimed Point |
| --- | --- | --- | --- | --- |
|  | Criteria | Attempted | Points |  |
| 2.1 | Efficient use of water during construction | ☐ Use of surface water (river/pond/rainwater etc) | 3 |  |
|  |  | ☐ Use of municipal supply Water |  |  |
|  |  | ☐ Using water using from other sources | 2 |  |
| 2.2 | Water Saving Fixtures | ☐ Dual flush WCs | 2 |  |
|  |  | ☐ Low flow Hand wash taps | 2 |  |
|  |  | ☐ Low flow kitchen faucets |  |  |
|  |  | ☐ Low flow showers | 2 |  |
|  |  | ☐ Urinal / Ablution | 2 |  |
| 2.3 | Optimization of Landscape water demand | ☐ Yes ☐ No | 1 |  |
| 2.4 | Rainwater Harvesting | ☐ Yes ☐ No | 1 |  |
| 3 | Energy Efficiency and Sustainability | Points | 25 | Claimed Point |
|  | Criteria | Criteria | Points |  |
| 3.1 | Building Envelope (Window to wall ratio) | ☐ Yes ☐ No | 3 |  |
| 3.2 | Shading Elements for Building Openings | ☐ Yes ☐ No | 2 |  |
| 3.3 | Energy Saving Measures in Appliances & other Equipment | Energy Efficient Air Conditioning Systems | 4 |  |
|  |  | Energy Efficient Lift / Escalator | 4 |  |
|  |  | Use Energy Efficient Fans (less than 70 Watts) | 2 |  |
|  |  | Use Occupancy Sensors in Lobby’s and non-Habitable Rooms | 2 |  |
| 3.4 | Renewable Energy Integration | ☐ Yes ☐ No | 1 |  |
| 3.5 | Building Management System | ☐ Yes ☐ No | 1 |  |
| 3.6 | Efficient Lighting in Apartment/Residences | ☐ Use of LED light in building. | 6 |  |
| 3.7 | Efficient Lighting in Open Space/Parking | ☐ Use of LED light in open/Parking area | 2 |  |
| 4 | Building Materials | Points | 15 | Claimed Point |
|  | Criteria | Criteria | Points |  |
| 4.1 | Use of Regional Materials | ☐ Building Materials 100% Produced in Bangladesh | 2 |  |
|  |  | ☐ Mix use of Building Materials imported from other countries | 1 |  |
| 4.2 | Material with Recycled content | ☐ Use Cement with Fly ash (CEM II, BM) | 1 |  |
|  |  | ☐ Use of Steel produced using recycle Steel materials | 1 |  |
|  |  | ☐ Use of Flush Door (minimum 70% of total door)/ Particle Board with Recycled Materials in interiors decoration. | 1 |  |
|  |  | ☐ Reuse of building components (window, door, Etc.) or Salvage materials (bricks, rebars, grills, etc.) | 1 |  |
| 4.3 | To reduce environmental impact during construction of the project. | ☐ Provide Fencing at Site and Safety measures During Construction | 1 |  |
|  |  | ☐ Keep Construction Materials in Marked Place with Coverage | 1 |  |
|  |  | ☐ Cover Properly during transportation of all Materials, Spray water to Prevent Dust Pollution, Take Measures for Reduction of Noise Pollution | 1 |  |
| 4.4 | Use of low-environmental impact materials in building | ☐ Use Re use materials /Re use of Building Elements or Component | 2 |  |
|  |  | ☐ Use Particle Board without Urea formal Dehydrate |  |  |
|  |  | ☐ Use UPVC Door Window Frame/Board |  |  |
|  |  | ☐ Use Wood From Short Maturity Life/ Certified Wood from BFRI |  |  |
|  |  | ☐Use Building Materials in Exterior / Design Intervention which Require very Low Maintenance of the Building ( minimum 3years) |  |  |
|  |  | ☐Use Concrete Unipaver/ permeable Blocks in Pavements |  |  |
| 4.5 | Masonry and Partition Wall Construction | ☐ Use 100% Non-fired Concrete Hollow Blocks/AAC Blocks | 4 |  |
|  |  | ☐ Use of Non-fired Concrete Hollow Blocks/AAC Blocks in all inner partition wall and solid Concrete Block in external walls | 3 |  |
|  |  | ☐ Use of 100% Non-fired Solid Concrete in all walls | 2 |  |
|  |  | ☐ Use of Ceramic Hollow/Auto Brick with hole prices Produce by Efficient Kiln | 1 |  |
| 5 | Indoor Environment Quality (10 Points) | Points | 10 | Claimed Point |
|  | Criteria | Criteria | Points |  |
| 5.1 | Use of Low VOC materials (Paint, Glue etc.) | ☐ Yes ☐ No | 2 |  |
| 5.2 | Daylight access into the living spaces | ☐ 75% window/opening area of rooms | 4 |  |
|  |  | ☐ 55% window/opening area of rooms | 3 |  |
|  |  | ☐ 35% window/opening area of rooms | 2 |  |
|  |  | ☐ 15% window/opening area of rooms | 1 |  |
| 5.3 | Fresh air ventilation | ☐ Yes ☐ No | 1 |  |
| 5.4 | Cross Ventilation | ☐ Yes ☐ No | 2 |  |
| 5.5 | Exhaust Systems (Kitchen/Toilet etc) | ☐ Yes ☐ No | 1 |  |
| 6 | Waste Management | Points | 5 | Claimed Point |
|  | Criteria | Criteria | Points |  |
| 6.1 | Waste Management (ETP/ Septic Tank, soak well etc.) | ☐ Yes ☐ No | 4 |  |
| 6.2 | Handling of construction waste materials | ☐ Yes ☐ No | 1 |  |
| 7 | Social Response | Points | 7 | Claimed Point |
|  | Criteria | Criteria | Points |  |
| 7.1 | Safety measures during Construction | ☐ Yes ☐ No | 2 |  |
| 7.2 | Fire Safety during Building Occupancy | ☐ Yes ☐ No | 1 |  |
| 7.3 | Gender Response | ☐ Yes ☐ No | 1 |  |
| 7.4 | Design for differently abled and Senior Citizen | ☐ Yes ☐ No | 1 |  |
| 7.5 | Affordability | ☐ Affordable Design ☐ Development in peri-urban and rural areas. | 2 |  |
| 8 | Sustainability | Points | 3 | Claimed Point |
|  | Criteria | Criteria | Points |  |
| 8.1 | Intervention and Awareness in Sustainability | ☐ Yes ☐ No | 3 |  |
|  |  | TOTAL POINTS 100 |  |  |

| তারিখ | আবেদনকারীর স্বাক্ষর |
| --- | --- |