Mymensingh Polytechnic Institute

Testing & Maintenance of Electrical Equipment

7th Semester (Electrical Technology)

Semester Plan (Theory)

| Week | Content | Remarks |
| --- | --- | --- |
| 1st |  |  |
| 2nd | 1. Identify the hand tools and equipment for trouble shooting and maintenance of electrical equipment. 1.1 Mention the name of hand tools and their uses 1.2 Name the equipment used for trouble findings and trouble shooting for electrical appliances and electrical machines 1.3 Name the equipment used for trouble findings and trouble shooting for electrical machines 2 |  |
| 3rd | 2. Find the trouble and repair the troubles of Batteries, DC Generator and DC Motors 2.1 Identify the troubles of Batteries 2.2 Explain the troubles of the storage Batteries 2.3 Describe the process of repair and maintenance of storage batteries 2.4 Identify the Faults of DC Generator and Dc Motor 2.5 Explain the faults of the Dc Generator and Dc Motor 2.6 Describe the process of repair and maintenance of DC Generator and Dc Motor |  |
| 4th | 3. Indicate the faults and remedy the faults of single phase and three phase transformer. 3.1 List the name the Faults of single phase Transformer 3.2 Explain the faults of single phase Transformer 3.3 Describe the process of repair and maintenance of single phase Transformer 3.4 Mention the Faults of three phase Transformer 3.5 Explain the faults of three phase Transformer 3.6 Describe the process of repair and maintenance three phase Transformer | Class Test-1 |
| 5th & 6th | 4. Outline the probable faults of single phase and three phase Induction motor. 4.1 List the name the Faults of single phase Induction Motor 4.2 Illustrate the faults of single phase Induction 4.3 Describe the process of repair and maintenance of single phase Induction Motor 4.4 Mention the Faults of three phase Induction Motor 4.5 Explain the faults of three phase Induction Motor 4.6 Demonstrate the process of repair and maintenance three phase Induction Motor |  |
| 7th | 5. Recognize the trouble and remedy the troubles of Alternators and Synchronous motors 5.1 List the name the Faults of Alternators 5.2 Illustrate the faults of Alternators 5.3 Describe the process of repair and maintenance of Alternators 5.4 Mention the Faults of Synchronous motors 5.5 Explain the faults of Synchronous motors 5.6 Demonstrate the process of repair and maintenance Synchronous motors | Quiz Test-1 |
| 8th | Mid Term Examination |  |

| 9th | 6. Express the trouble and remedy the troubles of Circuit breaker 6.1 List the name the Faults of Circuit breaker 6.2 Illustrate the faults of Circuit breaker 6.3 Describe the process of repair and maintenance of Circuit breaker |  |
| --- | --- | --- |
| 10th & 11th | 7. Determine causes of failure of emf generation of an Alternators 7.1 Collect the tools and equipment for measuring emf 7.2 Draw circuit diagram and connect for measuring emf 7.3 Measure the emf of an 7.4 Mention the reasons of failure of emf generation of an Alternators 7.5 Mention the mechanical faults of an Alternator 7.6 Mention the Electrical faults of an Alternator | Class Test-2 |
| 12th | 8. Detect the troubles and remedy the troubles Synchronous motor 8.1 Detect the faults of an Synchronous Motor 8.2 Mention the mechanical faults of an Synchronous Motor 8.3 Mention the Electrical faults of an Synchronous Motor 8.4 Collect the tools and equipment for testing an Induction Motor 8.5 Perform continuity test by using Megger, Avometer and Test lamp of an Synchronous motor 8.6 Perform insulation resistance between two coils and between phase and earth test of an Synchronous motor |  |
| 13th | 9. Determine the common faults of High Voltage Circuit Breaker 9.1 Mention the name of different test of a HV Circuit Breaker 9.2 Collect the tools and equipment for testing the HV Circuit Breaker 9.3 Draw circuit diagram and connect for insulation resistance test for HVCB 9.4 Perform the Insulation resistance test by using megger 9.5 Record the data and result of the Insulation resistance test. |  |
| 14th & 15th | 10. Perform the testing of HV circuit breaker 10.1 Mention the name of different faults of a HV Circuit Breaker 10.2 `Collect the tools and equipment for testing the HV Circuit Breaker 10.3 Draw circuit diagram and connect for insulation resistance test for HVCB 10.4 Perform the Contact resistance test with micro-ohm tester. 10.5 Record the data and result of the Insulation resistance test | Quiz Test-2 |
| 16th | Review Class |  |

Mymensingh Polytechnic Institute

Transmission and Distribution of Electrical Energy - 2(66774)

7th Semester(Electrical Technology

Semester Plan (Practical)

| Week | Content | Remarks |
| --- | --- | --- |
| 1st | Prepare the clocked RS flip-flops and check its truth table and operation. |  |
| 2nd | Prepare the clocked D & T flip-flops and check its truth table and operation. |  |
| 3rd & 4th | Prepare the clocked JK & Master-slave flip-flops and check its truth table and operation. |  |
| 5th & 6th | Prepare the serial / Parallel in - serial / parallel out shift registers and check its working operation. |  |
| 7th | Prepare the left shift &right shift register and check its working operation. |  |
| 8th | Mid Term Examination |  |
| 9th | Prepare the Decade counter and check its operation with truth table. |  |
| 10th | Prepare the Ring counter and check its operation with truth table. |  |
| 11th & 12th | Prepare the Up/Down counter and check its operation with truth table. |  |
| 13th | Prepare a 4 bit ALU and check the operation of ALU |  |
| 15th | Show the read / write operation of a 4 bit memory chip. |  |
| 16th | Show the D/A conversion procedure of D/A converter. |  |