## Slide 1
ENGINEERING
MD. ROMAN MIA
Part Time Teacher ( Civil )
Mymensingh Polytechnic Institute
Subject Code:26455
5th Semester Civil Technology , 2022 Probidhan
Presented by:

## Slide 2
Chapter No-01
Understand the different sources of Water
1.Identify different sources of water
2. Explain the Hydrological cycle.
3.State the advantages and disadvantages of ground water.
4.Mention the advantages and disadvantages of surface water.
5. Distinguish between the ground water supply and surface water supply in respect to quality of water.
6. Explain rain water harvesting.

## Slide 3: MAIN SOURCES OF WATER

## Slide 4: NATURAL RESOURCES OF WATER

## Slide 5: PERCENTAGE OF WATER USED DAILY

## Slide 6
Chapter No-02
Understand the various aspects of consumption of water
1.Explain the influence of the factor which affects per capita consumption of water:
a. Size of City
B . Characteristics of population
c. Industries and commercial organization
d. Climate Condition
e. Metering of water

## Slide 7: WATER DISTRIBUTION SYSTEM

## Slide 8: Water distribution system

## Slide 9: WATER DISTRIBUTION SYSTEM

## Slide 10: INDIRECT WATER SUPPLY
Water going to overhead tank and then the water is supplied to different floors by gravity

## Slide 11
Chapter no-03
Understand the different type of pipes & pipe joints used in water supply and the reasons for corrosion in metal pipes.
Classify the different type of pipes according to size ,materials ,quality and allowable stresses used in Bangladesh.
2. Explain the causes of corrosion of metal pipes.
3. Describe the methods of prevention and protection against corrosion.
4. Explain the causes of deterioration in non metal pipes.
5. Describe with sketches the different joints used in pipes.
6. Describe with sketches the fittings of pipes and valves used.

## Slide 12: HOLLOW PIPES

## Slide 13: GALVANISED IRON (G. I . PIPES)

## Slide 14: LEAD P I PES

## Slide 15: PVC PIPES

## Slide 16: JOINTS

## Slide 17: JOINTS

## Slide 18: GATE VALVE

## Slide 19: GLOBE VALVE

## Slide 20: RELIEF AND FLOAT VALVE

## Slide 21: TAP OR BIB COCK

## Slide 22: STOP COCK

## Slide 23: VARIOUS FITTINGS –GLOBE VALVE

## Slide 24: STOP TAP

## Slide 25: VARIOUS VALVES , TUBES AND PIPES
PTFE Tape 12m Pk of 10
Pegler Washing Machine Tap 15mm x ¾""
Pegler Gate Valve 22mm
Pegler Double Check Valve 15mm
Pegler Ball Valve
Red 15mm
Micro bore Copper Tube 10mm × 25m
Copper Tube
15mm × 20m
Copper Pipe
Clips 22mm

## Slide 26: ELECTRICAL MOTORS

## Slide 27
Chapter no-04
Understand the importance of Plumbing System
1.Define Plumbing System
2.List the requirements of plumbing installation
3.Identify with sketches the various Plumbing Fittings and Fixtures.
4.Describe the uses of various plumbing fittings and fixtures.
5.List the tools required for plumbing works.
6. Mention the uses and maintenance of various plumbing tools

## Slide 29
TYPES OF FITTINGS

## Slide 30: SANITARY SYSTEM

## Slide 31: INTRODUCTION
It is the arrangement provided in a house or building for collecting or conveying waste water through drain pipes, by gravity, to join either a public sewer or a domestic septic tank is termed as house drainage or building drainage.

## Slide 32: SANITARY SYSTEM

## Slide 33: AIMS OF HOUSE DRAINAGE
To maintain healthy conditions in the building
To dispose off waste water as early and quickly as
possible
To avoid the entry of foul gases from the sewer or the septic tank
To facilitate quick removal of foul matter
To collect and remove waste matters systematically

## Slide 34: SANITARY SYSTEM

## Slide 35: PIPES
Material | Application | Jointing
Cast iron | 50 mm and above vent and discharge stacks | Lead caulking with molten or fibrous lead; cold compound caulking
Galvanised steel | Waste pipe | Screwed
Copper | Waste pipes and traps | Compression, capillary, silver solder, bronze weld or push-fit rings seal
Lead | Waste pipes and discharge stacks | Soldered or lead welded
ABS (acrylonitrile butadiene styrene) | Up to 50 mm waste and vent pipes | Solvent cement and push-fit ring seal
High-density polyethylene | Up to 50 mm waste and ventilating pipes and traps | Push-fit ring seal and compression fittings
Polypropylene | Up to 50 mm waste and ventilating pipes and traps | Push-fit ring seal and compression couplings
Modified PVC | Up to 50 mm waste and vent pipes | Solvent cement and push-fit ring seal
Unplasticized PVC | Over 50 mm soil and vent stacks; vent pipes under 50 mm | Solvent cement and push-fit ring seal
Pitch fibre | Over 50 mm discharge and vent stacks | Driven taper or polypropylene fitting with a push-fit ring seal

## Slide 36: PIPES
Soil pipe: A soil pipe is a pipe Through which human excreta flows.
Water Pipe: it is a pipe which carries only the liquid waste. It does not carry human excreta.
Vent pipe; it is a pipe which is provided for the purpose of the ventilation of the system. A vent is open at top and bottom, to facilitate exit of foul gases. It is carried at least one meter higher than the roof level.
Rain water pipe: it is a pipe which carries only the rain water.
Anti-siphonage pipe: it is pipe which is installed in the house drainage
to preserve the water seal of traps.

## Slide 37: SIZES OF PIPES
100mm 30-50mm
75mm 75mm 50mm
Soil pipe:
Waste pipe: horizontal:
Waste pipe: vertical :
Rainwater pipe :
Vent pipe:
Anti siphoange pipe:
Connecting soil pipe:
Connecting waste pipe:
50mm 40mm

## Slide 38: TRAPS
A trap is depressed or bent fitting that, when provided in a drainage system, always remains full of water, thus maintaining water seal. It prevents the passage of foul air or gas through it, though it allows the sewage or waste water to flow through it. The depth of water seal is the vertical distance between the crown and dip of a trap. The depth of water seal represents its strength or effectiveness. Greater the depth of water seal more effective is the trap. The depth of water seal varies from 25mm to 75mm.

## Slide 39: TYPES OF TRAPS ACCORDING TO SHAPE:
‘P’ TRAP
‘Q’ TRAP
‘S’ TRAP ACCORDING TO USE:
FLOOR TRAP
GULLY TRAP
INTERCEPTING TRAPS
GREASE TRAPS

## Slide 40: TRAPS ACCORDING TO SHAPE

## Slide 41: TRAPS
EXAM
PLES
‘P’ TRAP
‘S’ TRAP

## Slide 42: SANITARY FITTINGS
WASH BASINS
SINKS
BATH TUBS
WATER CLOSETS
URINALS
FLUSHING CISTERNS

## Slide 43: BATH TUBS

## Slide 44: WASH BASINS

## Slide 45: WASH BASINS

## Slide 46: SINK
S

## Slide 47: URINALS
PUBLIC TOILETS
LADIES TOILETS
GENTS TOILETS
STREET URINALS

## Slide 48: WATER CLOSETS & CISTERNS
EUROPEAN

## Slide 49: WATER CLOSETS
INDIAN
ANGLO-INDIAN

## Slide 50
Chapter No-05
Understand the water supply system with specific reference to Rural & City in Bangladesh
1. Give instruction to alternative technologies in problem areas of Bangladesh :
Shallow shrouded Tube well ,very Shallow shrouded Tube Well,Pond sand filter,Infiltration galleries,Iron Removal unit and deep set technologies.

## Slide 51
PLUMBING SYSTEMS
SINGLE STACK SYSTEM
FULLY VENTILATED STACK SYSTEM
ONE PIPE SYSTEM
DUAL PIPE SYSTEM
MODIFIED SINGLE PIPE SYSTEM

## Slide 52
ONE PIPE SYSTEM
In the system all soil and waste water discharge into one common pipe and all branch ventilating pipes into one main ventilating pipe. This system largely replaces the two pipe system and lent itself very well to use in multi storey developments. It is far more economical than the two pipe system.

## Slide 53
TWO PIPE SYSTEM
The waste stack received the discharge ablutionary fitments and conveyed this to the ground level where it was delivered above the water seal in a trapped gully connected to the drainage system.
the soil stack receives the discharge from soil appliances and delivered it direct to the underground drainage system. The waste and soil water did not combine until they reached the below ground drainage system.

## Slide 54
THE FULLY VENTILATED ONE-PIPE SYSTEM
A large number of sanitary appliances in ranges.
Each trap with an anti- siphon or vent pipe connected to the discharge pipe in direction of the flow of water at a point between 75 - 450 mm from trap crown.
Vent stack connected to the discharge stack near to the bend to remove compressed air at this point

## Slide 55
The single stack system Reduces the cost of soil and waste systems.
Branch vent pipes are not required
To prevent loss of trap water seals:-
The trap water seals on the waste traps must be 76 mm deep.
The slopes of the branch pipes are: sink and bath, 18 to 19 mm/m; basin 20-120 mm/m; WC 18 mm/m (min.).
Vertical stack at 200 mm below the centre of the WC branch connection.

## Slide 56: Modified single stack system
Close grouping of the sanitary appliances  install the branch waste and soil pipes without the need for individual branch ventilating pipes.
To prevent the loss of trap water seals
 WC branch pipe min. 100 mm
bore and the angle θ = 90.5° to 95°.
To prevent the loss of trap water seals
 basin main waste pipe min. 50 mm bore and the angle θ = 91° to 92.5°.
Five basins or more / length of the main waste pipe exceeds 4.5 m  a 25 mm bore vent pipe connected to main waste pipe at a point between