## 0.Contents
Table of Contents (Power Distribution)
0.Contents --> Table of contents
| 1.Params --> Setting model parameters & project assumptions/variables | About the Sample Project
| Financial Analysis | The project is designed: 1) to increase the supply of electricity to about 200,000 new customers in rapidly growing urban areas through new service connections, and 2) to improve the service of electricity supply to 100,000 existing customers through updating the existing distribution facilities and thus reducing service losses due to load shedding (cf. the Appendix of the CBA Handbook).
2a.FCosts --> Identifying and quantifying financial costs (1)----DPP format
2b.FCosts --> Identifying and quantifying financial costs (2)----General format
3.FBenefits --> Identifying and quantifying financial benefits
4a.FAnalysis --> Constructing financial cash flow tables and estimating financial indicators (1)----Horizontal format
4b.FAnalysis --> Constructing financial cash flow tables and estimating financial indicators (2)----Vertical format
Economic Analysis
5.ECosts --> Identifying and quantifying economic costs
6.EBenefits --> Identifying and quantifying economic benefits
7a.EAnalysis --> Constructing economic cash flow tables and estimating economic indicators (1)----Horizontal format
7b.EAnalysis --> Constructing economic cash flow tables and estimating economic indicators (2)----Vertical format
8.Sensitivity --> Testing sensitivity of the results to parameters & assumptions
9.Results --> Summarizing the results of financial and economic analysis
Passcode: p1234

## 1.Params_8.Sensitivity
Model Parameters (Power Distribution) |  |  |  |  | Project Assumptions/Variables (Power Distribution)
| Contingency |  |  |  |  | Project Life & Construction Period
| Physical Contingency | (%) | 2% | [default: 2.0%] |  | Project Life | (years) | 30 | [default: 30] | *(>=10 & <=30)
| Price Contingency, Local currency | (%) | 5% | [default: 5.0%] |  | Construction Period | (years) | 5 | [default: 5] | *(<=6)
| Price Contingency, Foreign currency (not used in this sample) | (%) | 5% | [default: 5.0%] |  | Demand
[6 empty] | Growth in Capacity Utilization/Growth of Demand for Electricity | (%) | 9% | [default: 9.0%]
| Conversion Factor |  |  |  |  | Existing Customers | (#) | 100000 | [default: 100,000]
| Conversion Factor for Traded Goods |  | 1.15 | [default: 1.15] |  | Capacity
| Wage Conversion Factor for Unskilled Labor (not used in this sample) |  | 1.45 | [default: 1.45] |  | Initial Capacity Utilization after Construction | (%) | 80% | [default: 80.0%]
[6 empty] | Total Capacity to be Increased per hour | (MVA/hour) | 595 | [default: 595] | *1MVA = 1,000kW
| Discount Rate |  |  |  |  | Total Capacity to be Increased per year | (MVA/year) | 5212200 |  | *1MVA = 1,000kW
| Financial Discount Rate | (%) | 12% | [default: 12.0%] |  | System Loss | (%) | 5.25% | [default: 5.25%]
| Economic (Social) Discount Rate | (%) | 12% | [default: 12.0%] |  | Additional Supply of Electricity to Meet Demand per year | (MVA/year) | 4938559.5
Price & Costs
| Exchange Rate (not used in this sample) | (USD/BDT) | 100 | [default: 100] |  | Average Sales Rate per kWh | (BDT/kWh) | 8.05 | [default: 8.05]
[6 empty] | Average Cost of Input (Purchase rate + Wheeling charge) per KWh | (BDT/kWh) | 6.75 | [default: 6.75]
| *Entering data in the beige-colored cells is required. |  |  |  |  | Cost of Electricity Produced Privately per kWh | (BDT/kWh) | 12 | [default: 12.00] | *choke price
Service Improvement
[6 empty] | Reduction in Load Shedding per day | (mins/day) | 12 | [default: 12]
[6 empty] | Reduction in Load Shedding per year | (hrs/year) | 73
Allocation Benefits among Generation/Transmission/Distribution
[6 empty] | Percent of Indirect Benefits Attributable to the Project | (#) | 33.33% | [default: 33.3%]
Sensitivity Analysis (Power Distribution)
| Level of Total Benefis | (%) | 100% | [default: 100%] |  | Parameter/Assumption |  | Value | Financial Analysis |  |  | Economic Analysis
| Level of Total Costs | (%) | 100% | [default: 100%] |  |  |  |  | NPV | BCR | IRR | NPV | BCR | IRR
[6 empty] | Change in Total Benefits | (%) | 100% | 16122.0105 | 1.0096 | 13.05% | 153295.0763 | 1.1048 | 21.47% | *Do not change the first row.
[8 empty] | 80% | -323483.0055 | 0.80767 | n/a | -169868.8206 | 0.88385 | n/a
[8 empty] | 90% | -153680.4975 | 0.90863 | -7.329% | -8286.8722 | 0.99433 | 11.35%
[8 empty] | 100% | 16122.0105 | 1.0096 | 13.05% | 153295.0763 | 1.1048 | 21.47%
[8 empty] | 110% | 185924.5185 | 1.1105 | 21.89% | 314877.0247 | 1.2153 | 28.82%
[8 empty] | 120% | 355727.0265 | 1.2115 | 28.6% | 476458.9732 | 1.3258 | 34.83%
[6 empty] | Parameter/Assumption |  | Value | Financial Analysis |  |  | Economic Analysis
[9 empty] | NPV | BCR | IRR | NPV | BCR | IRR
[6 empty] | Change in Total Costs | (%) | 100% | 16122.0105 | 1.0096 | 13.05% | 153295.0763 | 1.1048 | 21.47% | *Do not change the first row.
[8 empty] | 80% | 352505.7619 | 1.262 | 31.49% | 445802.6862 | 1.381 | 37.49%
[8 empty] | 90% | 184313.8862 | 1.1218 | 22.72% | 299548.8812 | 1.2276 | 29.54%
[8 empty] | 100% | 16122.0105 | 1.0096 | 13.05% | 153295.0763 | 1.1048 | 21.47%
[8 empty] | 110% | -152069.8652 | 0.9178 | -2.557% | 7041.2713 | 1.0044 | 12.49%
[8 empty] | 120% | -320261.7409 | 0.84132 | n/a | -139212.5336 | 0.92068 | -1.538%
[6 empty] | Parameter/Assumption |  | Value | Financial Analysis |  |  | Economic Analysis
[9 empty] | NPV | BCR | IRR | NPV | BCR | IRR
[6 empty] | Growth in Capacity Utilization/Growth of Demand for Electricity | (%) | 9% | 16122.0105 | 1.0096 | 13.05% | 153295.0763 | 1.1048 | 21.47% | *Do not change the first row.
[8 empty] | 7% | 14923.3673 | 1.0089 | 12.97% | 151326.846 | 1.1041 | 21.33%
[8 empty] | 8% | 15673.285 | 1.0093 | 13.02% | 152558.2472 | 1.1045 | 21.41%
[8 empty] | 9% | 16122.0105 | 1.0096 | 13.05% | 153295.0763 | 1.1048 | 21.47%
[8 empty] | 10% | 16573.4638 | 1.0098 | 13.08% | 154036.3846 | 1.1051 | 21.52%
[8 empty] | 11% | 17027.645 | 1.0101 | 13.11% | 154782.172 | 1.1054 | 21.57%
[6 empty] | Parameter/Assumption |  | Value | Financial Analysis |  |  | Economic Analysis
[9 empty] | NPV | BCR | IRR | NPV | BCR | IRR
[6 empty] | Cost of Electricity Produced Privately per kWh | (BDT/kWh) | 12 | 16122.0105 | 1.0096 | 13.05% | 153295.0763 | 1.1048 | 21.47% | *Do not change the first row.
[8 empty] | 10 | 16122.0105 | 1.0096 | 13.05% | 82775.6147 | 1.0566 | 17.56%
[8 empty] | 11 | 16122.0105 | 1.0096 | 13.05% | 118035.3455 | 1.0807 | 19.58%
[8 empty] | 12 | 16122.0105 | 1.0096 | 13.05% | 153295.0763 | 1.1048 | 21.47%
[8 empty] | 13 | 16122.0105 | 1.0096 | 13.05% | 188554.8071 | 1.1289 | 23.23%
[8 empty] | 14 | 16122.0105 | 1.0096 | 13.05% | 223814.5379 | 1.153 | 24.89%
[6 empty] | Parameter/Assumption |  | Value | Financial Analysis |  |  | Economic Analysis
[9 empty] | NPV | BCR | IRR | NPV | BCR | IRR
[6 empty] | Reduction in Load Shedding per day | (mins/day) | 12 | 16122.0105 | 1.0096 | 13.05% | 153295.0763 | 1.1048 | 21.47% | *Do not change the first row.
[8 empty] | 2 | 16122.0105 | 1.0096 | 13.05% | 152952.9666 | 1.1046 | 21.45%
[8 empty] | 7 | 16122.0105 | 1.0096 | 13.05% | 153124.0214 | 1.1047 | 21.46%
[8 empty] | 12 | 16122.0105 | 1.0096 | 13.05% | 153295.0763 | 1.1048 | 21.47%
[8 empty] | 17 | 16122.0105 | 1.0096 | 13.05% | 153466.1311 | 1.1049 | 21.47%
[8 empty] | 22 | 16122.0105 | 1.0096 | 13.05% | 153637.186 | 1.105 | 21.48%
[6 empty] | Parameter/Assumption |  | Value | Financial Analysis |  |  | Economic Analysis
[9 empty] | NPV | BCR | IRR | NPV | BCR | IRR
[6 empty] | Average Cost of Input (Purchase rate + Wheeling charge) per KWh | (BDT/kWh) | 6.75 | 16122.0105 | 1.0096 | 13.05% | 153295.0763 | 1.1048 | 21.47% | *Do not change the first row.
[8 empty] | 7 | -40090.1638 | 0.97693 | 9.11% | 104414.9248 | 1.0691 | 18.82%
[8 empty] | 7.25 | -96302.338 | 0.94633 | 3.883% | 55534.7732 | 1.0356 | 15.88%
[8 empty] | 7.5 | -152514.5123 | 0.91758 | -6.819% | 6654.6217 | 1.0041 | 12.5%
[8 empty] | 7.75 | -208726.6865 | 0.89053 | n/a | -42225.5298 | 0.97453 | 8.432%
[8 empty] | 8 | -264938.8608 | 0.86503 | n/a | -91105.6814 | 0.94663 | 2.874%
[6 empty] | Parameter/Assumption |  | Value | Financial Analysis |  |  | Economic Analysis
[9 empty] | NPV | BCR | IRR | NPV | BCR | IRR
[6 empty] | Average Sales Rate per kWh | (BDT/kWh) | 8.05 | 16122.0105 | 1.0096 | 13.05% | 153295.0763 | 1.1048 | 21.47% | *Do not change the first row.
[8 empty] | 7.56 | -87236.0378 | 0.94813 | 4.874% | 80695.7806 | 1.0552 | 17.44%
[8 empty] | 7.81 | -34502.3397 | 0.97949 | 9.542% | 117736.2376 | 1.0805 | 19.57%
[8 empty] | 8.06 | 18231.3584 | 1.0108 | 13.18% | 154776.6946 | 1.1058 | 21.54%
[8 empty] | 8.31 | 70965.0566 | 1.0422 | 16.27% | 191817.1515 | 1.1312 | 23.39%
[8 empty] | 8.56 | 123698.7547 | 1.0735 | 19% | 228857.6085 | 1.1565 | 25.12%
[6 empty] | Parameter/Assumption |  | Value | Financial Analysis |  |  | Economic Analysis
[9 empty] | NPV | BCR | IRR | NPV | BCR | IRR
[6 empty] | System Loss | (%) | 5.25% | 16122.0105 | 1.0096 | 13.05% | 153295.0763 | 1.1048 | 21.47% | *Do not change the first row.
[8 empty] | 6.75% | -10759.653 | 0.9936 | 11.27% | 127721.3198 | 1.0873 | 20.11%
[8 empty] | 7% | -15239.9303 | 0.99094 | 10.95% | 123459.027 | 1.0844 | 19.88%
[8 empty] | 7.25% | -19720.2075 | 0.98828 | 10.64% | 119196.7343 | 1.0815 | 19.65%
[8 empty] | 7.5% | -24200.4848 | 0.98561 | 10.31% | 114934.4415 | 1.0786 | 19.41%
[8 empty] | 7.75% | -28680.762 | 0.98295 | 9.981% | 110672.1488 | 1.0757 | 19.18%
[6 empty] | Parameter/Assumption |  | Value | Financial Analysis |  |  | Economic Analysis
[9 empty] | NPV | BCR | IRR | NPV | BCR | IRR
[6 empty] | Financial Discount Rate | (%) | 12% | 16122.0105 | 1.0096 | 13.05% | 153295.0763 | 1.1048 | 21.47% | *Do not change the first row.
[8 empty] | 8% | 115168.4345 | 1.0429 | 13.05% | 153295.0763 | 1.1048 | 21.47%
[8 empty] | 10% | 56682.9009 | 1.0269 | 13.05% | 153295.0763 | 1.1048 | 21.47%
[8 empty] | 12% | 16122.0105 | 1.0096 | 13.05% | 153295.0763 | 1.1048 | 21.47%
[8 empty] | 14% | -12278.5114 | 0.99102 | 13.05% | 153295.0763 | 1.1048 | 21.47%
[8 empty] | 16% | -32282.2228 | 0.97142 | 13.05% | 153295.0763 | 1.1048 | 21.47%
[6 empty] | Parameter/Assumption |  | Value | Financial Analysis |  |  | Economic Analysis
[9 empty] | NPV | BCR | IRR | NPV | BCR | IRR
[6 empty] | Economic (Social) Discount Rate | (%) | 12% | 16122.0105 | 1.0096 | 13.05% | 153295.0763 | 1.1048 | 21.47% | *Do not change the first row.
[8 empty] | 8% | 16122.0105 | 1.0096 | 13.05% | 329630.5881 | 1.1413 | 21.47%
[8 empty] | 10% | 16122.0105 | 1.0096 | 13.05% | 226497.5648 | 1.1238 | 21.47%
[8 empty] | 12% | 16122.0105 | 1.0096 | 13.05% | 153295.0763 | 1.1048 | 21.47%
[8 empty] | 14% | 16122.0105 | 1.0096 | 13.05% | 100515.7902 | 1.0845 | 21.47%
[8 empty] | 16% | 16122.0105 | 1.0096 | 13.05% | 61941.1497 | 1.0631 | 21.47%

## 2a.FCosts
Financial Costs (Power Distribution)----DPP format
| Detailed Estimated Cost | [13 empty] | (Taka in Lac)
| Economic Code | Economic Sub-code | Economic Sub-code Description (In Detail) | Unit | Unit Cost | Quantity | Total
[7 empty] | GOB (FE) | Project Aid |  |  |  | Own Fund (FE) | Others | Total | % of Total Project Cost
[8 empty] | RPA |  | DPA
[8 empty] | Through GOB | Special Account* | Through PD | Through DP
| (1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12) | (13) | (14) | (15)
(a) Revenue:
| Through DP (14): 0; Through DP (15): 0% | *There are two methods to enter data and calculate total initial investment costs. One way is to enter cost data directly into the 2b.FCosts sheet. The other way is to enter cost data into the 2a.FCosts sheet, which is based on the Detailed Estimated Cost form (Annexure V(a) of the DPP Manual). Choose either. Do not use both simultaneously.
[14 empty] | 0 | 0%
[14 empty] | 0 | 0%
| Sub total of Revenue | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0%
(b) Capital:
[14 empty] | 0 | 0%
|  | Taxes (Transfers) | [11 empty] | 0 | 0%
|  | Subsidies, negative costs (Transfers) | [11 empty] | 0 | 0%
| Sub total of Capital | [5 empty] | 43349.9946 | 0 | 0 | 0 | 119567.45 | 59376.3599 | 0 | 222293.8045 | 93.46%
| (c) Physical Contingency (2%) | [5 empty] | 866.9999 | 0 | 0 | 0 | 2391.349 | 1187.5272 | 0 | 4445.8761 | 1.869%
| (d) Price Contingency (5%) | [5 empty] | 2167.4997 | 0 | 0 | 0 | 5978.3725 | 2968.818 | 0 | 11114.6902 | 4.673%
| Total (a+b+c+d) | [5 empty] | 46384.4942 | 0 | 0 | 0 | 127937.1715 | 63532.7051 | 0 | 237854.3708 | 100%
* DOSA, CONTASA, SAFE, Imprest, etc.

## 2b.FCosts
Financial Costs (Power Distribution)----General format
| Item | Local Currency (BDT) |  |  | Foreign Currency (USD) | Total (BDT)
|  | GOB | Project Aid | Own Funds
| Materials & Equipment Costs | 0 | 0 | 0 | 0 | 0
| Labor Costs | 0 | 0 | 0 | 0 | 0
| Skilled Workers | 0 | 0 | 0 | 0 | 0
| Unskilled Workers | 0 | 0 | 0 | 0 | 0
| Land Acquisition/Compensation Costs | 0 | 0 | 0 | 0 | 0
| Consultant Costs | 0 | 0 | 0 | 0 | 0
| General/Administrative Costs (Overhead Costs) | 0 | 0 | 0 | 0 | 0
| Taxes, Subsidies (Transfers) | 0 | 0 | 0 | 0 | 0
| Base Costs (w/o Contingencies) | 0 | 0 | 0 | 0 | 0
| Physical Contingency (2%) | 0 | 0 | 0 | 0 | 0
| Price Contingency, Local currency (5%) / Foreign currency (5%) | 0 | 0 | 0 | 0 | 0
| Total Initial Investment Costs (w/ Contingencies) | 0 | 0 | 0 | 0 | 0
| Total Initial Investment Costs (BC + Physical Contingency) | 0 | 0 | 0 | 0 | 0 | (lakh)
| Data either from above Table or Detailed Estimated Cost (2a.FCosts)* | GOB | PA | OF | FC | Total |  | *There are two methods to enter data and calculate total initial investment costs. One way is to enter cost data directly into this 2b.FCosts sheet. The other way is to enter cost data into the 2a.FCosts sheet, which is based on the Detailed Estimated Cost form (Annexure V(a) of the DPP Manual). Choose either. Do not use both simultaneously.
| Taxes, Subsidies (Transfers) | 0 | 0 | 0 | 0 | 0
| Base Costs (w/o Contingencies) | 43349.9946 | 119567.45 | 59376.3599 | 0 | 222293.8045
| Physical Contingency | 866.9999 | 2391.349 | 1187.5272 | 0 | 4445.8761
| Price Contingency | 2167.4997 | 5978.3725 | 2968.818 | 0 | 11114.6902
| Total Initial Investment Costs (w/ Contingencies) | 46384.4942 | 127937.1715 | 63532.7051 | 0 | 237854.3708
| Total Initial Investment Costs (BC + Physical Contingency) | 44216.9945 | 121958.799 | 60563.8871 | 0 | 226739.6805 | (lakh)
| Item | 1 | 2 | 3 | 4 | 5 | Total
| Annual Initial Investment Breakdowns during Construction (%) | 0.5424% | 35.56% | 39.54% | 23.73% | 0.6232% | 100% | (=100%)
| Annual Initial Investment Costs (BDT) | 1229.9273 | 80625.8885 | 89655.7836 | 53814.9468 | 1413.1344 | 226739.6805 | (lakh)
|  | (Discrepancy with Total Initial Investment Costs) |  |  |  |  | 0 | (=0)
Item
Investment I -- Buildings
| Costs of Fixed Investment | 0
| Salvage (Residual) Value (%) | 10%
Investment II -- Equipment (Overhead & underground line construction)
| Costs of Fixed Investment | 4700
| Salvage (Residual) Value (%) | 10% | *It is assumed that 10% of the initial investment costs for the ovrhead & underground line construction will be salvaged.
Investment III -- Land
| Costs of Fixed Investment | 0
| Salvage (Residual) Value (%) | 100%
| Salvage Value of Investment | 470 | (lakh)
| Item | Local Currency (BDT) | Foreign Currency (USD) | Total (BDT)
| Input Purchase (e.g., electricity purchase, wheeling charge) | 351823.5 | 0 | 351823.5 | *It is estimated as [total capacity to be increased]*[average cost of input].
| Spares & Maintenance | 3518.235 | 0 | 3518.235 | *It is assumed as 1% of the Input Purchase costs.
| Labor Costs | 0 | 0 | 0
| Skilled Workers | 0 | 0 | 0
| Unskilled Workers | 0 | 0 | 0
| Insurance | 0 | 0 | 0
| General/Administrative Costs (Overhead Costs) | 0 | 0 | 0
| Annual Operating Costs (Operation & Maintenance Costs) | 355341.735 | 0 | 355341.735 | (lakh)
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
| Annual Operating Cost Levels after Construction (cumulative %) | 0% | 0% | 0% | 0% | 0% | 80% | 87.2% | 95.05% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
| Annual Operating Costs after Construction (BDT) | 0 | 0 | 0 | 0 | 0 | 284273.388 | 309857.9929 | 337745.2123 | 355341.735 | 355341.735 | 355341.735 | 355341.735 | 355341.735 | 355341.735 | 355341.735 | 355341.735 | 355341.735 | 355341.735 | 355341.735 | 355341.735 | 355341.735 | 355341.735 | 355341.735 | 355341.735 | 355341.735 | 355341.735 | 355341.735 | 355341.735 | 355341.735 | 355341.735

## 3.FBenefits
Financial Benefits (Power Distribution)
Item
Revenue Source I
| Additional Supply of Electricity to Meet Demand per year | 4938559.5
| Average Sales Rate per kWh | 8.05
Revenue Source II
Additional Supply of Electricity to Meet Demand per year
Average Sales Rate per kWh
Revenue Source III
Additional Supply of Electricity to Meet Demand per year
Average Sales Rate per kWh
| Annual Revenues | 397554.0397 | (lakh)
|  | 1 | 2 | 3 | 4 | 5
| Annual Revenue Generation during Construction (cumulative %) | 0% | 0% | 0% | 0% | 0%
| Annual Revenues during Construction (BDT), if any | 0 | 0 | 0 | 0 | 0
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
| Annual Revenue Generation after Construction (cumulative %) | [5 empty] | 80% | 87.2% | 95.05% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
| Annual Revenues after Construction (BDT) | n/a | n/a | n/a | n/a | n/a | 318043.2318 | 346667.1227 | 377867.1637 | 397554.0397 | 397554.0397 | 397554.0397 | 397554.0397 | 397554.0397 | 397554.0397 | 397554.0397 | 397554.0397 | 397554.0397 | 397554.0397 | 397554.0397 | 397554.0397 | 397554.0397 | 397554.0397 | 397554.0397 | 397554.0397 | 397554.0397 | 397554.0397 | 397554.0397 | 397554.0397 | 397554.0397 | 397554.0397

## 4a.FAnalysis
Cash Flows of Financial Costs and Benefits (Power Distribution)----Horizontal format
| At Constant Prices/Before Discounting (lakh) | Total | Year | [29 empty] | Salvage
|  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
| Total Costs | 8975664.4437 | 1229.9273 | 80625.8885 | 89655.7836 | 53814.9468 | 1413.1344 | 284273.388 | 309857.9929 | 337745.2123 | 355341.735 | 355341.735 | 355341.735 | 355341.735 | 355341.735 | 355341.735 | 355341.735 | 355341.735 | 355341.735 | 355341.735 | 355341.735 | 355341.735 | 355341.735 | 355341.735 | 355341.735 | 355341.735 | 355341.735 | 355341.735 | 355341.735 | 355341.735 | 355341.735 | 355341.735
| Initial Investment Costs | 226739.6805 | 1229.9273 | 80625.8885 | 89655.7836 | 53814.9468 | 1413.1344 | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | --
| Operating Costs (Operation & Maintenance Costs) | 8749394.7632 | 0 | 0 | 0 | 0 | 0 | 284273.388 | 309857.9929 | 337745.2123 | 355341.735 | 355341.735 | 355341.735 | 355341.735 | 355341.735 | 355341.735 | 355341.735 | 355341.735 | 355341.735 | 355341.735 | 355341.735 | 355341.735 | 355341.735 | 355341.735 | 355341.735 | 355341.735 | 355341.735 | 355341.735 | 355341.735 | 355341.735 | 355341.735 | 355341.735
| Salvage Value | -470 | [30 empty] | -470 | bar: Year 1 to Year 30
| Total Benefits | 9788766.3927 | 0 | 0 | 0 | 0 | 0 | 318043.2318 | 346667.1227 | 377867.1637 | 397554.0397 | 397554.0397 | 397554.0397 | 397554.0397 | 397554.0397 | 397554.0397 | 397554.0397 | 397554.0397 | 397554.0397 | 397554.0397 | 397554.0397 | 397554.0397 | 397554.0397 | 397554.0397 | 397554.0397 | 397554.0397 | 397554.0397 | 397554.0397 | 397554.0397 | 397554.0397 | 397554.0397 | 397554.0397
| Net Benefits | 813101.9489 | -1229.9273 | -80625.8885 | -89655.7836 | -53814.9468 | -1413.1344 | 33769.8438 | 36809.1297 | 40121.9514 | 42212.3048 | 42212.3048 | 42212.3048 | 42212.3048 | 42212.3048 | 42212.3048 | 42212.3048 | 42212.3048 | 42212.3048 | 42212.3048 | 42212.3048 | 42212.3048 | 42212.3048 | 42212.3048 | 42212.3048 | 42212.3048 | 42212.3048 | 42212.3048 | 42212.3048 | 42212.3048 | 42212.3048 | 42682.3048
| Financial Discount Rate (12%) | DF | 0.89286 | 0.79719 | 0.71178 | 0.63552 | 0.56743 | 0.50663 | 0.45235 | 0.40388 | 0.36061 | 0.32197 | 0.28748 | 0.25668 | 0.22917 | 0.20462 | 0.1827 | 0.16312 | 0.14564 | 0.13004 | 0.11611 | 0.10367 | 0.09256 | 0.082643 | 0.073788 | 0.065882 | 0.058823 | 0.052521 | 0.046894 | 0.041869 | 0.037383 | 0.033378
| Present Values (lakh) | Total | Year 1: Year | Salvage
|  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
| Total Costs | 1681903.0693 | 1098.1494 | 64274.4647 | 63815.2159 | 34200.3716 | 801.8504 | 144021.7453 | 140164.02 | 136409.6266 | 128139.7919 | 114410.5285 | 102152.2576 | 91207.3729 | 81435.1543 | 72709.9592 | 64919.6065 | 57963.9343 | 51753.5128 | 46208.4936 | 41257.5835 | 36837.1282 | 32890.293 | 29366.333 | 26219.9402 | 23410.6609 | 20902.3758 | 18662.8355 | 16663.246 | 14877.8982 | 13283.8377 | 11860.5694
| Initial Investment Costs | 164190.0519 | 1098.1494 | 64274.4647 | 63815.2159 | 34200.3716 | 801.8504 | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | --
| Operating Costs (Operation & Maintenance Costs) | 1517728.705 | 0 | 0 | 0 | 0 | 0 | 144021.7453 | 140164.02 | 136409.6266 | 128139.7919 | 114410.5285 | 102152.2576 | 91207.3729 | 81435.1543 | 72709.9592 | 64919.6065 | 57963.9343 | 51753.5128 | 46208.4936 | 41257.5835 | 36837.1282 | 32890.293 | 29366.333 | 26219.9402 | 23410.6609 | 20902.3758 | 18662.8355 | 16663.246 | 14877.8982 | 13283.8377 | 11860.5694
| Salvage Value | -15.6876 | [30 empty] | -15.6876 | bar: Year 1 to Year 30
| Total Benefits | 1698025.0798 | 0 | 0 | 0 | 0 | 0 | 161130.5991 | 156814.6009 | 152614.2098 | 143361.9722 | 128001.7609 | 114287.2865 | 102042.2201 | 91109.1251 | 81347.4331 | 72631.6367 | 64849.6756 | 57901.4961 | 51697.7644 | 46158.7182 | 41213.1412 | 36797.4475 | 32854.8639 | 29334.6999 | 26191.6963 | 23385.4432 | 20879.86 | 18642.7321 | 16645.2965 | 14861.8719 | 13269.5285
| Net Benefits | 16122.0105 | -1098.1494 | -64274.4647 | -63815.2159 | -34200.3716 | -801.8504 | 17108.8538 | 16650.581 | 16204.5833 | 15222.1803 | 13591.2324 | 12135.0289 | 10834.8472 | 9673.9708 | 8637.4739 | 7712.0303 | 6885.7413 | 6147.9833 | 5489.2708 | 4901.1346 | 4376.0131 | 3907.1545 | 3488.5308 | 3114.7597 | 2781.0354 | 2483.0673 | 2217.0244 | 1979.4861 | 1767.3983 | 1578.0342 | 1424.6467
| FNPV | 16122.0105 | Year 1: (lakh); Year 2: 16122.0105
| FBCR | 1.0096 | Year 2: 1.0096
| FIRR | 13.05%
Note on AG9: [スレッド化されたコメント] 使用している Excel のバージョンでは、このスレッド化されたコメントを表示できますが、新しいバージョンの Excel でファイルを開いた場合はコメントに対する編集がすべて削除されます。詳細: https://go.microsoft.com/fwlink/?linkid=870924 コメント: Including salvage value
Note on AG20: [スレッド化されたコメント] 使用している Excel のバージョンでは、このスレッド化されたコメントを表示できますが、新しいバージョンの Excel でファイルを開いた場合はコメントに対する編集がすべて削除されます。詳細: https://go.microsoft.com/fwlink/?linkid=870924 コメント: Including salvage value

## 4b.FAnalysis
Cash Flows of Financial Costs and Benefits (Power Distribution)----Vertical format
| At Constant Prices/Before Discounting (lakh) | [8 empty] | Present Values (lakh)
|  |  | Total Costs | Initial Investment Costs | Operating Costs (Operation & Maintenance Costs) | Salvage Value | Total Benefits | Net Benefits | Financial Discount Rate (12%) |  |  | Total Costs | Initial Investment Costs | Operating Costs (Operation & Maintenance Costs) | Salvage Value | Total Benefits | Net Benefits
| Total |  | 8975664.4437 | 226739.6805 | 8749394.7632 | -470 | 9788766.3927 | 813101.9489 | DF | Total |  | 1681903.0693 | 164190.0519 | 1517728.705 | -15.6876 | 1698025.0798 | 16122.0105
| Year | 1 | 1229.9273 | 1229.9273 | 0 | -- | 0 | -1229.9273 | 0.89286 | Year | 1 | 1098.1494 | 1098.1494 | 0 | -- | 0 | -1098.1494
|  | 2 | 80625.8885 | 80625.8885 | 0 | -- | 0 | -80625.8885 | 0.79719 |  | 2 | 64274.4647 | 64274.4647 | 0 | -- | 0 | -64274.4647
|  | 3 | 89655.7836 | 89655.7836 | 0 | -- | 0 | -89655.7836 | 0.71178 |  | 3 | 63815.2159 | 63815.2159 | 0 | -- | 0 | -63815.2159
|  | 4 | 53814.9468 | 53814.9468 | 0 | -- | 0 | -53814.9468 | 0.63552 |  | 4 | 34200.3716 | 34200.3716 | 0 | -- | 0 | -34200.3716
|  | 5 | 1413.1344 | 1413.1344 | 0 | -- | 0 | -1413.1344 | 0.56743 |  | 5 | 801.8504 | 801.8504 | 0 | -- | 0 | -801.8504
|  | 6 | 284273.388 | -- | 284273.388 | -- | 318043.2318 | 33769.8438 | 0.50663 |  | 6 | 144021.7453 | -- | 144021.7453 | -- | 161130.5991 | 17108.8538
|  | 7 | 309857.9929 | -- | 309857.9929 | -- | 346667.1227 | 36809.1297 | 0.45235 |  | 7 | 140164.02 | -- | 140164.02 | -- | 156814.6009 | 16650.581
|  | 8 | 337745.2123 | -- | 337745.2123 | -- | 377867.1637 | 40121.9514 | 0.40388 |  | 8 | 136409.6266 | -- | 136409.6266 | -- | 152614.2098 | 16204.5833
|  | 9 | 355341.735 | -- | 355341.735 | -- | 397554.0397 | 42212.3048 | 0.36061 |  | 9 | 128139.7919 | -- | 128139.7919 | -- | 143361.9722 | 15222.1803
|  | 10 | 355341.735 | -- | 355341.735 | -- | 397554.0397 | 42212.3048 | 0.32197 |  | 10 | 114410.5285 | -- | 114410.5285 | -- | 128001.7609 | 13591.2324
|  | 11 | 355341.735 | -- | 355341.735 | -- | 397554.0397 | 42212.3048 | 0.28748 |  | 11 | 102152.2576 | -- | 102152.2576 | -- | 114287.2865 | 12135.0289
|  | 12 | 355341.735 | -- | 355341.735 | -- | 397554.0397 | 42212.3048 | 0.25668 |  | 12 | 91207.3729 | -- | 91207.3729 | -- | 102042.2201 | 10834.8472
|  | 13 | 355341.735 | -- | 355341.735 | -- | 397554.0397 | 42212.3048 | 0.22917 |  | 13 | 81435.1543 | -- | 81435.1543 | -- | 91109.1251 | 9673.9708
|  | 14 | 355341.735 | -- | 355341.735 | -- | 397554.0397 | 42212.3048 | 0.20462 |  | 14 | 72709.9592 | -- | 72709.9592 | -- | 81347.4331 | 8637.4739
|  | 15 | 355341.735 | -- | 355341.735 | -- | 397554.0397 | 42212.3048 | 0.1827 |  | 15 | 64919.6065 | -- | 64919.6065 | -- | 72631.6367 | 7712.0303
|  | 16 | 355341.735 | -- | 355341.735 | -- | 397554.0397 | 42212.3048 | 0.16312 |  | 16 | 57963.9343 | -- | 57963.9343 | -- | 64849.6756 | 6885.7413
|  | 17 | 355341.735 | -- | 355341.735 | -- | 397554.0397 | 42212.3048 | 0.14564 |  | 17 | 51753.5128 | -- | 51753.5128 | -- | 57901.4961 | 6147.9833
|  | 18 | 355341.735 | -- | 355341.735 | -- | 397554.0397 | 42212.3048 | 0.13004 |  | 18 | 46208.4936 | -- | 46208.4936 | -- | 51697.7644 | 5489.2708
|  | 19 | 355341.735 | -- | 355341.735 | -- | 397554.0397 | 42212.3048 | 0.11611 |  | 19 | 41257.5835 | -- | 41257.5835 | -- | 46158.7182 | 4901.1346
|  | 20 | 355341.735 | -- | 355341.735 | -- | 397554.0397 | 42212.3048 | 0.10367 |  | 20 | 36837.1282 | -- | 36837.1282 | -- | 41213.1412 | 4376.0131
|  | 21 | 355341.735 | -- | 355341.735 | -- | 397554.0397 | 42212.3048 | 0.09256 |  | 21 | 32890.293 | -- | 32890.293 | -- | 36797.4475 | 3907.1545
|  | 22 | 355341.735 | -- | 355341.735 | -- | 397554.0397 | 42212.3048 | 0.082643 |  | 22 | 29366.333 | -- | 29366.333 | -- | 32854.8639 | 3488.5308
|  | 23 | 355341.735 | -- | 355341.735 | -- | 397554.0397 | 42212.3048 | 0.073788 |  | 23 | 26219.9402 | -- | 26219.9402 | -- | 29334.6999 | 3114.7597
|  | 24 | 355341.735 | -- | 355341.735 | -- | 397554.0397 | 42212.3048 | 0.065882 |  | 24 | 23410.6609 | -- | 23410.6609 | -- | 26191.6963 | 2781.0354
|  | 25 | 355341.735 | -- | 355341.735 | -- | 397554.0397 | 42212.3048 | 0.058823 |  | 25 | 20902.3758 | -- | 20902.3758 | -- | 23385.4432 | 2483.0673
|  | 26 | 355341.735 | -- | 355341.735 | -- | 397554.0397 | 42212.3048 | 0.052521 |  | 26 | 18662.8355 | -- | 18662.8355 | -- | 20879.86 | 2217.0244
|  | 27 | 355341.735 | -- | 355341.735 | -- | 397554.0397 | 42212.3048 | 0.046894 |  | 27 | 16663.246 | -- | 16663.246 | -- | 18642.7321 | 1979.4861
|  | 28 | 355341.735 | -- | 355341.735 | -- | 397554.0397 | 42212.3048 | 0.041869 |  | 28 | 14877.8982 | -- | 14877.8982 | -- | 16645.2965 | 1767.3983
|  | 29 | 355341.735 | -- | 355341.735 | -- | 397554.0397 | 42212.3048 | 0.037383 |  | 29 | 13283.8377 | -- | 13283.8377 | -- | 14861.8719 | 1578.0342
|  | 30 | 355341.735 | -- | 355341.735 | -- | 397554.0397 | 42682.3048 | 0.033378 |  | 30 | 11860.5694 | -- | 11860.5694 | -- | 13269.5285 | 1424.6467
| Salvage |  |  |  |  | -470 |  |  |  | Salvage |  |  |  |  | -15.6876
|  |  | FNPV | 16122.0105 | (lakh)
|  |  | FBCR | 1.0096
|  |  | FIRR | 13.05%
Note on I34: [スレッド化されたコメント] 使用している Excel のバージョンでは、このスレッド化されたコメントを表示できますが、新しいバージョンの Excel でファイルを開いた場合はコメントに対する編集がすべて削除されます。詳細: https://go.microsoft.com/fwlink/?linkid=870924 コメント: Including salvage value
Note on T34: [スレッド化されたコメント] 使用している Excel のバージョンでは、このスレッド化されたコメントを表示できますが、新しいバージョンの Excel でファイルを開いた場合はコメントに対する編集がすべて削除されます。詳細: https://go.microsoft.com/fwlink/?linkid=870924 コメント: Including salvage value

## 5.ECosts
Economic Costs (Power Distribution)
Conversion Factor
| Shadow Price Factor (SPF) [=1/Conversion Factor for Traded Goods] | 0.86957
| Shadow Wage Rate Factor (SWRF) [=1/Conversion Factor for Unskilled Labor] | 0.68966
| Financial Costs |  |  |  |  | Economic Costs
| Item | Local Currency (BDT) | Foreign Currency (USD) | Total (BDT) | ➡ | Item | Local Currency (BDT) | Foreign Currency (USD) | Total (BDT)
| Materials & Equipment Costs | 0 | 0 | 0 |  | Materials & Equipment Costs [=LC*SPF+FC*(Exchange Rate)] | 0 | 0 | 0
| Labor Costs | 0 | 0 | 0 |  | Labor Costs | 0 | 0 | 0
| Skilled Workers | 0 | 0 | 0 |  | Skilled Workers [=LC*SPF+FC*(Exchange Rate)] | 0 | 0 | 0
| Unskilled Workers | 0 | 0 | 0 |  | Unskilled Workers [=LC*SWRF+FC*(Exchange Rate)] | 0 | 0 | 0
| Land Acquisition/Compensation Costs | 0 | 0 | 0 |  | Land Acquisition/Compensation Costs [=LC*SPF+FC*(Exchange Rate)] | 0 | 0 | 0
| Consultant Costs | 0 | 0 | 0 |  | Consultant Costs [=LC*SPF+FC*(Exchange Rate)] | 0 | 0 | 0
| General/Administrative Costs (Overhead Costs) | 0 | 0 | 0 |  | General/Administrative Costs (Overhead Costs) [=LC*SPF+FC*(Exchange Rate)] | 0 | 0 | 0
| Taxes, Subsidies (Transfers) | 0 | 0 | 0 |  | Taxes, Subsidies (Transfers) | -- | -- | --
| Base Costs (w/o Contingencies) | 0 | 0 | 0 |  | Base Costs (w/o Contingencies) - Transfers | 0 | 0 | 0
| Physical Contingency (2%) | 0 | 0 | 0 |  | Physical Contingency [=LC*SPF+FC*(Exchange Rate)] | 0 | 0 | 0
| Price Contingency, Local currency (5%) / Foreign currency (5%) | 0 | 0 | 0 |  | Price Contingency | -- | -- | --
| Total Initial Investment Costs (w/ Contingencies) | 0 | 0 | 0 |  | Total Initial Investment Costs (w/ Contingencies) | -- | -- | --
| Total Initial Investment Costs (BC + Physical Contingency) | 0 | 0 | 0 |  | Total Initial Investment Costs (BC + Physical Contingency) - Transfers | 0 | 0 | 0 | (lakh)
| Cost Data | LC | FC | Total |  | Cost Data | LC | FC | Total
| Taxes, Subsidies (Transfers) | 0 | 0 | 0 |  | Taxes, Subsidies (Transfers) | -- | -- | --
| Base Costs (w/o Contingencies) | 222293.8045 | 0 | 222293.8045 |  | Base Costs (w/o Contingencies) - Transfers | 193298.9604 | 0 | 193298.9604
| Physical Contingency | 4445.8761 | 0 | 4445.8761 |  | Physical Contingency | 3865.9792 | 0 | 3865.9792
| Price Contingency | 11114.6902 | 0 | 11114.6902 |  | Price Contingency | -- | -- | --
| Total Initial Investment Costs (w/ Contingencies) | 237854.3708 | 0 | 237854.3708 |  | Total Initial Investment Costs (w/ Contingencies) | -- | -- | --
| Total Initial Investment Costs (BC + Physical Contingency) | 226739.6805 | 0 | 226739.6805 |  | Total Initial Investment Costs (BC + Physical Contingency) - Transfers | 197164.9396 | 0 | 197164.9396 | (lakh)
[7 empty] | 1 | 2 | 3 | 4 | 5 | Total
[6 empty] | Annual Initial Investment Breakdowns during Construction (%) | 0.5424% | 35.56% | 39.54% | 23.73% | 0.6232% | 100%
[6 empty] | Annual Initial Investment Costs (BDT) | 1069.502 | 70109.4683 | 77961.551 | 46795.6059 | 1228.8125 | 197164.9396
| Financial Costs |  |  |  |  | Economic Costs
| Item |  |  |  | ➡ | Item
| Salvage Value of Investment | 470 |  |  |  | Salvage Value of Investment [=TC*SPF] | 408.6957 | (lakh)
| Financial Costs |  |  |  |  | Economic Costs
| Item | Local Currency (BDT) | Foreign Currency (USD) | Total (BDT) | ➡ | Item | Local Currency (BDT) | Foreign Currency (USD) | Total (BDT)
| Input Purchase (e.g., electricity purchase, wheeling charge) | 351823.5 | 0 | 351823.5 |  | Input Purchase [=LC*SPF+FC*(Exchange Rate)] | 305933.4783 | 0 | 305933.4783
| Spares & Maintenance | 3518.235 | 0 | 3518.235 |  | Spares & Maintenance [=LC*SPF+FC*(Exchange Rate)] | 3059.3348 | 0 | 3059.3348
| Labor Costs | 0 | 0 | 0 |  | Labor Costs | 0 | 0 | 0
| Skilled Workers | 0 | 0 | 0 |  | Skilled Workers [=LC*SPF+FC*(Exchange Rate)] | 0 | 0 | 0
| Unskilled Workers | 0 | 0 | 0 |  | Unskilled Workers [=LC*SWRF+FC*(Exchange Rate)] | 0 | 0 | 0
| Insurance | 0 | 0 | 0 |  | Insurance [=LC*SPF+FC*(Exchange Rate)] | 0 | 0 | 0
| General/Administrative Costs (Overhead Costs) | 0 | 0 | 0 |  | General/Administrative Costs (Overhead Costs) [=LC*SPF+FC*(Exchange Rate)] | 0 | 0 | 0
| Annual Operating Costs (Operation & Maintenance Costs) | 355341.735 | 0 | 355341.735 |  | Annual Operating Costs (Operation & Maintenance Costs) | 308992.813 | 0 | 308992.813 | (lakh)
[7 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
[6 empty] | Annual Operating Costs after Construction (cumulative %) | 0% | 0% | 0% | 0% | 0% | 80% | 87.2% | 95.05% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
[6 empty] | Annual Operating Costs after Construction (BDT) | 0 | 0 | 0 | 0 | 0 | 247194.2504 | 269441.733 | 293691.4889 | 308992.813 | 308992.813 | 308992.813 | 308992.813 | 308992.813 | 308992.813 | 308992.813 | 308992.813 | 308992.813 | 308992.813 | 308992.813 | 308992.813 | 308992.813 | 308992.813 | 308992.813 | 308992.813 | 308992.813 | 308992.813 | 308992.813 | 308992.813 | 308992.813 | 308992.813

## 6.EBenefits
Economic Benefits (Power Distribution)
Incremental Outputs
Item
|  |  |  | Additional Supply of Electricity to Meet Demand per year (a) | 4938559.5
|  |  |  | Average Sales Rate per kWh (b) | 8.05
|  |  |  | Cost of Electricity Produced Privately per kWh (c) | 12
|  |  |  | Total Annual Incremental Outputs [=0.5*a*(c-b)] | 97536.5501 | (lakh)
|  |  |  | Indirect Benefits Attributable to Generation/Transmission (66.7%) | 65024.3667
|  |  |  | Annual Incremental Outputs Attributable to Distribution | 32512.1834 | (lakh)
[5 empty] | 1 | 2 | 3 | 4 | 5
|  |  |  | Annual Incremental Outputs during Construction (cumulative %) | 0% | 0% | 0% | 0% | 0%
|  |  |  | Annual Incremental Outputs during Construction (BDT), if any | 0 | 0 | 0 | 0 | 0
[5 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
|  |  |  | Annual Incremental Outputs after Construction (cumulative %) | [5 empty] | 80% | 87.2% | 95.05% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
|  |  |  | Annual Incremental Outputs after Construction (BDT) | n/a | n/a | n/a | n/a | n/a | 26009.7467 | 28350.6239 | 30902.1801 | 32512.1834 | 32512.1834 | 32512.1834 | 32512.1834 | 32512.1834 | 32512.1834 | 32512.1834 | 32512.1834 | 32512.1834 | 32512.1834 | 32512.1834 | 32512.1834 | 32512.1834 | 32512.1834 | 32512.1834 | 32512.1834 | 32512.1834 | 32512.1834 | 32512.1834 | 32512.1834 | 32512.1834 | 32512.1834
Non-incremental Outputs
Item
|  |  |  | Average Sales Rate per kWh (b) | 0 1: 8.05
|  |  |  | Cost of Electricity Produced Privately per kWh (c) | 0 1: 12
|  |  |  | Existing Customers (d) | 0 1: 100000
|  |  |  | Reduction in Load Shedding per year (e) | 0 1: 73
|  |  |  | Total Annual Cost Savings (Reliability Benefits) [=(c-b)*d*e] | 0 1: 288.35; 0 2: (lakh)
|  |  |  | Indirect Benefits Attributable to Generation/Transmission (66.7%) | 0 1: 192.2333
|  |  |  | Annual Non-Incremental Outputs Attributable to Distribution | 0 1: 96.1167; 0 2: (lakh)
[5 empty] | 1 | 2 | 3 | 4 | 5
Annual Cost Savings during Construction (cumulative %) | bar: 0 1 to 0 5
|  |  |  | Annual Cost Savings during Construction (BDT), if any | 0 1: 0; 0 2: 0; 0 3: 0; 0 4: 0; 0 5: 0
[5 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
|  |  |  | Annual Cost Savings after Costruction (cumulative %) | [5 empty] | 80% | 87.2% | 95.05% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
|  |  |  | Annual Cost Savings after Construction (BDT) | n/a | n/a | n/a | n/a | n/a | 76.8933 | 83.8137 | 91.357 | 96.1167 | 96.1167 | 96.1167 | 96.1167 | 96.1167 | 96.1167 | 96.1167 | 96.1167 | 96.1167 | 96.1167 | 96.1167 | 96.1167 | 96.1167 | 96.1167 | 96.1167 | 96.1167 | 96.1167 | 96.1167 | 96.1167 | 96.1167 | 96.1167 | 96.1167
Conversion Factor
| Shadow Price Factor (SPF) [=1/Conversion Factor for Traded Goods] | 0.86957
| Shadow Wage Rate Factor (SWRF) [=1/Conversion Factor for Unskilled Labor] | 0.68966
| Financial Benefits/Revenues |  |  | Economic Benefits/Revenues
| Item |  | ➡ | Item
| Revenue Source I |  |  | Revenue Source I
| Additional Supply of Electricity to Meet Demand per year | 4938559.5 |  | Additional Supply of Electricity to Meet Demand per year
| Average Sales Rate per kWh | 8.05 |  | Average Sales Rate per kWh
| Revenue Source II |  |  | Revenue Source II
| Additional Supply of Electricity to Meet Demand per year |  |  | Additional Supply of Electricity to Meet Demand per year
| Average Sales Rate per kWh |  |  | Average Sales Rate per kWh
| Revenue Source III |  |  | Revenue Source III
| Additional Supply of Electricity to Meet Demand per year |  |  | Additional Supply of Electricity to Meet Demand per year
| Average Sales Rate per kWh |  |  | Average Sales Rate per kWh
| Annual Revenues | 397554.0397 | (lakh) | Annual Revenues [=LC*SPF] | 0 1: 345699.165; 0 2: (lakh)
[5 empty] | 1 | 2 | 3 | 4 | 5
Annual Revenue Generation during Construction (cumulative %) | bar: 0 1 to 0 5
|  |  |  | Annual Revenues during Construction (BDT), if any | 0 1: 0; 0 2: 0; 0 3: 0; 0 4: 0; 0 5: 0
[5 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
|  |  |  | Annual Revenue Generation after Construction (cumulative %) | [5 empty] | 80% | 87.2% | 95.05% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
|  |  |  | Annual Revenues after Construction (BDT) | n/a | n/a | n/a | n/a | n/a | 276559.332 | 301449.6719 | 328580.1423 | 345699.165 | 345699.165 | 345699.165 | 345699.165 | 345699.165 | 345699.165 | 345699.165 | 345699.165 | 345699.165 | 345699.165 | 345699.165 | 345699.165 | 345699.165 | 345699.165 | 345699.165 | 345699.165 | 345699.165 | 345699.165 | 345699.165 | 345699.165 | 345699.165 | 345699.165

## 7a.EAnalysis
Cash Flows of Economic Costs and Benefits (Power Distribution)----Horizontal format
| At Constant Prices/Before Discounting (lakh) | Total | Year | [29 empty] | Salvage
|  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
| Total Costs | 7804925.6033 | 1069.502 | 70109.4683 | 77961.551 | 46795.6059 | 1228.8125 | 247194.2504 | 269441.733 | 293691.4889 | 308992.813 | 308992.813 | 308992.813 | 308992.813 | 308992.813 | 308992.813 | 308992.813 | 308992.813 | 308992.813 | 308992.813 | 308992.813 | 308992.813 | 308992.813 | 308992.813 | 308992.813 | 308992.813 | 308992.813 | 308992.813 | 308992.813 | 308992.813 | 308992.813 | 308992.813
| Initial Investment Costs | 197164.9396 | 1069.502 | 70109.4683 | 77961.551 | 46795.6059 | 1228.8125 | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | --
| Operating Costs (Operation & Maintenance Costs) | 7608169.3593 | 0 | 0 | 0 | 0 | 0 | 247194.2504 | 269441.733 | 293691.4889 | 308992.813 | 308992.813 | 308992.813 | 308992.813 | 308992.813 | 308992.813 | 308992.813 | 308992.813 | 308992.813 | 308992.813 | 308992.813 | 308992.813 | 308992.813 | 308992.813 | 308992.813 | 308992.813 | 308992.813 | 308992.813 | 308992.813 | 308992.813 | 308992.813 | 308992.813
| Salvage Value | -408.6957 | [30 empty] | -408.6957 | bar: Year 1 to Year 30
| Total Benefits | 9314867.9918 | 0 | 0 | 0 | 0 | 0 | 302645.972 | 329884.1095 | 359573.6794 | 378307.465 | 378307.465 | 378307.465 | 378307.465 | 378307.465 | 378307.465 | 378307.465 | 378307.465 | 378307.465 | 378307.465 | 378307.465 | 378307.465 | 378307.465 | 378307.465 | 378307.465 | 378307.465 | 378307.465 | 378307.465 | 378307.465 | 378307.465 | 378307.465 | 378307.465
| Economic Benefits/Revenues | 8511970.7762 | 0 | 0 | 0 | 0 | 0 | 276559.332 | 301449.6719 | 328580.1423 | 345699.165 | 345699.165 | 345699.165 | 345699.165 | 345699.165 | 345699.165 | 345699.165 | 345699.165 | 345699.165 | 345699.165 | 345699.165 | 345699.165 | 345699.165 | 345699.165 | 345699.165 | 345699.165 | 345699.165 | 345699.165 | 345699.165 | 345699.165 | 345699.165 | 345699.165
| Incremental Outputs | 800530.5849 | 0 | 0 | 0 | 0 | 0 | 26009.7467 | 28350.6239 | 30902.1801 | 32512.1834 | 32512.1834 | 32512.1834 | 32512.1834 | 32512.1834 | 32512.1834 | 32512.1834 | 32512.1834 | 32512.1834 | 32512.1834 | 32512.1834 | 32512.1834 | 32512.1834 | 32512.1834 | 32512.1834 | 32512.1834 | 32512.1834 | 32512.1834 | 32512.1834 | 32512.1834 | 32512.1834 | 32512.1834
| Non-incremental Outputs (Cost Savings) | 2366.6307 | 0 | 0 | 0 | 0 | 0 | 76.8933 | 83.8137 | 91.357 | 96.1167 | 96.1167 | 96.1167 | 96.1167 | 96.1167 | 96.1167 | 96.1167 | 96.1167 | 96.1167 | 96.1167 | 96.1167 | 96.1167 | 96.1167 | 96.1167 | 96.1167 | 96.1167 | 96.1167 | 96.1167 | 96.1167 | 96.1167 | 96.1167 | 96.1167
| Net Benefits | 1509942.3886 | -1069.502 | -70109.4683 | -77961.551 | -46795.6059 | -1228.8125 | 55451.7216 | 60442.3765 | 65882.1904 | 69314.652 | 69314.652 | 69314.652 | 69314.652 | 69314.652 | 69314.652 | 69314.652 | 69314.652 | 69314.652 | 69314.652 | 69314.652 | 69314.652 | 69314.652 | 69314.652 | 69314.652 | 69314.652 | 69314.652 | 69314.652 | 69314.652 | 69314.652 | 69314.652 | 69723.3477
| Economic Discount Rate (12%) | DF | 0.89286 | 0.79719 | 0.71178 | 0.63552 | 0.56743 | 0.50663 | 0.45235 | 0.40388 | 0.36061 | 0.32197 | 0.28748 | 0.25668 | 0.22917 | 0.20462 | 0.1827 | 0.16312 | 0.14564 | 0.13004 | 0.11611 | 0.10367 | 0.09256 | 0.082643 | 0.073788 | 0.065882 | 0.058823 | 0.052521 | 0.046894 | 0.041869 | 0.037383 | 0.033378
| Present Values (lakh) | Total | Year 1: Year | Salvage
|  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
| Total Costs | 1462524.4081 | 954.9125 | 55890.8389 | 55491.4921 | 29739.4535 | 697.2612 | 125236.3002 | 121881.7565 | 118617.0666 | 111425.906 | 99487.4161 | 88828.0501 | 79310.759 | 70813.1777 | 63226.0515 | 56451.8317 | 50403.4212 | 45003.0546 | 40181.2988 | 35876.1596 | 32032.2854 | 28600.2548 | 25535.9418 | 22799.948 | 20357.0964 | 18175.979 | 16228.5526 | 14489.7791 | 12937.3028 | 11551.1632 | 10313.5386
| Initial Investment Costs | 142773.9582 | 954.9125 | 55890.8389 | 55491.4921 | 29739.4535 | 697.2612 | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | --
| Operating Costs (Operation & Maintenance Costs) | 1319764.0913 | 0 | 0 | 0 | 0 | 0 | 125236.3002 | 121881.7565 | 118617.0666 | 111425.906 | 99487.4161 | 88828.0501 | 79310.759 | 70813.1777 | 63226.0515 | 56451.8317 | 50403.4212 | 45003.0546 | 40181.2988 | 35876.1596 | 32032.2854 | 28600.2548 | 25535.9418 | 22799.948 | 20357.0964 | 18175.979 | 16228.5526 | 14489.7791 | 12937.3028 | 11551.1632 | 10313.5386
| Salvage Value | -13.6414 | [30 empty] | -13.6414 | bar: Year 1 to Year 30
| Total Benefits | 1615819.4844 | 0 | 0 | 0 | 0 | 0 | 153329.8681 | 149222.8181 | 145225.7783 | 136421.4644 | 121804.8789 | 108754.3562 | 97102.1038 | 86698.3069 | 77409.2026 | 69115.3595 | 61710.1424 | 55098.3414 | 49194.9477 | 43924.0604 | 39217.9111 | 35015.9921 | 31264.2786 | 27914.5345 | 24923.6915 | 22253.296 | 19869.0143 | 17740.1913 | 15839.4565 | 14142.3719 | 12627.1178
| Financial Benefits/Revenues | 1476543.5477 | 0 | 0 | 0 | 0 | 0 | 140113.5644 | 136360.5225 | 132708.0085 | 124662.5845 | 111305.879 | 99380.2491 | 88732.3653 | 79225.3262 | 70736.8984 | 63157.945 | 56391.0223 | 50349.127 | 44954.5777 | 40138.0158 | 35837.5141 | 31997.7805 | 28569.4468 | 25508.4347 | 22775.3881 | 20335.168 | 18156.4 | 16211.0714 | 14474.1709 | 12923.3669 | 11538.7204
| Incremental Outputs | 138865.4051 | 0 | 0 | 0 | 0 | 0 | 13177.3471 | 12824.3825 | 12480.8722 | 11724.2193 | 10468.0529 | 9346.4758 | 8345.0677 | 7450.9533 | 6652.6369 | 5939.8543 | 5303.4414 | 4735.2155 | 4227.871 | 3774.8848 | 3370.4329 | 3009.3151 | 2686.8885 | 2399.0075 | 2141.971 | 1912.4741 | 1707.5662 | 1524.6127 | 1361.2613 | 1215.4119 | 1085.1892
| Non-incremental Outputs (Cost Savings) | 410.5316 | 0 | 0 | 0 | 0 | 0 | 38.9566 | 37.9131 | 36.8975 | 34.6606 | 30.947 | 27.6312 | 24.6708 | 22.0275 | 19.6674 | 17.5602 | 15.6787 | 13.9988 | 12.499 | 11.1598 | 9.9641 | 8.8965 | 7.9433 | 7.0923 | 6.3324 | 5.6539 | 5.0481 | 4.5073 | 4.0243 | 3.5932 | 3.2082
| Net Benefits | 153295.0763 | -954.9125 | -55890.8389 | -55491.4921 | -29739.4535 | -697.2612 | 28093.5679 | 27341.0616 | 26608.7117 | 24995.5584 | 22317.4628 | 19926.3061 | 17791.3447 | 15885.1292 | 14183.1511 | 12663.5278 | 11306.7212 | 10095.2868 | 9013.6489 | 8047.9008 | 7185.6257 | 6415.7373 | 5728.3369 | 5114.5865 | 4566.5951 | 4077.317 | 3640.4616 | 3250.4122 | 2902.1537 | 2591.2087 | 2327.2206
| ENPV | 153295.0763 | Year 1: (lakh); Year 2: 153295.0763
| EBCR | 1.1048 | Year 2: 1.1048
| EIRR | 21.47%
Note on AG12: [スレッド化されたコメント] 使用している Excel のバージョンでは、このスレッド化されたコメントを表示できますが、新しいバージョンの Excel でファイルを開いた場合はコメントに対する編集がすべて削除されます。詳細: https://go.microsoft.com/fwlink/?linkid=870924 コメント: Including salvage value
Note on AG26: [スレッド化されたコメント] 使用している Excel のバージョンでは、このスレッド化されたコメントを表示できますが、新しいバージョンの Excel でファイルを開いた場合はコメントに対する編集がすべて削除されます。詳細: https://go.microsoft.com/fwlink/?linkid=870924 コメント: Including salvage value

## 7b.EAnalysis
Cash Flows of Economic Costs and Benefits (Power Distribution)----Vertical format
| At Constant Prices/Before Discounting (lakh) | [11 empty] | Present Values (lakh)
|  |  | Total Costs | Initial Investment Costs | Operating Costs (Operation & Maintenance Costs) | Salvage Value | Total Benefits | Economic Benefits/Revenues | Incremental Outputs | Non-incremental Outputs (Cost Savings) | Net Benefits | Economic Discount Rate (12%) |  |  | Total Costs | Initial Investment Costs | Operating Costs (Operation & Maintenance Costs) | Salvage Value | Total Benefits | Financial Benefits/Revenues | Incremental Outputs | Non-incremental Outputs (Cost Savings) | Net Benefits
| Total |  | 7804925.6033 | 197164.9396 | 7608169.3593 | -408.6957 | 9314867.9918 | 8511970.7762 | 800530.5849 | 2366.6307 | 1509942.3886 | DF | Total |  | 1462524.4081 | 142773.9582 | 1319764.0913 | -13.6414 | 1615819.4844 | 1476543.5477 | 138865.4051 | 410.5316 | 153295.0763
| Year | 1 | 1069.502 | 1069.502 | 0 | -- | 0 | 0 | 0 | 0 | -1069.502 | 0.89286 | Year | 1 | 954.9125 | 954.9125 | 0 | -- | 0 | 0 | 0 | 0 | -954.9125
|  | 2 | 70109.4683 | 70109.4683 | 0 | -- | 0 | 0 | 0 | 0 | -70109.4683 | 0.79719 |  | 2 | 55890.8389 | 55890.8389 | 0 | -- | 0 | 0 | 0 | 0 | -55890.8389
|  | 3 | 77961.551 | 77961.551 | 0 | -- | 0 | 0 | 0 | 0 | -77961.551 | 0.71178 |  | 3 | 55491.4921 | 55491.4921 | 0 | -- | 0 | 0 | 0 | 0 | -55491.4921
|  | 4 | 46795.6059 | 46795.6059 | 0 | -- | 0 | 0 | 0 | 0 | -46795.6059 | 0.63552 |  | 4 | 29739.4535 | 29739.4535 | 0 | -- | 0 | 0 | 0 | 0 | -29739.4535
|  | 5 | 1228.8125 | 1228.8125 | 0 | -- | 0 | 0 | 0 | 0 | -1228.8125 | 0.56743 |  | 5 | 697.2612 | 697.2612 | 0 | -- | 0 | 0 | 0 | 0 | -697.2612
|  | 6 | 247194.2504 | -- | 247194.2504 | -- | 302645.972 | 276559.332 | 26009.7467 | 76.8933 | 55451.7216 | 0.50663 |  | 6 | 125236.3002 | -- | 125236.3002 | -- | 153329.8681 | 140113.5644 | 13177.3471 | 38.9566 | 28093.5679
|  | 7 | 269441.733 | -- | 269441.733 | -- | 329884.1095 | 301449.6719 | 28350.6239 | 83.8137 | 60442.3765 | 0.45235 |  | 7 | 121881.7565 | -- | 121881.7565 | -- | 149222.8181 | 136360.5225 | 12824.3825 | 37.9131 | 27341.0616
|  | 8 | 293691.4889 | -- | 293691.4889 | -- | 359573.6794 | 328580.1423 | 30902.1801 | 91.357 | 65882.1904 | 0.40388 |  | 8 | 118617.0666 | -- | 118617.0666 | -- | 145225.7783 | 132708.0085 | 12480.8722 | 36.8975 | 26608.7117
|  | 9 | 308992.813 | -- | 308992.813 | -- | 378307.465 | 345699.165 | 32512.1834 | 96.1167 | 69314.652 | 0.36061 |  | 9 | 111425.906 | -- | 111425.906 | -- | 136421.4644 | 124662.5845 | 11724.2193 | 34.6606 | 24995.5584
|  | 10 | 308992.813 | -- | 308992.813 | -- | 378307.465 | 345699.165 | 32512.1834 | 96.1167 | 69314.652 | 0.32197 |  | 10 | 99487.4161 | -- | 99487.4161 | -- | 121804.8789 | 111305.879 | 10468.0529 | 30.947 | 22317.4628
|  | 11 | 308992.813 | -- | 308992.813 | -- | 378307.465 | 345699.165 | 32512.1834 | 96.1167 | 69314.652 | 0.28748 |  | 11 | 88828.0501 | -- | 88828.0501 | -- | 108754.3562 | 99380.2491 | 9346.4758 | 27.6312 | 19926.3061
|  | 12 | 308992.813 | -- | 308992.813 | -- | 378307.465 | 345699.165 | 32512.1834 | 96.1167 | 69314.652 | 0.25668 |  | 12 | 79310.759 | -- | 79310.759 | -- | 97102.1038 | 88732.3653 | 8345.0677 | 24.6708 | 17791.3447
|  | 13 | 308992.813 | -- | 308992.813 | -- | 378307.465 | 345699.165 | 32512.1834 | 96.1167 | 69314.652 | 0.22917 |  | 13 | 70813.1777 | -- | 70813.1777 | -- | 86698.3069 | 79225.3262 | 7450.9533 | 22.0275 | 15885.1292
|  | 14 | 308992.813 | -- | 308992.813 | -- | 378307.465 | 345699.165 | 32512.1834 | 96.1167 | 69314.652 | 0.20462 |  | 14 | 63226.0515 | -- | 63226.0515 | -- | 77409.2026 | 70736.8984 | 6652.6369 | 19.6674 | 14183.1511
|  | 15 | 308992.813 | -- | 308992.813 | -- | 378307.465 | 345699.165 | 32512.1834 | 96.1167 | 69314.652 | 0.1827 |  | 15 | 56451.8317 | -- | 56451.8317 | -- | 69115.3595 | 63157.945 | 5939.8543 | 17.5602 | 12663.5278
|  | 16 | 308992.813 | -- | 308992.813 | -- | 378307.465 | 345699.165 | 32512.1834 | 96.1167 | 69314.652 | 0.16312 |  | 16 | 50403.4212 | -- | 50403.4212 | -- | 61710.1424 | 56391.0223 | 5303.4414 | 15.6787 | 11306.7212
|  | 17 | 308992.813 | -- | 308992.813 | -- | 378307.465 | 345699.165 | 32512.1834 | 96.1167 | 69314.652 | 0.14564 |  | 17 | 45003.0546 | -- | 45003.0546 | -- | 55098.3414 | 50349.127 | 4735.2155 | 13.9988 | 10095.2868
|  | 18 | 308992.813 | -- | 308992.813 | -- | 378307.465 | 345699.165 | 32512.1834 | 96.1167 | 69314.652 | 0.13004 |  | 18 | 40181.2988 | -- | 40181.2988 | -- | 49194.9477 | 44954.5777 | 4227.871 | 12.499 | 9013.6489
|  | 19 | 308992.813 | -- | 308992.813 | -- | 378307.465 | 345699.165 | 32512.1834 | 96.1167 | 69314.652 | 0.11611 |  | 19 | 35876.1596 | -- | 35876.1596 | -- | 43924.0604 | 40138.0158 | 3774.8848 | 11.1598 | 8047.9008
|  | 20 | 308992.813 | -- | 308992.813 | -- | 378307.465 | 345699.165 | 32512.1834 | 96.1167 | 69314.652 | 0.10367 |  | 20 | 32032.2854 | -- | 32032.2854 | -- | 39217.9111 | 35837.5141 | 3370.4329 | 9.9641 | 7185.6257
|  | 21 | 308992.813 | -- | 308992.813 | -- | 378307.465 | 345699.165 | 32512.1834 | 96.1167 | 69314.652 | 0.09256 |  | 21 | 28600.2548 | -- | 28600.2548 | -- | 35015.9921 | 31997.7805 | 3009.3151 | 8.8965 | 6415.7373
|  | 22 | 308992.813 | -- | 308992.813 | -- | 378307.465 | 345699.165 | 32512.1834 | 96.1167 | 69314.652 | 0.082643 |  | 22 | 25535.9418 | -- | 25535.9418 | -- | 31264.2786 | 28569.4468 | 2686.8885 | 7.9433 | 5728.3369
|  | 23 | 308992.813 | -- | 308992.813 | -- | 378307.465 | 345699.165 | 32512.1834 | 96.1167 | 69314.652 | 0.073788 |  | 23 | 22799.948 | -- | 22799.948 | -- | 27914.5345 | 25508.4347 | 2399.0075 | 7.0923 | 5114.5865
|  | 24 | 308992.813 | -- | 308992.813 | -- | 378307.465 | 345699.165 | 32512.1834 | 96.1167 | 69314.652 | 0.065882 |  | 24 | 20357.0964 | -- | 20357.0964 | -- | 24923.6915 | 22775.3881 | 2141.971 | 6.3324 | 4566.5951
|  | 25 | 308992.813 | -- | 308992.813 | -- | 378307.465 | 345699.165 | 32512.1834 | 96.1167 | 69314.652 | 0.058823 |  | 25 | 18175.979 | -- | 18175.979 | -- | 22253.296 | 20335.168 | 1912.4741 | 5.6539 | 4077.317
|  | 26 | 308992.813 | -- | 308992.813 | -- | 378307.465 | 345699.165 | 32512.1834 | 96.1167 | 69314.652 | 0.052521 |  | 26 | 16228.5526 | -- | 16228.5526 | -- | 19869.0143 | 18156.4 | 1707.5662 | 5.0481 | 3640.4616
|  | 27 | 308992.813 | -- | 308992.813 | -- | 378307.465 | 345699.165 | 32512.1834 | 96.1167 | 69314.652 | 0.046894 |  | 27 | 14489.7791 | -- | 14489.7791 | -- | 17740.1913 | 16211.0714 | 1524.6127 | 4.5073 | 3250.4122
|  | 28 | 308992.813 | -- | 308992.813 | -- | 378307.465 | 345699.165 | 32512.1834 | 96.1167 | 69314.652 | 0.041869 |  | 28 | 12937.3028 | -- | 12937.3028 | -- | 15839.4565 | 14474.1709 | 1361.2613 | 4.0243 | 2902.1537
|  | 29 | 308992.813 | -- | 308992.813 | -- | 378307.465 | 345699.165 | 32512.1834 | 96.1167 | 69314.652 | 0.037383 |  | 29 | 11551.1632 | -- | 11551.1632 | -- | 14142.3719 | 12923.3669 | 1215.4119 | 3.5932 | 2591.2087
|  | 30 | 308992.813 | -- | 308992.813 | -- | 378307.465 | 345699.165 | 32512.1834 | 96.1167 | 69723.3477 | 0.033378 |  | 30 | 10313.5386 | -- | 10313.5386 | -- | 12627.1178 | 11538.7204 | 1085.1892 | 3.2082 | 2327.2206
| Salvage |  |  |  |  | -408.6957 | [6 empty] | Salvage |  |  |  |  | -13.6414
|  |  | ENPV | 153295.0763 | (lakh)
|  |  | EBCR | 1.1048
|  |  | EIRR | 21.47%
Note on L34: [スレッド化されたコメント] 使用している Excel のバージョンでは、このスレッド化されたコメントを表示できますが、新しいバージョンの Excel でファイルを開いた場合はコメントに対する編集がすべて削除されます。詳細: https://go.microsoft.com/fwlink/?linkid=870924 コメント: Including salvage value
Note on Z34: [スレッド化されたコメント] 使用している Excel のバージョンでは、このスレッド化されたコメントを表示できますが、新しいバージョンの Excel でファイルを開いた場合はコメントに対する編集がすべて削除されます。詳細: https://go.microsoft.com/fwlink/?linkid=870924 コメント: Including salvage value

## 9.Results
Summary Results (Power Distribution)
| Indicator | Value
| (i) Financial Net Present Value (FNPV) | 16122.0105 | (lakh)
| (ii) Financial Benefit-Cost Ratio (FBCR) | 1.0096
| (iiI) Financial Internal Rate of Return (FIRR) | 13.05%
| (i) Economic Net Present Value (ENPV) | 153295.0763 | (lakh)
| (ii) Economic Benefit-Cost Ratio (EBCR) | 1.1048
| (iii) Economic Internal Rate of Return (EIRR) | 21.47%