## 0.Contents
Table of Contents (Power Transmission)
0.Contents --> Table of contents
| 1.Params --> Setting model parameters & project assumptions/variables | About the Sample Project
| Financial Analysis | The project is designed to ensure uninterrupted and reliable power transmission for some economic zones in Chattogram Division as well as for Bangabandhu Hi-Tech City in Gazipur and to meet the growing demand of electricity in the southern areas of Chattogram Division through the construction of new substations and expansion of transmission facilities (cf. the Appendix of the CBA Handbook).
2a.FCosts --> Identifying and quantifying financial costs (1)----DPP format
2b.FCosts --> Identifying and quantifying financial costs (2)----General format
3.FBenefits --> Identifying and quantifying financial benefits
4a.FAnalysis --> Constructing financial cash flow tables and estimating financial indicators (1)----Horizontal format
4b.FAnalysis --> Constructing financial cash flow tables and estimating financial indicators (2)----Vertical format
Economic Analysis
5.ECosts --> Identifying and quantifying economic costs
6.EBenefits --> Identifying and quantifying economic benefits
7a.EAnalysis --> Constructing economic cash flow tables and estimating economic indicators (1)----Horizontal format
7b.EAnalysis --> Constructing economic cash flow tables and estimating economic indicators (2)----Vertical format
8.Sensitivity --> Testing sensitivity of the results to parameters & assumptions
| 9.Results --> Summarizing the results of financial and economic analysis | passcode: p1234

## 1.Params_8.Sensitivity
Model Parameters (Power Transmission) |  |  |  |  | Project Assumptions/Variables (Power Transmission)
| Contingency |  |  |  |  | Project Life & Construction Period
| Physical Contingency | (%) | 2% | [default: 2.0%] |  | Project Life | (years) | 30 | [default: 30] | *(>=10 & <=30)
| Price Contingency, Local currency | (%) | 5% | [default: 5.0%] |  | Construction Period | (years) | 6 | [default: 5] | *(<=6)
| Price Contingency, Foreign currency (not used in this sample) | (%) | 5% | [default: 5.0%] |  | Capacity
[6 empty] | Incremental Load Flow/Total Capacity to be Increased | (MW/hour) | 1398.63 | [default: 1,398.63] | *1MW = 1,000kW
| Conversion Factor |  |  |  |  | Load Factor | (%) | 90% | [default: 90.0%] | *1,000MWh = million kWh
| Conversion Factor for Traded goods |  | 1.15 | [default: 1.15] |  | Gross Annual Energy (considering the Load Factor) | (mil.kWh/year) | 11026.7989
| Wage Conversion Factor for Unskilled Labor (not used in this sample) |  | 1.45 | [default: 1.45] |  | Transmission Loss | (%) | 2.77%
[6 empty] | Wheeled Energy/Additional Supply of Electricity to Meet Demand | (mil.kWh/year) | 10721.3566
| Discount Rate |  |  |  |  | Percent of Electricity Transmitted to Commercial Customers | (%) | 39.18% | [default: 39.18%]
| Financial Discount Rate | (%) | 12% | [default: 12.0%] |  | Price & Costs
| Economic (Social) Discount Rate | (%) | 12% | [default: 12.0%] |  | Wheeling Charge | (BDT/kWh) | 0.2791 | [default: 0.2791]
[6 empty] | Revenues from Wheeling Charge | (lakh) | 29923.3062
| Exchange Rate (not used in this sample) | (USD/BDT) | 100 | [default: 100] |  | Average Sales Rate for Residential | (BDT/kWh) | 7.49 | [default: 8.05]
[6 empty] | Average Sales Rate for Commercial | (BDT/kWh) | 9.8 | [default: 9.80]
| *Entering data in the beige-colored cells is required. |  |  |  |  | Cost of Electricity Produced Privately for Residential | (BDT/kWh) | 12 | [default: 12.00] | *choke price
[6 empty] | Cost of Electricity Produced Privately for Commercial | (BDT/kWh) | 12 | [default: 12.00] | *choke price
Service Improvement
[6 empty] | Existing Total Customers | (#) | 1332805 | [default: 1,332,805]
[6 empty] | Percent of Existing Total Customers who Benefit from Cost Savings | (%) | 1% | [default: 1.0%]
[6 empty] | Avg. Cost Savings per Customer | (BDT/year) | 1000 | [default: 1,000]
Allocation Benefits among Generation/Transmission/Distribution
[6 empty] | Percent of Indirect Benefits Attributable to the Project | (#) | 33.33% | [default: 33.3%]
Sensitivity Analysis (Power Transmission)
| Level of Total Benefis | (%) | 100% | [default: 100%] |  | Parameter/Assumption |  | Value | Financial Analysis |  |  | Economic Analysis
| Level of Total Costs | (%) | 100% | [default: 100%] |  |  |  |  | NPV | BCR | IRR | NPV | BCR | IRR
[6 empty] | Change in Total Benefits | (%) | 100% | 2330.259 | 1.0177 | 12.22% | 290903.2124 | 3.5388 | 34.32% | *Do not change the first row.
[8 empty] | 80% | -24489.5817 | 0.81415 | 9.607% | 209806.2317 | 2.8311 | 29.16%
[8 empty] | 90% | -11079.6613 | 0.91592 | 10.95% | 250354.7221 | 3.1849 | 31.81%
[8 empty] | 100% | 2330.259 | 1.0177 | 12.22% | 290903.2124 | 3.5388 | 34.32%
[8 empty] | 110% | 15740.1794 | 1.1195 | 13.42% | 331451.7028 | 3.8927 | 36.73%
[8 empty] | 120% | 29150.0997 | 1.2212 | 14.58% | 372000.1931 | 4.2466 | 39.03%
[6 empty] | Parameter/Assumption |  | Value | Financial Analysis |  |  | Economic Analysis
[9 empty] | NPV | BCR | IRR | NPV | BCR | IRR
[6 empty] | Change in Total Costs | (%) | 100% | 2330.259 | 1.0177 | 12.22% | 290903.2124 | 3.5388 | 34.32% | *Do not change the first row.
[8 empty] | 80% | 28684.0479 | 1.2721 | 15.14% | 313819.5506 | 4.4235 | 40.14%
[8 empty] | 90% | 15507.1535 | 1.1308 | 13.55% | 302361.3815 | 3.932 | 36.99%
[8 empty] | 100% | 2330.259 | 1.0177 | 12.22% | 290903.2124 | 3.5388 | 34.32%
[8 empty] | 110% | -10846.6354 | 0.92517 | 11.07% | 279445.0433 | 3.2171 | 32.04%
[8 empty] | 120% | -24023.5299 | 0.84807 | 10.06% | 267986.8742 | 2.949 | 30.06%
[6 empty] | Parameter/Assumption |  | Value | Financial Analysis |  |  | Economic Analysis
[9 empty] | NPV | BCR | IRR | NPV | BCR | IRR
[6 empty] | Incremental Load Flow/Total Capacity to be Increased | (MW/hour) | 1398.63 | 2330.259 | 1.0177 | 12.22% | 290903.2124 | 3.5388 | 34.32% | *Do not change the first row.
[8 empty] | 1118.904 | -24489.5817 | 0.81415 | 9.607% | 209846.0509 | 2.8314 | 29.16%
[8 empty] | 1258.767 | -11079.6613 | 0.91592 | 10.95% | 250374.6317 | 3.1851 | 31.81%
[8 empty] | 1398.63 | 2330.259 | 1.0177 | 12.22% | 290903.2124 | 3.5388 | 34.32%
[8 empty] | 1538.493 | 15740.1794 | 1.1195 | 13.42% | 331431.7932 | 3.8925 | 36.72%
[8 empty] | 1678.356 | 29150.0997 | 1.2212 | 14.58% | 371960.374 | 4.2462 | 39.02%
[6 empty] | Parameter/Assumption |  | Value | Financial Analysis |  |  | Economic Analysis
[9 empty] | NPV | BCR | IRR | NPV | BCR | IRR
[6 empty] | Percent of Electricity Transmitted to Commercial Customers | (%) | 39.18% | 2330.259 | 1.0177 | 12.22% | 290903.2124 | 3.5388 | 34.32% | *Do not change the first row.
[8 empty] | 30% | 2330.259 | 1.0177 | 12.22% | 307884.467 | 3.687 | 35.34%
[8 empty] | 35% | 2330.259 | 1.0177 | 12.22% | 298635.4177 | 3.6063 | 34.79%
[8 empty] | 39.18% | 2330.259 | 1.0177 | 12.22% | 290903.2124 | 3.5388 | 34.32%
[8 empty] | 45% | 2330.259 | 1.0177 | 12.22% | 280137.319 | 3.4449 | 33.67%
[8 empty] | 50% | 2330.259 | 1.0177 | 12.22% | 270888.2697 | 3.3641 | 33.1%
[6 empty] | Parameter/Assumption |  | Value | Financial Analysis |  |  | Economic Analysis
[9 empty] | NPV | BCR | IRR | NPV | BCR | IRR
[6 empty] | Wheeling Charge | (BDT/kWh) | 0.2791 | 2330.259 | 1.0177 | 12.22% | 290903.2124 | 3.5388 | 34.32% | *Do not change the first row.
[8 empty] | 0.25119 | -11079.6613 | 0.91592 | 10.95% | 279242.4121 | 3.4371 | 33.61%
[8 empty] | 0.26515 | -4374.7012 | 0.9668 | 11.59% | 285072.8123 | 3.4879 | 33.97%
[8 empty] | 0.2791 | 2330.259 | 1.0177 | 12.22% | 290903.2124 | 3.5388 | 34.32%
[8 empty] | 0.29306 | 9035.2192 | 1.0686 | 12.83% | 296733.6126 | 3.5897 | 34.68%
[8 empty] | 0.30701 | 15740.1794 | 1.1195 | 13.42% | 302564.0127 | 3.6406 | 35.03%
[6 empty] | Parameter/Assumption |  | Value | Financial Analysis |  |  | Economic Analysis
[9 empty] | NPV | BCR | IRR | NPV | BCR | IRR
[6 empty] | Average Sales Rate for Residential | (BDT/kWh) | 7.49 | 2330.259 | 1.0177 | 12.22% | 290903.2124 | 3.5388 | 34.32% | *Do not change the first row.
[8 empty] | 6.741 | 2330.259 | 1.0177 | 12.22% | 327382.2478 | 3.8572 | 36.49%
[8 empty] | 7.1155 | 2330.259 | 1.0177 | 12.22% | 309142.7301 | 3.698 | 35.42%
[8 empty] | 7.49 | 2330.259 | 1.0177 | 12.22% | 290903.2124 | 3.5388 | 34.32%
[8 empty] | 7.8645 | 2330.259 | 1.0177 | 12.22% | 272663.6947 | 3.3796 | 33.21%
[8 empty] | 8.239 | 2330.259 | 1.0177 | 12.22% | 254424.1771 | 3.2205 | 32.07%
[6 empty] | Parameter/Assumption |  | Value | Financial Analysis |  |  | Economic Analysis
[9 empty] | NPV | BCR | IRR | NPV | BCR | IRR
[6 empty] | Average Sales Rate for Commercial | (BDT/kWh) | 9.8 | 2330.259 | 1.0177 | 12.22% | 290903.2124 | 3.5388 | 34.32% | *Do not change the first row.
[8 empty] | 8.82 | 2330.259 | 1.0177 | 12.22% | 321650.4157 | 3.8072 | 36.15%
[8 empty] | 9.31 | 2330.259 | 1.0177 | 12.22% | 306276.8141 | 3.673 | 35.25%
[8 empty] | 9.8 | 2330.259 | 1.0177 | 12.22% | 290903.2124 | 3.5388 | 34.32%
[8 empty] | 10.29 | 2330.259 | 1.0177 | 12.22% | 275529.6108 | 3.4047 | 33.38%
[8 empty] | 10.78 | 2330.259 | 1.0177 | 12.22% | 260156.0091 | 3.2705 | 32.43%
[6 empty] | Parameter/Assumption |  | Value | Financial Analysis |  |  | Economic Analysis
[9 empty] | NPV | BCR | IRR | NPV | BCR | IRR
[6 empty] | Cost of Electricity Produced Privately for Residential | (BDT/kWh) | 12 | 2330.259 | 1.0177 | 12.22% | 290903.2124 | 3.5388 | 34.32% | *Do not change the first row.
[8 empty] | 10.8 | 2330.259 | 1.0177 | 12.22% | 232458.83 | 3.0288 | 30.66%
[8 empty] | 11.4 | 2330.259 | 1.0177 | 12.22% | 261681.0212 | 3.2838 | 32.52%
[8 empty] | 12 | 2330.259 | 1.0177 | 12.22% | 290903.2124 | 3.5388 | 34.32%
[8 empty] | 12.6 | 2330.259 | 1.0177 | 12.22% | 320125.4036 | 3.7939 | 36.07%
[8 empty] | 13.2 | 2330.259 | 1.0177 | 12.22% | 349347.5948 | 4.0489 | 37.75%
[6 empty] | Parameter/Assumption |  | Value | Financial Analysis |  |  | Economic Analysis
[9 empty] | NPV | BCR | IRR | NPV | BCR | IRR
[6 empty] | Cost of Electricity Produced Privately for Commercial | (BDT/kWh) | 12 | 2330.259 | 1.0177 | 12.22% | 290903.2124 | 3.5388 | 34.32% | *Do not change the first row.
[8 empty] | 10.8 | 2330.259 | 1.0177 | 12.22% | 253253.5757 | 3.2102 | 31.99%
[8 empty] | 11.4 | 2330.259 | 1.0177 | 12.22% | 272078.3941 | 3.3745 | 33.17%
[8 empty] | 12 | 2330.259 | 1.0177 | 12.22% | 290903.2124 | 3.5388 | 34.32%
[8 empty] | 12.6 | 2330.259 | 1.0177 | 12.22% | 309728.0308 | 3.7031 | 35.45%
[8 empty] | 13.2 | 2330.259 | 1.0177 | 12.22% | 328552.8491 | 3.8674 | 36.56%
[6 empty] | Parameter/Assumption |  | Value | Financial Analysis |  |  | Economic Analysis
[9 empty] | NPV | BCR | IRR | NPV | BCR | IRR
[6 empty] | Existing Total Customers | (#) | 1332805 | 2330.259 | 1.0177 | 12.22% | 290903.2124 | 3.5388 | 34.32% | *Do not change the first row.
[8 empty] | 1199524.5 | 2330.259 | 1.0177 | 12.22% | 290883.3029 | 3.5387 | 34.32%
[8 empty] | 1266164.75 | 2330.259 | 1.0177 | 12.22% | 290893.2576 | 3.5387 | 34.32%
[8 empty] | 1332805 | 2330.259 | 1.0177 | 12.22% | 290903.2124 | 3.5388 | 34.32%
[8 empty] | 1399445.25 | 2330.259 | 1.0177 | 12.22% | 290913.1672 | 3.5389 | 34.32%
[8 empty] | 1466085.5 | 2330.259 | 1.0177 | 12.22% | 290923.122 | 3.539 | 34.33%
[6 empty] | Parameter/Assumption |  | Value | Financial Analysis |  |  | Economic Analysis
[9 empty] | NPV | BCR | IRR | NPV | BCR | IRR
[6 empty] | Percent of Existing Total Customers who Benefit from Cost Savings | (%) | 1% | 2330.259 | 1.0177 | 12.22% | 290903.2124 | 3.5388 | 34.32% | *Do not change the first row.
[8 empty] | 1% | 2330.259 | 1.0177 | 12.22% | 290903.2124 | 3.5388 | 34.32%
[8 empty] | 3% | 2330.259 | 1.0177 | 12.22% | 291301.4039 | 3.5423 | 34.35%
[8 empty] | 5% | 2330.259 | 1.0177 | 12.22% | 291699.5954 | 3.5458 | 34.37%
[8 empty] | 10% | 2330.259 | 1.0177 | 12.22% | 292695.0741 | 3.5545 | 34.43%
[8 empty] | 20% | 2330.259 | 1.0177 | 12.22% | 294686.0316 | 3.5718 | 34.55%
[6 empty] | Parameter/Assumption |  | Value | Financial Analysis |  |  | Economic Analysis
[9 empty] | NPV | BCR | IRR | NPV | BCR | IRR
[6 empty] | Avg. Cost Savings per Customer | (BDT/year) | 1000 | 2330.259 | 1.0177 | 12.22% | 290903.2124 | 3.5388 | 34.32% | *Do not change the first row.
[8 empty] | 1000 | 2330.259 | 1.0177 | 12.22% | 290903.2124 | 3.5388 | 34.32%
[8 empty] | 2000 | 2330.259 | 1.0177 | 12.22% | 291102.3082 | 3.5406 | 34.34%
[8 empty] | 5000 | 2330.259 | 1.0177 | 12.22% | 291699.5954 | 3.5458 | 34.37%
[8 empty] | 7500 | 2330.259 | 1.0177 | 12.22% | 292197.3348 | 3.5501 | 34.4%
[8 empty] | 10000 | 2330.259 | 1.0177 | 12.22% | 292695.0741 | 3.5545 | 34.43%
[6 empty] | Parameter/Assumption |  | Value | Financial Analysis |  |  | Economic Analysis
[9 empty] | NPV | BCR | IRR | NPV | BCR | IRR
[6 empty] | Percent of Indirect Benefits Attributable to the Project | (#) | 33.33% | 2330.259 | 1.0177 | 12.22% | 290903.2124 | 3.5388 | 34.32% | *Do not change the first row.
[8 empty] | 10% | 2330.259 | 1.0177 | 12.22% | 88689.3823 | 1.774 | 20.22%
[8 empty] | 20% | 2330.259 | 1.0177 | 12.22% | 175352.4523 | 2.5304 | 26.79%
[8 empty] | 33.33% | 2330.259 | 1.0177 | 12.22% | 290903.2124 | 3.5388 | 34.32%
[8 empty] | 50% | 2330.259 | 1.0177 | 12.22% | 435341.6625 | 4.7994 | 42.44%
[8 empty] | 100% | 2330.259 | 1.0177 | 12.22% | 868657.0129 | 8.5811 | 61.83%
[6 empty] | Parameter/Assumption |  | Value | Financial Analysis |  |  | Economic Analysis
[9 empty] | NPV | BCR | IRR | NPV | BCR | IRR
[6 empty] | Financial Discount Rate | (%) | 12% | 2330.259 | 1.0177 | 12.22% | 290903.2124 | 3.5388 | 34.32% | *Do not change the first row.
[8 empty] | 8% | 67967.6416 | 1.453 | 12.22% | 290903.2124 | 3.5388 | 34.32%
[8 empty] | 10% | 29028.5175 | 1.2067 | 12.22% | 290903.2124 | 3.5388 | 34.32%
[8 empty] | 12% | 2330.259 | 1.0177 | 12.22% | 290903.2124 | 3.5388 | 34.32%
[8 empty] | 14% | -16108.8098 | 0.87005 | 12.22% | 290903.2124 | 3.5388 | 34.32%
[8 empty] | 16% | -28881.7412 | 0.75286 | 12.22% | 290903.2124 | 3.5388 | 34.32%
[6 empty] | Parameter/Assumption |  | Value | Financial Analysis |  |  | Economic Analysis
[9 empty] | NPV | BCR | IRR | NPV | BCR | IRR
[6 empty] | Economic (Social) Discount Rate | (%) | 12% | 2330.259 | 1.0177 | 12.22% | 290903.2124 | 3.5388 | 34.32% | *Do not change the first row.
[8 empty] | 8% | 2330.259 | 1.0177 | 12.22% | 528719.3367 | 5.0526 | 34.32%
[8 empty] | 10% | 2330.259 | 1.0177 | 12.22% | 390246.8651 | 4.1962 | 34.32%
[8 empty] | 12% | 2330.259 | 1.0177 | 12.22% | 290903.2124 | 3.5388 | 34.32%
[8 empty] | 14% | 2330.259 | 1.0177 | 12.22% | 218324.3165 | 3.0254 | 34.32%
[8 empty] | 16% | 2330.259 | 1.0177 | 12.22% | 164418.1143 | 2.6179 | 34.32%

## 2a.FCosts
Financial Costs (Power Transmission)----DPP format
| Detailed Estimated Cost | [13 empty] | (Taka in Lac)
| Economic Code | Economic Sub-code | Economic Sub-code Description (In Detail) | Unit | Unit Cost | Quantity | Total
[7 empty] | GOB (FE) | Project Aid |  |  |  | Own Fund (FE) | Others | Total | % of Total Project Cost
[8 empty] | RPA |  | DPA
[8 empty] | Through GOB | Special Account* | Through PD | Through DP
| (1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12) | (13) | (14) | (15)
(a) Revenue:
| Through DP (14): 0; Through DP (15): 0% | *There are two methods to enter data and calculate total initial investment costs. One way is to enter cost data directly into the 2b.FCosts sheet. The other way is to enter cost data into the 2a.FCosts sheet, which is based on the Detailed Estimated Cost form (Annexure V(a) of the DPP Manual). Choose either. Do not use both simultaneously.
[14 empty] | 0 | 0%
[14 empty] | 0 | 0%
| Sub total of Revenue | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0%
(b) Capital:
[14 empty] | 0 | 0%
|  | Taxes (Transfers) | [11 empty] | 0 | 0%
|  | Subsidies, negative costs (Transfers) | [11 empty] | 0 | 0%
| Sub total of Capital | [5 empty] | 187679.08 | 0 | 0 | 0 | 0 | 0 | 0 | 187679.08 | 93.46%
| (c) Physical Contingency (2%) | [5 empty] | 3753.5816 | 0 | 0 | 0 | 0 | 0 | 0 | 3753.5816 | 1.869%
| (d) Price Contingency (5%) | [5 empty] | 9383.954 | 0 | 0 | 0 | 0 | 0 | 0 | 9383.954 | 4.673%
| Total (a+b+c+d) | [5 empty] | 200816.6156 | 0 | 0 | 0 | 0 | 0 | 0 | 200816.6156 | 100%
* DOSA, CONTASA, SAFE, Imprest, etc.

## 2b.FCosts
Financial Costs (Power Transmission)----General format
| Item | Local Currency (BDT) |  |  | Foreign Currency (USD) | Total (BDT)
|  | GOB | Project Aid | Own Funds
| Materials & Equipment Costs | 0 | 0 | 0 | 0 | 0
| Labor Costs | 0 | 0 | 0 | 0 | 0
| Skilled Workers | 0 | 0 | 0 | 0 | 0
| Unskilled Workers | 0 | 0 | 0 | 0 | 0
| Land Acquisition/Compensation Costs | 0 | 0 | 0 | 0 | 0
| Consultant Costs | 0 | 0 | 0 | 0 | 0
| General/Administrative Costs (Overhead Costs) | 0 | 0 | 0 | 0 | 0
| Taxes, Subsidies (Transfers) | 0 | 0 | 0 | 0 | 0
| Base Costs (w/o Contingencies) | 0 | 0 | 0 | 0 | 0
| Physical Contingency (2%) | 0 | 0 | 0 | 0 | 0
| Price Contingency, Local currency (5%) / Foreign currency (5%) | 0 | 0 | 0 | 0 | 0
| Total Initial Investment Costs (w/ Contingencies) | 0 | 0 | 0 | 0 | 0
| Total Initial Investment Costs (BC + Physical Contingency) | 0 | 0 | 0 | 0 | 0 | (lakh)
| Data either from above Table or Detailed Estimated Cost (2a.FCosts)* | GOB | PA | OF | FC | Total |  | *There are two methods to enter data and calculate total initial investment costs. One way is to enter cost data directly into this 2b.FCosts sheet. The other way is to enter cost data into the 2a.FCosts sheet, which is based on the Detailed Estimated Cost form (Annexure V(a) of the DPP Manual). Choose either. Do not use both simultaneously.
| Taxes, Subsidies (Transfers) | 0 | 0 | 0 | 0 | 0
| Base Costs (w/o Contingencies) | 187679.08 | 0 | 0 | 0 | 187679.08
| Physical Contingency | 3753.5816 | 0 | 0 | 0 | 3753.5816
| Price Contingency | 9383.954 | 0 | 0 | 0 | 9383.954
| Total Initial Investment Costs (w/ Contingencies) | 200816.6156 | 0 | 0 | 0 | 200816.6156
| Total Initial Investment Costs (BC + Physical Contingency) | 191432.6616 | 0 | 0 | 0 | 191432.6616 | (lakh)
| Item | 1 | 2 | 3 | 4 | 5 | 6 | Total
| Annual Initial Investment Breakdowns during Construction (%) | 8.628% | 15.55% | 25.74% | 21.52% | 18.18% | 10.39% | 100% | (=100%)
| Annual Initial Investment Costs (BDT) | 16516.0091 | 29766.1626 | 49271.2468 | 41188.8908 | 34803.372 | 19886.9803 | 191432.6616 | (lakh)
|  | 1: (Discrepancy with Total Initial Investment Costs) | 0 | (=0)
Item
Investment I -- Buildings
| Costs of Fixed Investment | 1: 0
| Salvage (Residual) Value (%) | 1: 10%
Investment II -- Equipment (Overhead & underground line construction)
| Costs of Fixed Investment | 1: 0
| Salvage (Residual) Value (%) | 1: 10%
Investment III -- Land
| Costs of Fixed Investment | 1: 0
| Salvage (Residual) Value (%) | 1: 100%
| Salvage Value of Investment | 1: 0; 2: (lakh)
| Item | 1: Local Currency (BDT); 2: Foreign Currency (USD); 3: Total (BDT)
| Input Purchase (e.g., electricity purchase) | 1: 0; 2: 0; 3: 0
| Spares & Maintenance | 1: 0; 2: 0; 3: 0
| Labor Costs | 1: 0; 2: 0; 3: 0
| Skilled Workers | 1: 0; 2: 0; 3: 0
| Unskilled Workers | 1: 0; 2: 0; 3: 0
| Insurance | 1: 0; 2: 0; 3: 0
| General/Administrative Costs (Overhead Costs) | 1: 0; 2: 0; 3: 0
| Annual Operating Costs Estimated from a Similar Project | 496 | 0 | 496 | *The operating costs are taken from a similar type of the existing substation of PGCB.
| Annual Operating Costs (Operation & Maintenance Costs) | 496 | 0 | 496 | (lakh)
*It is assumed that the project would be partially operational during construction and the capacity utilization in years 4, 5 & 6 would be 21.42%, 25.70%, and 50.47%, respectively.
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
| Annual Operating Cost Levels after Construction (cumulative %) | 0% | 0% | 0% | 21.42% | 25.7% | 50.47% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
| Annual Operating Costs after Construction (BDT) | 0 | 0 | 0 | 106.2432 | 127.472 | 250.3312 | 496 | 496 | 496 | 496 | 496 | 496 | 496 | 496 | 496 | 496 | 496 | 496 | 496 | 496 | 496 | 496 | 496 | 496 | 496 | 496 | 496 | 496 | 496 | 496

## 3.FBenefits
Financial Benefits (Power Transmission)
Item
Revenue Source I
| Incremental Load Flow/Total Capacity to be Increased | 1398.63 | (MW/hour)
| Load Factor | 90% | (%)
| Gross Annual Energy (considering the Load Factor) | 11026.7989 | (mil.kWh/year)
| Transmission Loss | 2.77% | (%)
| Wheeled Energy/Additional Supply of Electricity to Meet Demand (a) | 10721.3566 | (mil.kWh/year)
| Wheeling Charge (b) | 0.2791 | (BDT/kWh)
| Revenues from Wheeling Charge (a)*(b) | 29923.3062 | (lakh)
Revenue Source II
Wheeled Energy/Additional Supply of Electricity to Meet Demand (a)
Wheeling Charge (b)
Revenues from Wheeling Charge (a)*(b)
Revenue Source III
Wheeled Energy/Additional Supply of Electricity to Meet Demand (a)
Wheeling Charge (b)
Revenues from Wheeling Charge (a)*(b)
| Annual Revenues | 29923.3062 | (lakh)
|  | 1 | 2 | 3 | 4 | 5 | 6
| Annual Revenue Generation during Construction (cumulative %) | 0% | 0% | 0% | 21.42% | 25.7% | 50.47%
| Annual Revenues during Construction (BDT), if any | 0 | 0 | 0 | 6409.5722 | 7690.2897 | 15102.2927
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
| Annual Revenue Generation after Construction (cumulative %) | [6 empty] | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
| Annual Revenues after Construction (BDT) | n/a | n/a | n/a | n/a | n/a | n/a | 29923.3062 | 29923.3062 | 29923.3062 | 29923.3062 | 29923.3062 | 29923.3062 | 29923.3062 | 29923.3062 | 29923.3062 | 29923.3062 | 29923.3062 | 29923.3062 | 29923.3062 | 29923.3062 | 29923.3062 | 29923.3062 | 29923.3062 | 29923.3062 | 29923.3062 | 29923.3062 | 29923.3062 | 29923.3062 | 29923.3062 | 29923.3062

## 4a.FAnalysis
Cash Flows of Financial Costs and Benefits (Power Transmission)----Horizontal format
| At Constant Prices/Before Discounting (lakh) | Total | Year | [29 empty] | Salvage
|  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
| Total Costs | 203820.708 | 16516.0091 | 29766.1626 | 49271.2468 | 41295.134 | 34930.844 | 20137.3115 | 496 | 496 | 496 | 496 | 496 | 496 | 496 | 496 | 496 | 496 | 496 | 496 | 496 | 496 | 496 | 496 | 496 | 496 | 496 | 496 | 496 | 496 | 496 | 496
| Initial Investment Costs | 191432.6616 | 16516.0091 | 29766.1626 | 49271.2468 | 41188.8908 | 34803.372 | 19886.9803 | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | --
| Operating Costs (Operation & Maintenance Costs) | 12388.0464 | 0 | 0 | 0 | 106.2432 | 127.472 | 250.3312 | 496 | 496 | 496 | 496 | 496 | 496 | 496 | 496 | 496 | 496 | 496 | 496 | 496 | 496 | 496 | 496 | 496 | 496 | 496 | 496 | 496 | 496 | 496 | 496
| Salvage Value | 0 | [30 empty] | 0 | bar: Year 1 to Year 30
| Total Benefits | 747361.5044 | 0 | 0 | 0 | 6409.5722 | 7690.2897 | 15102.2927 | 29923.3062 | 29923.3062 | 29923.3062 | 29923.3062 | 29923.3062 | 29923.3062 | 29923.3062 | 29923.3062 | 29923.3062 | 29923.3062 | 29923.3062 | 29923.3062 | 29923.3062 | 29923.3062 | 29923.3062 | 29923.3062 | 29923.3062 | 29923.3062 | 29923.3062 | 29923.3062 | 29923.3062 | 29923.3062 | 29923.3062 | 29923.3062
| Net Benefits | 543540.7964 | -16516.0091 | -29766.1626 | -49271.2468 | -34885.5618 | -27240.5543 | -5035.0189 | 29427.3062 | 29427.3062 | 29427.3062 | 29427.3062 | 29427.3062 | 29427.3062 | 29427.3062 | 29427.3062 | 29427.3062 | 29427.3062 | 29427.3062 | 29427.3062 | 29427.3062 | 29427.3062 | 29427.3062 | 29427.3062 | 29427.3062 | 29427.3062 | 29427.3062 | 29427.3062 | 29427.3062 | 29427.3062 | 29427.3062 | 29427.3062
| Financial Discount Rate (12%) | DF | 0.89286 | 0.79719 | 0.71178 | 0.63552 | 0.56743 | 0.50663 | 0.45235 | 0.40388 | 0.36061 | 0.32197 | 0.28748 | 0.25668 | 0.22917 | 0.20462 | 0.1827 | 0.16312 | 0.14564 | 0.13004 | 0.11611 | 0.10367 | 0.09256 | 0.082643 | 0.073788 | 0.065882 | 0.058823 | 0.052521 | 0.046894 | 0.041869 | 0.037383 | 0.033378
| Present Values (lakh) | Total | Year 1: Year | Salvage
|  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
| Total Costs | 131768.9446 | 14746.4367 | 23729.4025 | 35070.3003 | 26243.8042 | 19820.699 | 10202.1887 | 224.3652 | 200.3261 | 178.8626 | 159.6987 | 142.5881 | 127.3108 | 113.6704 | 101.4914 | 90.6173 | 80.9083 | 72.2396 | 64.4996 | 57.589 | 51.4187 | 45.9096 | 40.9907 | 36.5988 | 32.6775 | 29.1764 | 26.0503 | 23.2592 | 20.7672 | 18.5421 | 16.5555
| Initial Investment Costs | 129546.1553 | 14746.4367 | 23729.4025 | 35070.3003 | 26176.2847 | 19748.3679 | 10075.3631 | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | --
| Operating Costs (Operation & Maintenance Costs) | 2222.7893 | 0 | 0 | 0 | 67.5195 | 72.331 | 126.8256 | 224.3652 | 200.3261 | 178.8626 | 159.6987 | 142.5881 | 127.3108 | 113.6704 | 101.4914 | 90.6173 | 80.9083 | 72.2396 | 64.4996 | 57.589 | 51.4187 | 45.9096 | 40.9907 | 36.5988 | 32.6775 | 29.1764 | 26.0503 | 23.2592 | 20.7672 | 18.5421 | 16.5555
| Salvage Value | 0 | [30 empty] | 0 | bar: Year 1 to Year 30
| Total Benefits | 134099.2037 | 0 | 0 | 0 | 4073.399 | 4363.6769 | 7651.2915 | 13535.7841 | 12085.5215 | 10790.6442 | 9634.5038 | 8602.2355 | 7680.5674 | 6857.6495 | 6122.9013 | 5466.8762 | 4881.1394 | 4358.1602 | 3891.2145 | 3474.2986 | 3102.0524 | 2769.6896 | 2472.9371 | 2207.9796 | 1971.4104 | 1760.1878 | 1571.5963 | 1403.211 | 1252.8669 | 1118.6312 | 998.7778
| Net Benefits | 2330.259 | -14746.4367 | -23729.4025 | -35070.3003 | -22170.4052 | -15457.022 | -2550.8973 | 13311.4189 | 11885.1954 | 10611.7816 | 9474.805 | 8459.6474 | 7553.2566 | 6743.9791 | 6021.4099 | 5376.2588 | 4800.2311 | 4285.9206 | 3826.7148 | 3416.7097 | 3050.6336 | 2723.78 | 2431.9465 | 2171.3808 | 1938.7328 | 1731.0115 | 1545.5459 | 1379.9517 | 1232.0998 | 1100.0891 | 982.2224
| FNPV | 2330.259 | Year 1: (lakh); Year 2: 2330.259
| FBCR | 1.0177 | Year 2: 1.0177
| FIRR | 12.22%
Note on AG9: [スレッド化されたコメント] 使用している Excel のバージョンでは、このスレッド化されたコメントを表示できますが、新しいバージョンの Excel でファイルを開いた場合はコメントに対する編集がすべて削除されます。詳細: https://go.microsoft.com/fwlink/?linkid=870924 コメント: Including salvage value
Note on AG20: [スレッド化されたコメント] 使用している Excel のバージョンでは、このスレッド化されたコメントを表示できますが、新しいバージョンの Excel でファイルを開いた場合はコメントに対する編集がすべて削除されます。詳細: https://go.microsoft.com/fwlink/?linkid=870924 コメント: Including salvage value

## 4b.FAnalysis
Cash Flows of Financial Costs and Benefits (Power Transmission)----Vertical format
| At Constant Prices/Before Discounting (lakh) | [8 empty] | Present Values (lakh)
|  |  | Total Costs | Initial Investment Costs | Operating Costs (Operation & Maintenance Costs) | Salvage Value | Total Benefits | Net Benefits | Financial Discount Rate (12%) |  |  | Total Costs | Initial Investment Costs | Operating Costs (Operation & Maintenance Costs) | Salvage Value | Total Benefits | Net Benefits
| Total |  | 203820.708 | 191432.6616 | 12388.0464 | 0 | 747361.5044 | 543540.7964 | DF | Total |  | 131768.9446 | 129546.1553 | 2222.7893 | 0 | 134099.2037 | 2330.259
| Year | 1 | 16516.0091 | 16516.0091 | 0 | -- | 0 | -16516.0091 | 0.89286 | Year | 1 | 14746.4367 | 14746.4367 | 0 | -- | 0 | -14746.4367
|  | 2 | 29766.1626 | 29766.1626 | 0 | -- | 0 | -29766.1626 | 0.79719 |  | 2 | 23729.4025 | 23729.4025 | 0 | -- | 0 | -23729.4025
|  | 3 | 49271.2468 | 49271.2468 | 0 | -- | 0 | -49271.2468 | 0.71178 |  | 3 | 35070.3003 | 35070.3003 | 0 | -- | 0 | -35070.3003
|  | 4 | 41295.134 | 41188.8908 | 106.2432 | -- | 6409.5722 | -34885.5618 | 0.63552 |  | 4 | 26243.8042 | 26176.2847 | 67.5195 | -- | 4073.399 | -22170.4052
|  | 5 | 34930.844 | 34803.372 | 127.472 | -- | 7690.2897 | -27240.5543 | 0.56743 |  | 5 | 19820.699 | 19748.3679 | 72.331 | -- | 4363.6769 | -15457.022
|  | 6 | 20137.3115 | 19886.9803 | 250.3312 | -- | 15102.2927 | -5035.0189 | 0.50663 |  | 6 | 10202.1887 | 10075.3631 | 126.8256 | -- | 7651.2915 | -2550.8973
|  | 7 | 496 | -- | 496 | -- | 29923.3062 | 29427.3062 | 0.45235 |  | 7 | 224.3652 | -- | 224.3652 | -- | 13535.7841 | 13311.4189
|  | 8 | 496 | -- | 496 | -- | 29923.3062 | 29427.3062 | 0.40388 |  | 8 | 200.3261 | -- | 200.3261 | -- | 12085.5215 | 11885.1954
|  | 9 | 496 | -- | 496 | -- | 29923.3062 | 29427.3062 | 0.36061 |  | 9 | 178.8626 | -- | 178.8626 | -- | 10790.6442 | 10611.7816
|  | 10 | 496 | -- | 496 | -- | 29923.3062 | 29427.3062 | 0.32197 |  | 10 | 159.6987 | -- | 159.6987 | -- | 9634.5038 | 9474.805
|  | 11 | 496 | -- | 496 | -- | 29923.3062 | 29427.3062 | 0.28748 |  | 11 | 142.5881 | -- | 142.5881 | -- | 8602.2355 | 8459.6474
|  | 12 | 496 | -- | 496 | -- | 29923.3062 | 29427.3062 | 0.25668 |  | 12 | 127.3108 | -- | 127.3108 | -- | 7680.5674 | 7553.2566
|  | 13 | 496 | -- | 496 | -- | 29923.3062 | 29427.3062 | 0.22917 |  | 13 | 113.6704 | -- | 113.6704 | -- | 6857.6495 | 6743.9791
|  | 14 | 496 | -- | 496 | -- | 29923.3062 | 29427.3062 | 0.20462 |  | 14 | 101.4914 | -- | 101.4914 | -- | 6122.9013 | 6021.4099
|  | 15 | 496 | -- | 496 | -- | 29923.3062 | 29427.3062 | 0.1827 |  | 15 | 90.6173 | -- | 90.6173 | -- | 5466.8762 | 5376.2588
|  | 16 | 496 | -- | 496 | -- | 29923.3062 | 29427.3062 | 0.16312 |  | 16 | 80.9083 | -- | 80.9083 | -- | 4881.1394 | 4800.2311
|  | 17 | 496 | -- | 496 | -- | 29923.3062 | 29427.3062 | 0.14564 |  | 17 | 72.2396 | -- | 72.2396 | -- | 4358.1602 | 4285.9206
|  | 18 | 496 | -- | 496 | -- | 29923.3062 | 29427.3062 | 0.13004 |  | 18 | 64.4996 | -- | 64.4996 | -- | 3891.2145 | 3826.7148
|  | 19 | 496 | -- | 496 | -- | 29923.3062 | 29427.3062 | 0.11611 |  | 19 | 57.589 | -- | 57.589 | -- | 3474.2986 | 3416.7097
|  | 20 | 496 | -- | 496 | -- | 29923.3062 | 29427.3062 | 0.10367 |  | 20 | 51.4187 | -- | 51.4187 | -- | 3102.0524 | 3050.6336
|  | 21 | 496 | -- | 496 | -- | 29923.3062 | 29427.3062 | 0.09256 |  | 21 | 45.9096 | -- | 45.9096 | -- | 2769.6896 | 2723.78
|  | 22 | 496 | -- | 496 | -- | 29923.3062 | 29427.3062 | 0.082643 |  | 22 | 40.9907 | -- | 40.9907 | -- | 2472.9371 | 2431.9465
|  | 23 | 496 | -- | 496 | -- | 29923.3062 | 29427.3062 | 0.073788 |  | 23 | 36.5988 | -- | 36.5988 | -- | 2207.9796 | 2171.3808
|  | 24 | 496 | -- | 496 | -- | 29923.3062 | 29427.3062 | 0.065882 |  | 24 | 32.6775 | -- | 32.6775 | -- | 1971.4104 | 1938.7328
|  | 25 | 496 | -- | 496 | -- | 29923.3062 | 29427.3062 | 0.058823 |  | 25 | 29.1764 | -- | 29.1764 | -- | 1760.1878 | 1731.0115
|  | 26 | 496 | -- | 496 | -- | 29923.3062 | 29427.3062 | 0.052521 |  | 26 | 26.0503 | -- | 26.0503 | -- | 1571.5963 | 1545.5459
|  | 27 | 496 | -- | 496 | -- | 29923.3062 | 29427.3062 | 0.046894 |  | 27 | 23.2592 | -- | 23.2592 | -- | 1403.211 | 1379.9517
|  | 28 | 496 | -- | 496 | -- | 29923.3062 | 29427.3062 | 0.041869 |  | 28 | 20.7672 | -- | 20.7672 | -- | 1252.8669 | 1232.0998
|  | 29 | 496 | -- | 496 | -- | 29923.3062 | 29427.3062 | 0.037383 |  | 29 | 18.5421 | -- | 18.5421 | -- | 1118.6312 | 1100.0891
|  | 30 | 496 | -- | 496 | -- | 29923.3062 | 29427.3062 | 0.033378 |  | 30 | 16.5555 | -- | 16.5555 | -- | 998.7778 | 982.2224
| Salvage |  |  |  |  | 0 |  |  |  | Salvage |  |  |  |  | 0
|  |  | FNPV | 2330.259 | (lakh)
|  |  | FBCR | 1.0177
|  |  | FIRR | 12.22%
Note on I34: [スレッド化されたコメント] 使用している Excel のバージョンでは、このスレッド化されたコメントを表示できますが、新しいバージョンの Excel でファイルを開いた場合はコメントに対する編集がすべて削除されます。詳細: https://go.microsoft.com/fwlink/?linkid=870924 コメント: Including salvage value
Note on T34: [スレッド化されたコメント] 使用している Excel のバージョンでは、このスレッド化されたコメントを表示できますが、新しいバージョンの Excel でファイルを開いた場合はコメントに対する編集がすべて削除されます。詳細: https://go.microsoft.com/fwlink/?linkid=870924 コメント: Including salvage value

## 5.ECosts
Economic Costs (Power Transmission)
Conversion Factor
| Shadow Price Factor (SPF) [=1/ Conversion Factor for Traded Goods] | 0.86957
| Shadow Wage Rate Factor (SWRF) [=1/Conversion Factor for Unskilled Labor] | 0.68966
| Financial Costs |  |  |  |  | Economic Costs
| Item | Local Currency (BDT) | Foreign Currency (USD) | Total (BDT) | ➡ | Item | Local Currency (BDT) | Foreign Currency (USD) | Total (BDT)
| Materials & Equipment Costs | 0 | 0 | 0 |  | Materials & Equipment Costs [=LC*SPF+FC*(Exchange Rate)] | 0 | 0 | 0
| Labor Costs | 0 | 0 | 0 |  | Labor Costs | 0 | 0 | 0
| Skilled Workers | 0 | 0 | 0 |  | Skilled Workers [=LC*SPF+FC*(Exchange Rate)] | 0 | 0 | 0
| Unskilled Workers | 0 | 0 | 0 |  | Unskilled Workers [=LC*SWRF+FC*(Exchange Rate)] | 0 | 0 | 0
| Land Acquisition/Compensation Costs | 0 | 0 | 0 |  | Land Acquisition/Compensation Costs [=LC*SPF+FC*(Exchange Rate)] | 0 | 0 | 0
| Consultant Costs | 0 | 0 | 0 |  | Consultant Costs [=LC*SPF+FC*(Exchange Rate)] | 0 | 0 | 0
| General/Administrative Costs (Overhead Costs) | 0 | 0 | 0 |  | General/Administrative Costs (Overhead Costs) [=LC*SPF+FC*(Exchange Rate)] | 0 | 0 | 0
| Taxes, Subsidies (Transfers) | 0 | 0 | 0 |  | Taxes, Subsidies (Transfers) | -- | -- | --
| Base Costs (w/o Contingencies) | 0 | 0 | 0 |  | Base Costs (w/o Contingencies) - Transfers | 0 | 0 | 0
| Physical Contingency (2%) | 0 | 0 | 0 |  | Physical Contingency [=LC*SPF+FC*(Exchange Rate)] | 0 | 0 | 0
| Price Contingency, Local currency (5%) / Foreign currency (5%) | 0 | 0 | 0 |  | Price Contingency | -- | -- | --
| Total Initial Investment Costs (w/ Contingencies) | 0 | 0 | 0 |  | Total Initial Investment Costs (w/ Contingencies) | -- | -- | --
| Total Initial Investment Costs (BC + Physical Contingency) | 0 | 0 | 0 |  | Total Initial Investment Costs (BC + Physical Contingency) - Transfers | 0 | 0 | 0 | (lakh)
| Cost Data | LC | FC | Total |  | Cost Data | LC | FC | Total
| Taxes, Subsidies (Transfers) | 0 | 0 | 0 |  | Taxes, Subsidies (Transfers) | -- | -- | --
| Base Costs (w/o Contingencies) | 187679.08 | 0 | 187679.08 |  | Base Costs (w/o Contingencies) - Transfers | 163199.2 | 0 | 163199.2
| Physical Contingency | 3753.5816 | 0 | 3753.5816 |  | Physical Contingency | 3263.984 | 0 | 3263.984
| Price Contingency | 9383.954 | 0 | 9383.954 |  | Price Contingency | -- | -- | --
| Total Initial Investment Costs (w/ Contingencies) | 200816.6156 | 0 | 200816.6156 |  | Total Initial Investment Costs (w/ Contingencies) | -- | -- | --
| Total Initial Investment Costs (BC + Physical Contingency) | 191432.6616 | 0 | 191432.6616 |  | Total Initial Investment Costs (BC + Physical Contingency) - Transfers | 166463.184 | 0 | 166463.184 | (lakh)
[7 empty] | 1 | 2 | 3 | 4 | 5 | 6 | Total
[6 empty] | Annual Initial Investment Breakdowns during Construction (%) | 8.628% | 15.55% | 25.74% | 21.52% | 18.18% | 10.39% | 100%
[6 empty] | Annual Initial Investment Costs (BDT) | 14361.747 | 25883.6196 | 42844.5625 | 35816.4268 | 30263.8017 | 17293.0264 | 166463.184
| Financial Costs |  |  |  |  | Economic Costs
| Item |  |  |  | ➡ | Item
| Salvage Value of Investment | 0 |  |  |  | Salvage Value of Investment [=TC*SPF] | 1: 0; 2: (lakh)
| Financial Costs |  |  |  |  | Economic Costs
| Item | Local Currency (BDT) | Foreign Currency (USD) | Total (BDT) | ➡ | Item | 1: Local Currency (BDT); 2: Foreign Currency (USD); 3: Total (BDT)
| Input Purchase (e.g., electricity purchase) | 0 | 0 | 0 |  | Input Purchase [=LC*SPF+FC*(Exchange Rate)] | 1: 0; 2: 0; 3: 0
| Spares & Maintenance | 0 | 0 | 0 |  | Spares & Maintenance [=LC*SPF+FC*(Exchange Rate)] | 1: 0; 2: 0; 3: 0
| Labor Costs | 0 | 0 | 0 |  | Labor Costs | 1: 0; 2: 0; 3: 0
| Skilled Workers | 0 | 0 | 0 |  | Skilled Workers [=LC*SPF+FC*(Exchange Rate)] | 1: 0; 2: 0; 3: 0
| Unskilled Workers | 0 | 0 | 0 |  | Unskilled Workers [=LC*SWRF+FC*(Exchange Rate)] | 1: 0; 2: 0; 3: 0
| Insurance | 0 | 0 | 0 |  | Insurance [=LC*SPF+FC*(Exchange Rate)] | 1: 0; 2: 0; 3: 0
| General/Administrative Costs (Overhead Costs) | 0 | 0 | 0 |  | General/Administrative Costs (Overhead Costs) [=LC*SPF+FC*(Exchange Rate)] | 1: 0; 2: 0; 3: 0
| Annual Operating Costs Estimated from a Similar Project | 496 | 0 | 496 |  | Annual Operating Costs Estimated from a Similar Project | 1: 431.3043; 2: 0; 3: 431.3043
| Annual Operating Costs (Operation & Maintenance Costs) | 496 | 0 | 496 |  | Annual Operating Costs (Operation & Maintenance Costs) | 431.3043 | 0 | 431.3043 | (lakh)
[7 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
[6 empty] | Annual Operating Costs after Construction (cumulative %) | 0% | 0% | 0% | 21.42% | 25.7% | 50.47% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
[6 empty] | Annual Operating Costs after Construction (BDT) | 0 | 0 | 0 | 92.3854 | 110.8452 | 217.6793 | 431.3043 | 431.3043 | 431.3043 | 431.3043 | 431.3043 | 431.3043 | 431.3043 | 431.3043 | 431.3043 | 431.3043 | 431.3043 | 431.3043 | 431.3043 | 431.3043 | 431.3043 | 431.3043 | 431.3043 | 431.3043 | 431.3043 | 431.3043 | 431.3043 | 431.3043 | 431.3043 | 431.3043

## 6.EBenefits
Economic Benefits (Power Transmission)
Incremental Outputs
Item
Residential Customers
|  |  |  | Wheeled Energy/Additional Supply of Electricity to Meet Demand (a) | 6520.7291
|  |  |  | Average Sales Rate for Residential (b) | 7.49
|  |  |  | Cost of Electricity Produced Privately for Residential (c) | 12
|  |  |  | Annual Incremental Outputs for Residential [=0.5*a*(c-b)] | 147042.4407 | (lakh)
Commercial Customers
|  |  |  | Wheeled Energy/Additional Supply of Electricity to Meet Demand (a) | 4200.6275
|  |  |  | Average Sales Rate for Residential (b) | 9.8
|  |  |  | Cost of Electricity Produced Privately for Commercial (c) | 12
|  |  |  | Annual Incremental Outputs for Commercial [=0.5*a*(c-b)] | 46206.9026 | (lakh)
|  |  |  | Total Annual Incremental Outputs | 193249.3433 | (lakh)
|  |  |  | Indirect Benefits Attributable to Generation/Distribution (66.7%) | 128832.8956
|  |  |  | Annual Incremental Outputs Attributable to Transmission | 64416.4478 | (lakh)
[5 empty] | 1 | 2 | 3 | 4 | 5 | 6
|  |  |  | Annual Incremental Outputs during Construction (cumulative %) | 0% | 0% | 0% | 21.42% | 25.7% | 50.47%
|  |  |  | Annual Incremental Outputs during Construction (BDT), if any | 0 | 0 | 0 | 13798.0031 | 16555.0271 | 32510.9812
[5 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
|  |  |  | Annual Incremental Outputs after Construction (cumulative %) | [6 empty] | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
|  |  |  | Annual Incremental Outputs after Construction (BDT) | n/a | n/a | n/a | n/a | n/a | n/a | 64416.4478 | 64416.4478 | 64416.4478 | 64416.4478 | 64416.4478 | 64416.4478 | 64416.4478 | 64416.4478 | 64416.4478 | 64416.4478 | 64416.4478 | 64416.4478 | 64416.4478 | 64416.4478 | 64416.4478 | 64416.4478 | 64416.4478 | 64416.4478 | 64416.4478 | 64416.4478 | 64416.4478 | 64416.4478 | 64416.4478 | 64416.4478
Non-incremental Outputs
Item
|  |  |  | Existing Total Customers (c) | 0 1: 1332805
Percent of Existing Total Customers who Benefit from Cost Savings (d) | bar: 0 1
|  |  |  | Avg. Cost Savings per Customer (e) | 0 1: 1000
|  |  |  | Total Annual Cost Savings (Reliability Benefits) [=c*d*e] | 0 1: 133.2805; 0 2: (lakh)
|  |  |  | Indirect Benefits Attributable to Generation/Distribution (66.7%) | 0 1: 88.8537
|  |  |  | Annual Non-Incremental Outputs Attributable to Transmission | 0 1: 44.4268; 0 2: (lakh)
[5 empty] | 1 | 2 | 3 | 4 | 5 | 5
|  |  |  | Annual Cost Savings during Construction (cumulative %) | 0% | 0% | 0% | 21.42% | 25.7% | 50.47%
|  |  |  | Annual Cost Savings during Construction (BDT), if any | 0 | 0 | 0 | 9.5162 | 11.4177 | 22.4222
[5 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
|  |  |  | Annual Cost Savings after Costruction (cumulative %) | [6 empty] | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
|  |  |  | Annual Cost Savings after Construction (BDT) | n/a | n/a | n/a | n/a | n/a | n/a | 44.4268 | 44.4268 | 44.4268 | 44.4268 | 44.4268 | 44.4268 | 44.4268 | 44.4268 | 44.4268 | 44.4268 | 44.4268 | 44.4268 | 44.4268 | 44.4268 | 44.4268 | 44.4268 | 44.4268 | 44.4268 | 44.4268 | 44.4268 | 44.4268 | 44.4268 | 44.4268 | 44.4268
Conversion Factor
| Shadow Price Factor (SPF) [=1/ Conversion Factor for Traded goods] | 0.86957
| Shadow Wage Rate Factor (SWRF) [=1/Conversion Factor for Unskilled Labor] | 0.68966
| Financial Benefits/Revenues |  |  | Economic Benefits/Revenues
| Item |  | ➡ | Item
| Revenue Source I |  |  | Revenue Source I
| Incremental Load Flow/Total Capacity to be Increased | 1398.63 | (MW/hour) | Incremental Load Flow/Total Capacity to be Increased | 0 2: (MW/hour)
| Load Factor | 90% | (%) | Load Factor | 0 2: (%)
| Gross Annual Energy (considering the Load Factor) | 11026.7989 | (mil.kWh/year) | Gross Annual Energy (considering the Load Factor) | 0 2: (mil.kWh/year)
| Transmission Loss | 2.77% | (%) | Transmission Loss | 0 2: (%)
| Wheeled Energy/Additional Supply of Electricity to Meet Demand (a) | 10721.3566 | (mil.kWh/year) | Wheeled Energy/Additional Supply of Electricity to Meet Demand (a) | 0 2: (mil.kWh/year)
| Wheeling Charge (b) | 0.2791 | (BDT/Wh) | Wheeling Charge (b) | 0 2: (BDT/Wh)
| Revenues from Wheeling Charge (a)*(b) | 29923.3062 | (lakh) | Revenues from Wheeling Charge (a)*(b) [=LC*SPF] | 0 1: 26020.2663; 0 2: (lakh)
| Revenue Source II |  |  | Revenue Source II
| Wheeled Energy/Additional Supply of Electricity to Meet Demand (a) |  |  | Wheeled Energy/Additional Supply of Electricity to Meet Demand (a)
| Wheeling Charge (b) |  |  | Wheeling Charge (b)
| Revenues from Wheeling Charge (a)*(b) |  |  | Revenues from Wheeling Charge (a)*(b) [=LC*SPF]
| Revenue Source III |  |  | Revenue Source III
| Wheeled Energy/Additional Supply of Electricity to Meet Demand (a) |  |  | Wheeled Energy/Additional Supply of Electricity to Meet Demand (a)
| Wheeling Charge (b) |  |  | Wheeling Charge (b)
| Revenues from Wheeling Charge (a)*(b) |  |  | Revenues from Wheeling Charge (a)*(b) [=LC*SPF]
| Annual Revenues | 29923.3062 | (lakh) | Annual Revenues [=LC*SPF] | 0 1: 26020.2663; 0 2: (lakh)
[5 empty] | 1 | 2 | 3 | 4 | 5 | 6
|  |  |  | Annual Revenue Generation during Construction (cumulative %) | 0% | 0% | 0% | 21.42% | 25.7% | 50.47%
|  |  |  | Annual Revenues during Construction (BDT), if any | 0 | 0 | 0 | 5573.541 | 6687.2084 | 13132.4284
[5 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
|  |  |  | Annual Revenue Generation after Construction (cumulative %) | [6 empty] | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
|  |  |  | Annual Revenues after Construction (BDT) | n/a | n/a | n/a | n/a | n/a | n/a | 26020.2663 | 26020.2663 | 26020.2663 | 26020.2663 | 26020.2663 | 26020.2663 | 26020.2663 | 26020.2663 | 26020.2663 | 26020.2663 | 26020.2663 | 26020.2663 | 26020.2663 | 26020.2663 | 26020.2663 | 26020.2663 | 26020.2663 | 26020.2663 | 26020.2663 | 26020.2663 | 26020.2663 | 26020.2663 | 26020.2663 | 26020.2663

## 7a.EAnalysis
Cash Flows of Economic Costs and Benefits (Power Transmission)----Horizontal format
| At Constant Prices/Before Discounting (lakh) | Total | Year | [29 empty] | Salvage
|  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
| Total Costs | 177235.3983 | 14361.747 | 25883.6196 | 42844.5625 | 35908.8122 | 30374.6469 | 17510.7057 | 431.3043 | 431.3043 | 431.3043 | 431.3043 | 431.3043 | 431.3043 | 431.3043 | 431.3043 | 431.3043 | 431.3043 | 431.3043 | 431.3043 | 431.3043 | 431.3043 | 431.3043 | 431.3043 | 431.3043 | 431.3043 | 431.3043 | 431.3043 | 431.3043 | 431.3043 | 431.3043 | 431.3043
| Initial Investment Costs | 166463.184 | 14361.747 | 25883.6196 | 42844.5625 | 35816.4268 | 30263.8017 | 17293.0264 | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | --
| Operating Costs (Operation & Maintenance Costs) | 10772.2143 | 0 | 0 | 0 | 92.3854 | 110.8452 | 217.6793 | 431.3043 | 431.3043 | 431.3043 | 431.3043 | 431.3043 | 431.3043 | 431.3043 | 431.3043 | 431.3043 | 431.3043 | 431.3043 | 431.3043 | 431.3043 | 431.3043 | 431.3043 | 431.3043 | 431.3043 | 431.3043 | 431.3043 | 431.3043 | 431.3043 | 431.3043 | 431.3043 | 431.3043
| Salvage Value | 0 | [30 empty] | 0 | bar: Year 1 to Year 30
| Total Benefits | 2259847.9273 | 0 | 0 | 0 | 19381.0604 | 23253.6532 | 45665.8318 | 90481.1409 | 90481.1409 | 90481.1409 | 90481.1409 | 90481.1409 | 90481.1409 | 90481.1409 | 90481.1409 | 90481.1409 | 90481.1409 | 90481.1409 | 90481.1409 | 90481.1409 | 90481.1409 | 90481.1409 | 90481.1409 | 90481.1409 | 90481.1409 | 90481.1409 | 90481.1409 | 90481.1409 | 90481.1409 | 90481.1409 | 90481.1409
| Economic Benefits/Revenues | 649879.569 | 0 | 0 | 0 | 5573.541 | 6687.2084 | 13132.4284 | 26020.2663 | 26020.2663 | 26020.2663 | 26020.2663 | 26020.2663 | 26020.2663 | 26020.2663 | 26020.2663 | 26020.2663 | 26020.2663 | 26020.2663 | 26020.2663 | 26020.2663 | 26020.2663 | 26020.2663 | 26020.2663 | 26020.2663 | 26020.2663 | 26020.2663 | 26020.2663 | 26020.2663 | 26020.2663 | 26020.2663 | 26020.2663
| Incremental Outputs | 1608858.7581 | 0 | 0 | 0 | 13798.0031 | 16555.0271 | 32510.9812 | 64416.4478 | 64416.4478 | 64416.4478 | 64416.4478 | 64416.4478 | 64416.4478 | 64416.4478 | 64416.4478 | 64416.4478 | 64416.4478 | 64416.4478 | 64416.4478 | 64416.4478 | 64416.4478 | 64416.4478 | 64416.4478 | 64416.4478 | 64416.4478 | 64416.4478 | 64416.4478 | 64416.4478 | 64416.4478 | 64416.4478 | 64416.4478
| Non-incremental Outputs (Cost Savings) | 1109.6001 | 0 | 0 | 0 | 9.5162 | 11.4177 | 22.4222 | 44.4268 | 44.4268 | 44.4268 | 44.4268 | 44.4268 | 44.4268 | 44.4268 | 44.4268 | 44.4268 | 44.4268 | 44.4268 | 44.4268 | 44.4268 | 44.4268 | 44.4268 | 44.4268 | 44.4268 | 44.4268 | 44.4268 | 44.4268 | 44.4268 | 44.4268 | 44.4268 | 44.4268
| Net Benefits | 2082612.529 | -14361.747 | -25883.6196 | -42844.5625 | -16527.7518 | -7120.9937 | 28155.1261 | 90049.8366 | 90049.8366 | 90049.8366 | 90049.8366 | 90049.8366 | 90049.8366 | 90049.8366 | 90049.8366 | 90049.8366 | 90049.8366 | 90049.8366 | 90049.8366 | 90049.8366 | 90049.8366 | 90049.8366 | 90049.8366 | 90049.8366 | 90049.8366 | 90049.8366 | 90049.8366 | 90049.8366 | 90049.8366 | 90049.8366 | 90049.8366
| Economic Discount Rate (12%) | DF | 0.89286 | 0.79719 | 0.71178 | 0.63552 | 0.56743 | 0.50663 | 0.45235 | 0.40388 | 0.36061 | 0.32197 | 0.28748 | 0.25668 | 0.22917 | 0.20462 | 0.1827 | 0.16312 | 0.14564 | 0.13004 | 0.11611 | 0.10367 | 0.09256 | 0.082643 | 0.073788 | 0.065882 | 0.058823 | 0.052521 | 0.046894 | 0.041869 | 0.037383 | 0.033378
| Present Values (lakh) | Total | Year 1: Year | Salvage
|  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
| Total Costs | 114581.691 | 12822.9884 | 20634.2631 | 30495.9133 | 22820.6993 | 17235.3904 | 8871.4684 | 195.1002 | 174.1966 | 155.5327 | 138.8685 | 123.9897 | 110.7051 | 98.8438 | 88.2534 | 78.7977 | 70.3551 | 62.817 | 56.0866 | 50.0774 | 44.7119 | 39.9214 | 35.6441 | 31.8251 | 28.4152 | 25.3707 | 22.6525 | 20.2254 | 18.0584 | 16.1236 | 14.396
| Initial Investment Costs | 112648.8307 | 12822.9884 | 20634.2631 | 30495.9133 | 22761.9867 | 17172.4938 | 8761.1853 | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | --
| Operating Costs (Operation & Maintenance Costs) | 1932.8603 | 0 | 0 | 0 | 58.7126 | 62.8966 | 110.2831 | 195.1002 | 174.1966 | 155.5327 | 138.8685 | 123.9897 | 110.7051 | 98.8438 | 88.2534 | 78.7977 | 70.3551 | 62.817 | 56.0866 | 50.0774 | 44.7119 | 39.9214 | 35.6441 | 31.8251 | 28.4152 | 25.3707 | 22.6525 | 20.2254 | 18.0584 | 16.1236 | 14.396
| Salvage Value | 0 | [30 empty] | 0 | bar: Year 1 to Year 30
| Total Benefits | 405484.9034 | 0 | 0 | 0 | 12317.0143 | 13194.7473 | 23135.7316 | 40929.0731 | 36543.8153 | 32628.4065 | 29132.5058 | 26011.1659 | 23224.2553 | 20735.9422 | 18514.2341 | 16530.5662 | 14759.4341 | 13178.0661 | 11766.1305 | 10505.4736 | 9379.8872 | 8374.8993 | 7477.5886 | 6676.4184 | 5961.0879 | 5322.3999 | 4752.1428 | 4242.9846 | 3788.3791 | 3382.4813 | 3020.0726
| Financial Benefits/Revenues | 116608.0032 | 0 | 0 | 0 | 3542.0861 | 3794.5017 | 6653.2969 | 11770.247 | 10509.1491 | 9383.1689 | 8377.8294 | 7480.2048 | 6678.7543 | 5963.1735 | 5324.262 | 4753.8054 | 4244.4691 | 3789.7045 | 3383.6648 | 3021.1293 | 2697.4368 | 2408.4257 | 2150.3801 | 1919.9823 | 1714.2699 | 1530.5981 | 1366.6054 | 1220.1834 | 1089.4495 | 972.7228 | 868.5025
| Incremental Outputs | 288677.8045 | 0 | 0 | 0 | 8768.8804 | 9393.767 | 16471.0749 | 29138.7296 | 26016.7229 | 23229.2168 | 20740.3722 | 18518.1894 | 16534.0977 | 14762.5873 | 13180.8815 | 11768.6442 | 10507.718 | 9381.8911 | 8376.6885 | 7479.1861 | 6677.8448 | 5962.3614 | 5323.537 | 4753.158 | 4243.8911 | 3789.1885 | 3383.204 | 3020.7178 | 2697.0695 | 2408.0978 | 2150.0873
| Non-incremental Outputs (Cost Savings) | 199.0957 | 0 | 0 | 0 | 6.0477 | 6.4787 | 11.3598 | 20.0964 | 17.9433 | 16.0208 | 14.3043 | 12.7717 | 11.4033 | 10.1815 | 9.0906 | 8.1166 | 7.247 | 6.4705 | 5.7772 | 5.1583 | 4.6056 | 4.1121 | 3.6715 | 3.2782 | 2.9269 | 2.6133 | 2.3333 | 2.0833 | 1.8601 | 1.6608 | 1.4829
| Net Benefits | 290903.2124 | -12822.9884 | -20634.2631 | -30495.9133 | -10503.6851 | -4040.6431 | 14264.2631 | 40733.9729 | 36369.6187 | 32472.8738 | 28993.6373 | 25887.1762 | 23113.5502 | 20637.0984 | 18425.9807 | 16451.7685 | 14689.079 | 13115.2491 | 11710.0438 | 10455.3963 | 9335.1753 | 8334.9779 | 7441.9446 | 6644.5934 | 5932.6726 | 5297.0291 | 4729.4903 | 4222.7592 | 3770.3207 | 3366.3578 | 3005.6766
| ENPV | 290903.2124 | Year 1: (lakh); Year 2: 290903.2124
| EBCR | 3.5388 | Year 2: 3.5388
| EIRR | 34.32%
Note on AG12: [スレッド化されたコメント] 使用している Excel のバージョンでは、このスレッド化されたコメントを表示できますが、新しいバージョンの Excel でファイルを開いた場合はコメントに対する編集がすべて削除されます。詳細: https://go.microsoft.com/fwlink/?linkid=870924 コメント: Including salvage value
Note on AG26: [スレッド化されたコメント] 使用している Excel のバージョンでは、このスレッド化されたコメントを表示できますが、新しいバージョンの Excel でファイルを開いた場合はコメントに対する編集がすべて削除されます。詳細: https://go.microsoft.com/fwlink/?linkid=870924 コメント: Including salvage value

## 7b.EAnalysis
Cash Flows of Economic Costs and Benefits (Power Transmission)----Vertical format
| At Constant Prices/Before Discounting (lakh) | [11 empty] | Present Values (lakh)
|  |  | Total Costs | Initial Investment Costs | Operating Costs (Operation & Maintenance Costs) | Salvage Value | Total Benefits | Economic Benefits/Revenues | Incremental Outputs | Non-incremental Outputs (Cost Savings) | Net Benefits | Economic Discount Rate (12%) |  |  | Total Costs | Initial Investment Costs | Operating Costs (Operation & Maintenance Costs) | Salvage Value | Total Benefits | Financial Benefits/Revenues | Incremental Outputs | Non-incremental Outputs (Cost Savings) | Net Benefits
| Total |  | 177235.3983 | 166463.184 | 10772.2143 | 0 | 2259847.9273 | 649879.569 | 1608858.7581 | 1109.6001 | 2082612.529 | DF | Total |  | 114581.691 | 112648.8307 | 1932.8603 | 0 | 405484.9034 | 116608.0032 | 288677.8045 | 199.0957 | 290903.2124
| Year | 1 | 14361.747 | 14361.747 | 0 | -- | 0 | 0 | 0 | 0 | -14361.747 | 0.89286 | Year | 1 | 12822.9884 | 12822.9884 | 0 | -- | 0 | 0 | 0 | 0 | -12822.9884
|  | 2 | 25883.6196 | 25883.6196 | 0 | -- | 0 | 0 | 0 | 0 | -25883.6196 | 0.79719 |  | 2 | 20634.2631 | 20634.2631 | 0 | -- | 0 | 0 | 0 | 0 | -20634.2631
|  | 3 | 42844.5625 | 42844.5625 | 0 | -- | 0 | 0 | 0 | 0 | -42844.5625 | 0.71178 |  | 3 | 30495.9133 | 30495.9133 | 0 | -- | 0 | 0 | 0 | 0 | -30495.9133
|  | 4 | 35908.8122 | 35816.4268 | 92.3854 | -- | 19381.0604 | 5573.541 | 13798.0031 | 9.5162 | -16527.7518 | 0.63552 |  | 4 | 22820.6993 | 22761.9867 | 58.7126 | -- | 12317.0143 | 3542.0861 | 8768.8804 | 6.0477 | -10503.6851
|  | 5 | 30374.6469 | 30263.8017 | 110.8452 | -- | 23253.6532 | 6687.2084 | 16555.0271 | 11.4177 | -7120.9937 | 0.56743 |  | 5 | 17235.3904 | 17172.4938 | 62.8966 | -- | 13194.7473 | 3794.5017 | 9393.767 | 6.4787 | -4040.6431
|  | 6 | 17510.7057 | 17293.0264 | 217.6793 | -- | 45665.8318 | 13132.4284 | 32510.9812 | 22.4222 | 28155.1261 | 0.50663 |  | 6 | 8871.4684 | 8761.1853 | 110.2831 | -- | 23135.7316 | 6653.2969 | 16471.0749 | 11.3598 | 14264.2631
|  | 7 | 431.3043 | -- | 431.3043 | -- | 90481.1409 | 26020.2663 | 64416.4478 | 44.4268 | 90049.8366 | 0.45235 |  | 7 | 195.1002 | -- | 195.1002 | -- | 40929.0731 | 11770.247 | 29138.7296 | 20.0964 | 40733.9729
|  | 8 | 431.3043 | -- | 431.3043 | -- | 90481.1409 | 26020.2663 | 64416.4478 | 44.4268 | 90049.8366 | 0.40388 |  | 8 | 174.1966 | -- | 174.1966 | -- | 36543.8153 | 10509.1491 | 26016.7229 | 17.9433 | 36369.6187
|  | 9 | 431.3043 | -- | 431.3043 | -- | 90481.1409 | 26020.2663 | 64416.4478 | 44.4268 | 90049.8366 | 0.36061 |  | 9 | 155.5327 | -- | 155.5327 | -- | 32628.4065 | 9383.1689 | 23229.2168 | 16.0208 | 32472.8738
|  | 10 | 431.3043 | -- | 431.3043 | -- | 90481.1409 | 26020.2663 | 64416.4478 | 44.4268 | 90049.8366 | 0.32197 |  | 10 | 138.8685 | -- | 138.8685 | -- | 29132.5058 | 8377.8294 | 20740.3722 | 14.3043 | 28993.6373
|  | 11 | 431.3043 | -- | 431.3043 | -- | 90481.1409 | 26020.2663 | 64416.4478 | 44.4268 | 90049.8366 | 0.28748 |  | 11 | 123.9897 | -- | 123.9897 | -- | 26011.1659 | 7480.2048 | 18518.1894 | 12.7717 | 25887.1762
|  | 12 | 431.3043 | -- | 431.3043 | -- | 90481.1409 | 26020.2663 | 64416.4478 | 44.4268 | 90049.8366 | 0.25668 |  | 12 | 110.7051 | -- | 110.7051 | -- | 23224.2553 | 6678.7543 | 16534.0977 | 11.4033 | 23113.5502
|  | 13 | 431.3043 | -- | 431.3043 | -- | 90481.1409 | 26020.2663 | 64416.4478 | 44.4268 | 90049.8366 | 0.22917 |  | 13 | 98.8438 | -- | 98.8438 | -- | 20735.9422 | 5963.1735 | 14762.5873 | 10.1815 | 20637.0984
|  | 14 | 431.3043 | -- | 431.3043 | -- | 90481.1409 | 26020.2663 | 64416.4478 | 44.4268 | 90049.8366 | 0.20462 |  | 14 | 88.2534 | -- | 88.2534 | -- | 18514.2341 | 5324.262 | 13180.8815 | 9.0906 | 18425.9807
|  | 15 | 431.3043 | -- | 431.3043 | -- | 90481.1409 | 26020.2663 | 64416.4478 | 44.4268 | 90049.8366 | 0.1827 |  | 15 | 78.7977 | -- | 78.7977 | -- | 16530.5662 | 4753.8054 | 11768.6442 | 8.1166 | 16451.7685
|  | 16 | 431.3043 | -- | 431.3043 | -- | 90481.1409 | 26020.2663 | 64416.4478 | 44.4268 | 90049.8366 | 0.16312 |  | 16 | 70.3551 | -- | 70.3551 | -- | 14759.4341 | 4244.4691 | 10507.718 | 7.247 | 14689.079
|  | 17 | 431.3043 | -- | 431.3043 | -- | 90481.1409 | 26020.2663 | 64416.4478 | 44.4268 | 90049.8366 | 0.14564 |  | 17 | 62.817 | -- | 62.817 | -- | 13178.0661 | 3789.7045 | 9381.8911 | 6.4705 | 13115.2491
|  | 18 | 431.3043 | -- | 431.3043 | -- | 90481.1409 | 26020.2663 | 64416.4478 | 44.4268 | 90049.8366 | 0.13004 |  | 18 | 56.0866 | -- | 56.0866 | -- | 11766.1305 | 3383.6648 | 8376.6885 | 5.7772 | 11710.0438
|  | 19 | 431.3043 | -- | 431.3043 | -- | 90481.1409 | 26020.2663 | 64416.4478 | 44.4268 | 90049.8366 | 0.11611 |  | 19 | 50.0774 | -- | 50.0774 | -- | 10505.4736 | 3021.1293 | 7479.1861 | 5.1583 | 10455.3963
|  | 20 | 431.3043 | -- | 431.3043 | -- | 90481.1409 | 26020.2663 | 64416.4478 | 44.4268 | 90049.8366 | 0.10367 |  | 20 | 44.7119 | -- | 44.7119 | -- | 9379.8872 | 2697.4368 | 6677.8448 | 4.6056 | 9335.1753
|  | 21 | 431.3043 | -- | 431.3043 | -- | 90481.1409 | 26020.2663 | 64416.4478 | 44.4268 | 90049.8366 | 0.09256 |  | 21 | 39.9214 | -- | 39.9214 | -- | 8374.8993 | 2408.4257 | 5962.3614 | 4.1121 | 8334.9779
|  | 22 | 431.3043 | -- | 431.3043 | -- | 90481.1409 | 26020.2663 | 64416.4478 | 44.4268 | 90049.8366 | 0.082643 |  | 22 | 35.6441 | -- | 35.6441 | -- | 7477.5886 | 2150.3801 | 5323.537 | 3.6715 | 7441.9446
|  | 23 | 431.3043 | -- | 431.3043 | -- | 90481.1409 | 26020.2663 | 64416.4478 | 44.4268 | 90049.8366 | 0.073788 |  | 23 | 31.8251 | -- | 31.8251 | -- | 6676.4184 | 1919.9823 | 4753.158 | 3.2782 | 6644.5934
|  | 24 | 431.3043 | -- | 431.3043 | -- | 90481.1409 | 26020.2663 | 64416.4478 | 44.4268 | 90049.8366 | 0.065882 |  | 24 | 28.4152 | -- | 28.4152 | -- | 5961.0879 | 1714.2699 | 4243.8911 | 2.9269 | 5932.6726
|  | 25 | 431.3043 | -- | 431.3043 | -- | 90481.1409 | 26020.2663 | 64416.4478 | 44.4268 | 90049.8366 | 0.058823 |  | 25 | 25.3707 | -- | 25.3707 | -- | 5322.3999 | 1530.5981 | 3789.1885 | 2.6133 | 5297.0291
|  | 26 | 431.3043 | -- | 431.3043 | -- | 90481.1409 | 26020.2663 | 64416.4478 | 44.4268 | 90049.8366 | 0.052521 |  | 26 | 22.6525 | -- | 22.6525 | -- | 4752.1428 | 1366.6054 | 3383.204 | 2.3333 | 4729.4903
|  | 27 | 431.3043 | -- | 431.3043 | -- | 90481.1409 | 26020.2663 | 64416.4478 | 44.4268 | 90049.8366 | 0.046894 |  | 27 | 20.2254 | -- | 20.2254 | -- | 4242.9846 | 1220.1834 | 3020.7178 | 2.0833 | 4222.7592
|  | 28 | 431.3043 | -- | 431.3043 | -- | 90481.1409 | 26020.2663 | 64416.4478 | 44.4268 | 90049.8366 | 0.041869 |  | 28 | 18.0584 | -- | 18.0584 | -- | 3788.3791 | 1089.4495 | 2697.0695 | 1.8601 | 3770.3207
|  | 29 | 431.3043 | -- | 431.3043 | -- | 90481.1409 | 26020.2663 | 64416.4478 | 44.4268 | 90049.8366 | 0.037383 |  | 29 | 16.1236 | -- | 16.1236 | -- | 3382.4813 | 972.7228 | 2408.0978 | 1.6608 | 3366.3578
|  | 30 | 431.3043 | -- | 431.3043 | -- | 90481.1409 | 26020.2663 | 64416.4478 | 44.4268 | 90049.8366 | 0.033378 |  | 30 | 14.396 | -- | 14.396 | -- | 3020.0726 | 868.5025 | 2150.0873 | 1.4829 | 3005.6766
| Salvage |  |  |  |  | 0 | [6 empty] | Salvage |  |  |  |  | 0
|  |  | ENPV | 290903.2124 | (lakh)
|  |  | EBCR | 3.5388
|  |  | EIRR | 34.32%
Note on L34: [スレッド化されたコメント] 使用している Excel のバージョンでは、このスレッド化されたコメントを表示できますが、新しいバージョンの Excel でファイルを開いた場合はコメントに対する編集がすべて削除されます。詳細: https://go.microsoft.com/fwlink/?linkid=870924 コメント: Including salvage value
Note on Z34: [スレッド化されたコメント] 使用している Excel のバージョンでは、このスレッド化されたコメントを表示できますが、新しいバージョンの Excel でファイルを開いた場合はコメントに対する編集がすべて削除されます。詳細: https://go.microsoft.com/fwlink/?linkid=870924 コメント: Including salvage value

## 9.Results
Summary Results (Power Transmission)
| Indicator | Value
| (i) Financial Net Present Value (FNPV) | 2330.259 | (lakh)
| (ii) Financial Benefit-Cost Ratio (FBCR) | 1.0177
| (iiI) Financial Internal Rate of Return (FIRR) | 12.22%
| (i) Economic Net Present Value (ENPV) | 290903.2124 | (lakh)
| (ii) Economic Benefit-Cost Ratio (EBCR) | 3.5388
| (iii) Economic Internal Rate of Return (EIRR) | 34.32%