Riser Killing & Capping Estimate for 01 (One) month

| Serial No. | Description |  | Unit | Unit Price (Taka) | Quantity | Total Cost (Taka) |
| --- | --- | --- | --- | --- | --- | --- |
|  | Mobilization |  |  |  |  |  |
|  | 1.1 | Contractor Store for the | Per |  | 1 month |  |
|  |  | period of works | month |  |  |  |
|  | 1.2 | Contractor Equipment & Others for the period of works | Per month |  | 1 month |  |
|  | 1.3 | Contractor personnel |  |  | 1 month |  |
| 1 |  | (supervisor) for supervising |  |  |  |  |
|  |  | the riser killing/ capping works. Also communicate and collecting road cutting | Per month |  |  |  |
|  |  | permission for RHD/ City |  |  |  |  |
|  |  | corporation/ LGED/ Union |  |  |  |  |
|  |  | parishad for the period |  |  |  |  |
|  |  | of works |  |  |  |  |
|  | 1.4 | Carrying killing/ capping |  |  | 1 month |  |
|  |  | materials from Demra |  |  |  |  |
|  |  | store to contractor's store (including loading & | L.S |  |  |  |
|  |  | unloading of 3/4" to 6" dia, |  |  |  |  |
|  |  | end cap, tape, primer as |  |  |  |  |
|  |  | per requirement |  |  |  |  |
| 2 | Carrying of removed service line pipe from Contractor's store to Demra strore (Including loading & unloading of 3/4" to 6" dia pipe, flange etc. considering 5 trip a year as per direction of Engineer Incharge |  | Per trip |  | 1 trip |  |
| 3 | Supply of vihicle for Titas gas personnel (7 Seated A/C microbus with good condition, model at least 2014 or later). |  | Per month |  | 1 month |  |
| 4 | Supply of safety equipment (Fire extinguisher and related materials) for killing/ capping works for the period of works as per direction of Engineer Incharge |  | L.S |  | 1 month |  |

| 5 | Demobilization |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | 5.1 | Demobilization of contractor's equipment and machineries | L.S |  | 1 | month |  |
| 6 | Earth cutting and disposal of soil (as per site condition and direction of Engineer Incharge). |  | Per CFT |  | 1000 CFT |  |  |
| 7 | Service riser killing (PDC)/ Capping |  |  |  |  |  |  |
|  | 7.1 | 3/4" Dia | Per nos. |  | 120 nos. |  |  |
| 8 | Dewatering pump with fuel and operator |  | Per day |  | 10 days |  |  |
| 9 |  |  |  |  |  |  |  |
|  | 9.1 | Size (Up to 5'× 3'× 6') | Per Nos. |  | 20 nos. |  |  |
|  | 9.2 | Size (Up to 5'× 3'× 8') | Per Nos. |  | 5 nos. |  |  |
|  | 9.3 | Size (Up to 5'× 3'× 10') | Per Nos. |  | 5 nos. |  |  |
| 10 | Material Requirement |  |  |  |  |  |  |
|  | 10.1 | End cap 3/4" dia. Sch-40 | Per nos. | Titas GasOwn finance | As per requirement |  |  |
|  | 10.2 | End cap 1" dia. | Per nos. |  |  |  |  |
|  | 10.3 | End cap 2" dia | Per nos. |  |  |  |  |
|  | 10.4 | End cap 3" dia | Per nos. |  |  |  |  |
|  | 10.5 | Primer | Liter |  |  |  |  |
|  | 10.6 | Tape (2" × 200) | Roll |  |  |  |  |
| Total Cost (In Words: ) |  |  |  |  |  |  |  |